# VMS MDSplus for NSTX

Last edit: 15-Apr-08

CONTENTS

1.0 Introduction

Target Audience

Environment definitions

Other Tools and Documentation

2.0 NSTX MDSplus trees on VMS

Trees and logical names

Trees and disks: MDSPLUS_DATABASES.COM

Write access to NSTX VMS trees

Serving VMS MDSplus trees to other platforms

Accessing Linux (lark.pppl.gov:8501) trees

The event server on VMS

3.0 The NSTX Shot Cycle

EPICS and the programs that talk to it

Facility clock events

ipcs communication

MDSplus events

ipcs to MDSplus

Shotclock

Clocksync

Redeclare

Mdsplus to ipcs

Building a dispatch table

Dispatching a phase

Defining a phase

Defining a dispatcher and its servers: DECnet

MDSplus Action Nodes

Synchronizing EPICS and MDSplus: runnstx

Detecting and removing hung servers

Action Monitor

Log files and log file comparisons

4.0 Device Support

Adding an already supported device

Supporting new devices in MDSplus

In C

In TDI

5.0 CAMAC definition and monitoring

Defining the CAMAC configuration at boot

Setting crates on-line: cratemon

Telling EPICS about highway status: linkmon

6.0 Data Management

Disk configuration

NSTX_DAILY.COM

NSTX_OLDTOSANSLOW.COM

7.0 NSTX analysis on VMS – batch queues

8.0 System Startup: what happens at boot

Startup checks

9.0 Troubleshooting?

10. Miscellaneous

SHW command

Appendices

A

B

C

D

E

F

FIGURES

Shot cycle: appendix?

mdsserver.exe - DECnet

IPCS

LLNL InterProcess Communication System messaging is used for communication of EPICS state to VMS MDSplus infrastructure (RUNNSTX.EXE, CLOCKSYNC_NSTX.EXE, NSTX_REDECLARE.EXE). Bill Meyer of LLNL/GA and Jeff Moller of LLNL are the last remaining developers employed in fusion.

Definitions are established by PPPL_RES:[COM]REE$SYS_STARTUP.COM (developed for the Remote Experimental Environment project), which runs from COM$MGR:COMSYSBAT.COM at system boot (submitted to batch queue <hostname>_NORM).

The configuration file to edit is IPCS_DISK:[IPCS.NETMAILER.EXE]NETMAILER_KEES.CFG, not IPCS_DISK:[IPCS.NETMAILER.EXE]NETMAILER.CFG as described in TRG’s memo. It contains the names and IP addresses of participating hosts, and the ports used.

KEES$ dirw netmailer_kees.cfg;

Directory IPCS_DISK:[IPCS.NETMAILER.EXE]

NETMAILER_KEES.CFG;5                          1/41       26-JAN-2007 13:59:21.23

Total of 1 file, 1/41 blocks.

KEES$

KEES$ type NETMAILER_KEES.CFG

this_host=KEES /cell_netmailer=pppl_res /protected

pppl_res   /connection=tcp /internet=198.35.15.21 /port=1000

BIRCH  /connection=tcp /internet=192.55.106.24 /port=1000

E2     /connection=tcp /internet=192.55.106.171 /port=1000

LUNA   /connection=tcp /internet=198.35.15.125 /port=1000

taurus /CONNECTION=TCP /INTERNET=192.55.106.156 /PORT=22375

epicsrv   /CONNECTION=TCP /INTERNET=198.35.10.21 /PORT=22375

KEES$

To inspect the current makeup of the cell:

KEES$ @pppl_res:[evt]defs

%DCL-I-SUPERSEDE, previous value of IPCSMAILER has been superseded

KEES$ nm_status

pppl_res                KEES PROTECTED CELL NETMAILER (KEES)

pppl_res            pppl_res     0 TCP  NULL

BIRCH               BIRCH     2 TCP  CONN

E2                  E2     1 TCP  CONN

LUNA                LUNA     1 TCP  CONN

taurus              taurus     1 TCP  DISC

epicsrv             epicsrv     2 TCP  CONN CELL ()

IPCSMAILER   pppl_res            23200450 45ba099f                 REG

ACQ_PARMS   pppl_res            23200426 45ba04d7                 REG

ACQ_CREATETREE   pppl_res            23200436 45ba04d7                 REG

RUNNSTX   pppl_res            23200451 45ba09ac                 REG

EVTMGR_NSTX    epicsrv    epicsrv f34c0000 a10bb945   pppl_res  epicsrv

Domalloc buffer count = 17

KEES$

The notation CONN CELL ()  after epicsrv indicates that epicsrv.pppl.gov is part of another cell as well.

runnstx and dispatching

mdsip.exe servers - TCP/IP interface

“The Big Picture”

local disks / SAN disks

NSTX MDSplus computers, VMS, Linux and Windows, and CAMAC highways

Overview of data sources, June 2006

1.0 Introduction

  - 1.1 Target Audience 
This document is intended for a very small audience of programmers and system administrators who are already quite familiar with MDSplus from a user viewpoint. NSTX uses MDSplus on both VMS and Linux, but this document is intended to describe only the VMS environment.  It attempts to explain the parts of MDSplus necessary for data acquisition and also the NSTX-specific configurations and programs that glue MDSplus to the NSTX experiment. A companion document will be written for NSTX MDSplus on Linux.

A privileged account is required to run many of the necessary programs. The most commonly needed privileges are SYSPRV, WORLD and CMKRNL. If your account has SETPRV, you will be able to set these with 
$ SET PROCESS/PRIV=(SYSPRV,WORLD,CMKRNL)

  - 1.2 Environment definitions
User: SETUP NSTX
Programmer adds: @DAS:DASLOGIN.COM, @DAS:DASCAMAC.COM
MDSplus servers use: @MDSPLUS$:[000000]MDSPLUS.COM, MDSIP.COM,MDSIP_EFIT_NSTX.COM

  - 1.3 Other Tools and Documentation
A brief inventory of other NSTX documentation and tools is provided here.

MDSplus User Documentation

The MDSplus home page: http://mdsplus.org/

The NSTX MDSplus web page:http://nstx.pppl.gov/nstx/Software/MDSplus/index.html

Formatted VMS TCL Help: http://nstx.pppl.gov/nstx/Software/TCL_index.html

Formatted VMS TDI Help: http://nstx.pppl.gov/nstx/Software/TDI/TDI_TOP.HTML

Other MDSplus software group documentation related to VMS

Producing web tool summary pages

http://w3.pppl.gov/%7Eroney/swdoc/pgr_vmswebprogs.html

Startup checks?

MDSplus Tools for looking at data and at trees

Traverser

Scope

TCL

dir/full vs. show data: looking at the properties vs. the subfields of a node

mdir  MDSplus directory, 1for finding trees ($HELP mdir)

Tools used for looking at CAMAC topology and devices

CTS

CCL

Examining modules in remote crates: scancrate

Module-specific status programs

Web Tools for looking at NSTX CAMAC

KEES CAMAC Highways status, map & CTS definitions

LUNA CAMAC Highway status, map & CTS definitions

CAMAC manuals

IDL especially for MDSplus

MDS$PPPLROOT:[IDL], includes some CAMAC-related routines

Documented on the web:
http://nstx.pppl.gov/nstx/Software/Programming/pppl_idl_routines.html#MDSplus

Web Tools for looking at NSTX MDSplus and image data

http://nstx.pppl.gov/nstx/Software/WebTools/webplottingoptions.html

http://w3.pppl.gov/%7Ebdavis/movies/

http://nstx.pppl.gov/nstx/Software/WebTools/searchcompare.html

http://nstx.pppl.gov/nstx/Software/Diagnostics/FC/

http://w3.pppl.gov/~szweben/psi/

http://nstx.pppl.gov/nstx/Software/Diagnostics/SpecFit/

Tools for monitoring known MDSplus events

roney$:[IDL]NSTX_SHOT_CYCLE_EVENTS.PRO

Bill Davis’ MONEVENTS.PRO (Web documentation)

Examining VMS disk contents: indexf
	$ HELP INDEXF

See Appendix XXX for example of usage.

2.0 NSTX MDSplus trees on VMS

2.1 Trees and logical names

An MDSplus tree is a complex data structure used to group all the information about some logical collection of measurements made during a plasma shot into a flexible unit with named substructures. Each shot tree begins as a copy of its corresponding model tree. The model or template contains no shot data, just structural and sometimes configuration data. An MDSplus tree consists of three related files, all residing in the same directory, and following a naming convention of <treename>_<shotnumber>.<MDSplus extension> where the MDSplus extensions are tree, characteristics and datafile.

An MDSplus installation may have any number of model trees, and these trees may be related or unrelated. A tree may contain subtrees, which are opened when the parent tree is opened. (Only the .TREE file is opened on MDSopen, so it isn’t quite as much I/O as it sounds.) Although the parent clearly knows its subtrees, the subtrees are completely unaware that they have a parent. The linkage is in one direction only.

The location of the files for any tree is determined by the logical name <treename>$DATA.

Disk directory relationships have nothing to do with tree relationships. Subtrees at PPPL are usually stored in independent directory structures, all at the same level. The current exceptions are subtrees of EFIT and LRDFIT, where we have chosen to put all the subtrees into the same directory structures as the parent.

<treename>$DATA usually translates to a searchlist of directories containing at least one for new data, one for the model trees, and one or more for older data. At PPPL older data is stored under searchlist NSTX$ARC$ in subdirectories determined by shot number as well as tree name, while new data and model trees are stored in tree name subdirectories under logical names NSTX$NEW$ or NSTX$MODELS$. All these logical names are defined in the logical name table LNM$MDS_NSTX which is created by COM$MGR:MDSPLUS_DATABASES.COM. See further description of this procedure below. LNM$MDS_NSTX is put into a user’s environment by the setup procedure in response to the command $ setup nstx  To see all the searchlists defined for NSTX VMS trees:

$ SHOW LOGICAL $DATA

There is also a dynamically created web page, updated daily, which shows the top-level branches of the public NSTX trees as well as the tree names themselves: http://nstx.pppl.gov/nstx/Software/Overview/nstxsubtrees.html

Private MDSplus trees, owned by individual users, can also be created. For these, the logical name is put into the system logical name table via COM$MGR:MDSPLUS_PRIVATE_DATABASES.COM upon a user request. The user decides what the translation of the name should be; usually this is a subdirectory of the user’s home directory - typically there are no searchlists. Private trees are usually used for testing. No NSTX data management is provided for these trees, and it is not appropriate to store data in them. The names of any private trees will also appear in the list produced by “show logical *$data.”

### 2.2 Trees and disks: MDSPLUS_DATABASES.COM

Nearly all aspects of the NSTX MDSplus disk configuration management are collected in a single command procedure, COM$MGR:MDSPLUS_DATABASES.COM. (Full text as of September 2006 in Appendix XXX.) It creates directory structures for all VMS NSTX trees as needed and puts the <treename>$DATA entries into the NSTX logical name table LNM$MDS_NSTX. It also defines a number of disk-related logical names needed for data management. It is invoked at system boot as part of COM$MANAGER:COMSYSLNM.COM. See Section 4 for a description of the current disk organization.

MDSPLUS_DATABASES.COM must be edited in order to add a new tree or a new disk for either new or “archived” MDSplus data. Running it once on any node will create any needed directories and then update the logical name tables on each of the cluster nodes via SYSMAN. No system reboot is needed to add a new tree or a new disk; just choose a quiet time so that the procedure can finish on the entire cluster before a shot is taken. (Unfortunately, BEANIE, a VAX, which is part of the cluster, can no longer successfully run this procedure. Error messages from BEANIE should be ignored.)

Applying ACL to disk directories; a manual step at present

2.3 Write access to NSTX VMS trees

Write and edit access to MDSplus trees is based on account rights-identifiers, granted from the AUTHORIZE utility and added to MDSplus directories with SET ACL command procedures (usually stored in NSTX$:[NSTX.ADMIN]). A user’s rights identifiers are listed at the end of the account parameters. The attribute RESOURCE allows the identifier to own file quota and the user to draw against that quota when creating files. If no file quota is granted to the identifier on a disk, which is frequently the case, then having attribute RESOURCE means nothing. Currently managing ACL’s is done independently from creating tree logicals and directories, although it would be desirable to do both in the same place (and automatically).

MCR AUTHORIZE

UAF> show roney

Username: RONEY                            Owner:  RONEY, P.

Account:  CMPOPR                           UIC:    [166,250] ([RONEY])

CLI:      DCL                              Tables:

Default:  AUSER7:[RONEY]

LGICMD:

Flags:  GenPwd

Primary days:   Mon Tue Wed Thu Fri Sat Sun

Secondary days:

No access restrictions

Expiration:            (none)    Pwdminimum:  6   Login Fails:     0

Pwdlifetime:        360 00:00    Pwdchange:   8-FEB-2006 11:29

Last Login: 12-SEP-2006 08:55 (interactive), 12-SEP-2006 14:00 (non-interactive)

Maxjobs:         0  Fillm:       500  Bytlm:       300000

Maxacctjobs:     0  Shrfillm:      0  Pbytlm:           0

Maxdetach:       0  BIOlm:       300  JTquota:      10000

Prclm:          20  DIOlm:       300  WSdef:         3000

Prio:            4  ASTlm:      1000  WSquo:         3000

Queprio:         0  TQElm:      1000  WSextent:      8000

CPU:        (none)  Enqlm:      1000  Pgflquo:    2000000

Authorized Privileges:

GROUP        GRPNAM       NETMBX       PRMCEB       PRMMBX       SETPRV

TMPMBX

Default Privileges:

GROUP        GRPNAM       NETMBX       PRMCEB       PRMMBX       TMPMBX

Identifier                         Value           Attributes

DAS_OWNER                        %X8001000C      RESOURCE

TFTR_RESULTS_OWNER               %X8001001E      RESOURCE

PBX_OWNER                        %X8001002C      RESOURCE

CHERS_USER                       %X80010050      RESOURCE DYNAMIC

TRANSPDATA                       %X8001002A      RESOURCE

NSTX_TEMP_DATA                   %X800100AF      RESOURCE

NSTX_CVS                         %X800100BA

NSTX_RF                          %X800100B8

NSTX_ENGINEERING                 %X800100B2

NSTX_OPERATIONS                  %X800100B1      RESOURCE

NSTX_SW                          %X800100C0      RESOURCE

NSTX_NBI                         %X800100B9      RESOURCE

ELECTRONPLASMA                   %X800100C3      RESOURCE

NSTX_READER                      %X800100CF      RESOURCE

NSTX_MICROWAVE                   %X800100B3      RESOURCE

NSTX_ACTIVESPEC                  %X800100B6      RESOURCE

NSTX_CAMERAS                     %X800100B0      RESOURCE

UAF>

Creating a new access control identifier

MCR AUTHORIZE

ADD/IDENTIFIER/ATTRIB=RESOURCE <newIDname>

GRANT/ID/ATTRIB=RESOURCE <newIDname> username

Listing holders of an existing identifier

MCR AUTHORIZE

UAF> show/identifier/full  pcs_owner

Name                             Value           Attributes

PCS_OWNER                        %X800100D8

Holder                           Attributes

MDSPLUS_GA

DGATES

PENAFLOR

GIBNEY

LUDESCHER

DMASTROVITO

Most of the identifiers we use begin with “NSTX_”; there is an identifier NSTX_<treename> for each of the subtrees of NSTX on VMS. Some diagnostic groups also have their own identifiers. Unfortunately, “ show/identifiers *” in AUTHORIZE gives not only all the defined rights identifiers (which is already a long list) but also all the usernames.

2.4 Write (and read) access for remote (non-VMS) users: MDSIP.HOSTS

Remote users accessing MDSplus data via mdsip.exe servers receive the rights of the account to which their ip address is mapped in MDS$ROOT:[SYSMGR]MDSIP.HOSTS. Wildcards are supported in the descriptions in this file, and all users logged in on PPPL machines get read access via the account NSTXPLAN from the final entry in the file:

*@*.pppl.gov            | nstxplan

nstxplan is an unprivileged account.

No LOGIN.COM file gets executed in the process of mapping a remote user to a local account, so only the authorized properties and any defined file quotas for that account are significant.

The ip name or address of the user requesting an MDSplus connection is matched against every line of the MDSIP.HOSTS file in order, so the first match determines the VMS account to which the user will be mapped. Default matches like the PPPL one above, should be put at the very end of the file. If no line matches, the connection request will be denied. Accepted and denied connections are logged in MDS$ROOT:[SYSERR] MDSIP_<VMShostname>.LOG .

2.5 Serving VMS MDSplus trees to other platforms

When a remote user executes an “MDSconnect” command or does an “MDSopen” without an explicit connect, a process will be started up on a VMS node (if the user is authorized to connect). The node used is selected by the program if the command is connect; it is obtained from the remote user’s environment variable <treename>_path if there is no explicit connect. Each remote process gets its own VMS MDSplus server process, which is an instance of mdsip.exe. Environment variables are usually set on a remote Linux/UNIX host using “module load nstx/mdsplus” and on Windows by setting registry entries. The user can override any of these settings.

TCP/IP services are provided on VMS via the Multinet third-party package. VMS UCX can also  provide TCP/IP services, but we no longer use it for MDSplus. Service MDSIP on port 8000 serves TFTR data; it was originally used for testing. Services MDSIP_NSTX on port 8501 and MDSIP_EFIT on port 8502 (higher priority) provide access to NSTX data.

EUROPA$ show def

MULTINET_ROOT:[MULTINET]

=   MULTINET_ROOT:[MULTINET]

=   MULTINET_COMMON_ROOT:[MULTINET]

EUROPA$ dirw services*.*;

Directory MULTINET_COMMON_ROOT:[MULTINET]

SERVICES.MASTER_SERVER;37                    47/54       21-FEB-2006 13:20:18.26

Total of 1 file, 47/54 blocks.

Excerpts from file SERVICES.MASTER_SERVER relating to MDSplus services are below. This file is not edited directly. Tom Gibney’s description of configuring it follows. Probably it will never be necessary to modify these definitions nor to add to them for NSTX MDSplus. (Note: the instance of MDSIP.EXE

#Last Change by GIBNEY at Fri Nov 12 11:33:18 1999

service-name    MDSIP

program AUTIL:[MDSPLUS]MDSIP.COM

socket-type     SOCK_STREAM

socket-options  SO_KEEPALIVE

socket-address  AF_INET , 8000

priority        7

INIT    TCP_Init

LISTEN  TCP_Listen

CONNECTED       TCP_Connected

SERVICE Run_Program

#Last Change by SYSTEM at Fri Apr 14 14:26:37 2000

service-name    MDSIP_NSTX

program MDS$TOP:MDSIP_NSTX.COM

socket-type     SOCK_STREAM

socket-options  SO_KEEPALIVE

socket-address  AF_INET , 8501

priority        7

INIT    TCP_Init

LISTEN  TCP_Listen

CONNECTED       TCP_Connected

SERVICE Run_Program

send-buffer-space       6144

receive-buffer-space    6144

#Last Change by SYSTEM at Thu Dec  1 09:44:17 2005

service-name    MDSIP_EFIT_NSTX

program MDS$TOP:MDSIP_EFIT_NSTX.COM

socket-type     SOCK_STREAM

socket-options  SO_KEEPALIVE

socket-address  AF_INET , 8502

working-set-quota       32000

working-set-extent      64000

pql-astlm       2000

pql-bytlm       30000

INIT    TCP_Init

LISTEN  TCP_Listen

CONNECTED       TCP_Connected

SERVICE Run_Program

send-buffer-space       32768

This appears to add a service for mdsipe, the event server; this is NOT a Multinet service, it runs from a boot procedure on Europa (now, formerly Birch) and, according to comments in the command procedure XXXXX should NOT be defined as a service. But we still need to have doc on how to set up a service, probably…

EUROPA$ type  gibney$:[handbook]multinet_add_service.mem

To add a new service (like, say, MDSIP) to Multinet, do the following.

Not sure about the order, but hey ...

$ multinet config/server

> add mdsipe

> --> multinet will prompt for parameters

-or-

> select mdsipe

> set ...       ;set/modify parameters

> enable mdsipe

$ edit multinet:hosts.local

--> add a line for the new service.  See mdsipe example.

$ multinet host_table compile

$ @multinet:install_databases.com

used carroll$:[nstx]foo.c foo.com and foo.exe to test (was echo

from multinet examples)

EUROPA$

2.6 TDI for scopes and analysis; thin and thick clients

Logical name MDS$PATH defined in MDSPLUS$:[000000]MDSPLUS.COM

$ DEFLOG MDS$PATH MDS$USER_PATH,MDSPLUS$:[PPPL...],MDS$ROOT:[TDI...]

defines places to look for TDI functions. MDS$USER_PATH is the user’s home directory, not the user’s current directory. Users can write their own TDI functions to use in their own Scope displays. Some user-written TDI is in MDSPLUS$:[PPPL] and its subdirectories. Software group TDI has been put either in MDSPLUS$:[PPPL] or in MDS$PPPLROOT:[TDI], which is the first element of the searchlist for MDS$ROOT:[TDI].

A TDI expression is valid in virtually every field of a Scope data source definition, and of course in any MDSVALUE (or MDS$VALUE) call in analysis programs.

In a standard VMS MDSplus configuration, a Scope running on a remote host would have its TDI functions execute on that remote host, not on the VMS server. An MDSplus program that executes in this way is said to be running a “thick” client as opposed to a “thin” client, which results from an explicit MDSconnect in the remote code. At present we explicitly prevent execution on the remote client, even when it is “requested” by omitting the MDSconnect and getting the MDSplus servername from the environment variable <treename>_path. This situation arose because many of the NSTX TDI routines call into VMS Fortran libraries that we did not wish to convert and test and maintain on the multiple Unix environments present at PPPL in 1999. Preliminary testing indicated that it was actually more efficient at that time to let VMS do all the calculations and simply send the result.

PPPL networks are now faster and the CPU advantage of Unix over VMS has increased greatly. Probably we will eventually convert the Fortran and permit thick clients to do their own calculations, receiving only the raw MDSplus data structures across the network from the MDSplus server process on VMS. (The Linux MDSplus server on lark.pppl.gov has a standard implementation in this sense; Scope TDI executes wherever the scope is running, and thus must be available there via MDS_PATH.)

Only a tiny change is needed to permit or prevent the use of thick clients. The TDI functions serialize_in.fun, serialize_out.fun in MDS$MITROOT:[TDI] provide the interface between……….

2.7 Accessing Linux (lark.pppl.gov:8501) trees

Definitions for trees served by lark are entered in COM$MGR:COMSYSLNM.COM. “$ show logical/system *$data”, below, shows all the defined remote trees and also the private trees on VMS.

These trees will also be found if a remote user asks a VMS server for them, although this is not as efficient as connecting to lark directly. Note that if a remote user uses VMS to read or write lark data, he or she must have appropriate permission granted in both MDSIP.HOST files, the one on VMS and the one on lark; this is of course also true if the user asks lark for VMS data, which will also work.

EUROPA$ show log/system *$data

(LNM$SYSTEM_TABLE)

"BDAVIS$DATA" = "BDAVIS$:[MDS.TESTDATA]"

"CAMERAS2$DATA" = "LARK.PPPL.GOV:8501::"

"DCON$DATA" = "LARK.PPPL.GOV:8501::"

"DCON01$DATA" = "LARK.PPPL.GOV:8501::"

"DPACELLA$DATA" = "DPACELLA$:[MDS.TESTDATA]"

"JBOEDO$DATA" = "JBOEDO$:[MDS.TESTDATA]"

"JMENARD$DATA" = "JMENARD$:[JMENARD_TREE]"

"JMENARD_RAW$DATA" = "JMENARD$:[JMENARD_TREE_RAW]"

"LRDFIT$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT01$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT02$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT03$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT04$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT05$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT06$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT07$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT08$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT09$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT10$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT11$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT12$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT13$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT14$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT15$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT16$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT17$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT18$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT19$DATA" = "LARK.PPPL.GOV:8501::"

"LRDFIT20$DATA" = "LARK.PPPL.GOV:8501::"

"MMWR$DATA" = "LARK.PPPL.GOV:8501::"

"MSE$DATA" = "LARK.PPPL.GOV:8501::"

"NSTXTDI$DATA" = "LARK.PPPL.GOV:8501::"

"OPS_PC$DATA" = "LARK.PPPL.GOV:8501::"

"PROBES$DATA" = "LARK.PPPL.GOV:8501::"

"PROFDB_PED$DATA" = "LARK.PPPL.GOV:8501::"

"PSICHTA$DATA" = "PSICHTA$:[MDSTST]"

"SLS$DATA" = "SLS$ROOT:[DATA.EUROPA]"

"SSABBAGH$DATA" = "SSABBAGH$:[MDS.TESTDATA]"

"TR$DATA" = "NSTX0:[NEW.TR.]"

"UCLA_INTERF$DATA" = "LARK.PPPL.GOV:8501::"

"USERNAME$DATA" = "MDSPLUS_LOCAL$:[SAMPLE_DATA]"

"USXR$DATA" = "LARK.PPPL.GOV:8501::"

### 2.8 The MDSplus event server on VMS for remote users

If a remote dwScope program wants event notification, it will use the VMS node defined by the environment variable “mds_event_server”. This must point to one of the VMS nodes which actually runs a version of mdsip.exe started with event server switches. Currently both BIRCH and EUROPA have such servers, but soon EUROPA will be the only valid event server. “mds_event_server” is defined via “module load nstx/mdsplus”. Overriding this name won’t make sense when only one VMS system provides the service.

3.0 The NSTX Shot Cycle (see appendix X for diagram)

EPICS & stuff

Facility clock events

ipcs communication

MDSplus events

ipcs to MDSplus

Shotclock

Clocksync

Redeclare nstx_redeclare:  redeclares selected MDSplus events as EVT events
(is this still used? Can it be eliminated? – for PCS, I think)

MDSplus to ipcs

### Building a dispatch table

The TCL command DISPATCH/BUILD causes the currently defined dispatch server (TCL itself if running interactively) to search through the currently defined shot tree (there must be one: SET TREE NSTX/SHOT=123456 defines the tree) and all its subtrees looking for nodes of type ACTION and collecting them into groups by the name of the phase for which they are defined.

In a sense, phase names in action nodes are arbitrary, but any phase to be dispatched in the shot cycle must be defined to MDSplus via PHASE_TABLE.FUN (below). At PPPL we only use MDSplus to dispatch the “INIT” (or “INITIALIZATION”) phase and the STORE phase. Action nodes are described in detail in section 3.X.

The DISPATCH/BUILD step is necessary before any tasks can be dispatched for a phase. It only needs to be done once per shot cycle.

Dispatching a phase

## Dependency-based-dispatching

###### Server synchronization by priority

Defining a phase  MDS$ROOT:[TDI]PHASE_TABLE.FUN

/*       PHASE_TABLE.FUN

; PURPOSE:      Site customizable phase table

;               for use with MIT Dispatch/Serve

; CATEGORY:     CMOD (site customizable)

; CALLING SEQUENCE: phase_table = PHASE_TABLE()

; INPUTS:        --

; OPTIONAL INPUT PARAMETERS: --

; KEYWORD PARAMETERS: --

; OUTPUTS:      --

; OPTIONAL OUTPUT PARAMETERS: --

; COMMON BLOCKS: --

; SIDE EFFECTS: --

; RESTRICTIONS: --

; PROCEDURE:    --

; MODIFICATION HISTORY:

;       TWF 3-AUG-1992 Initial coding.

This function should return a phase table specific to a MDSplus site. The

phase table is a one dimensional string array containing a string pair for

each defined phase. The string pair consists of the phase name and value,

for example: 'PHASE_ONE','1'.

*/

FUN     PUBLIC PHASE_TABLE() {

RETURN ( [

'OFF',                         '0',

'INITIALIZATION',              '5',

'INIT',                        '5',

'PULSE_ON',                    '6',

'BULK_DATA_ACQUISITION',       '9',

'STORE',                       '9',

'SECONDARY_DATA_ACQUISITION', '10',

'ANALYSIS',                   '10',

'FINISH_SHOT',                '99'

]);

}

Any Action node using a phase name not defined in PHASE_TABLE could never be dispatched. To understand the value of using a

MPTS “decouple” & “recouple”

Running INIT methods in STORE phase (responding to early f.clock evts)

Defining a dispatcher and its servers: DECnet

One copy of MDS$ROOT:[SYSEXE]MDSSERVER.EXE runs as the Dispatcher. Additional copies run as Servers, including two CAMAC servers on KEES and one on LUNA. In the VMS-based system these tasks are installed as DECnet known network objects. (On Unix, TCP/IP is used for this.) These tasks run on demand.

The runnstx program starts (and restarts) the dispatch_server. TCL commands passed to the dispatch_server start the data acquisition servers (and will restart them if they abort or are interactively stopped). The action_monitor server is started when a user requests it.

$ nstxACTMON :== "spawn/not/now/input=nl: mcr actmon -monitor kees::mon_server"

defines a symbol for starting the action monitor. One monitor serves any number of requesting users, so a second request connects to the existing monitor rather than restarting another copy.

ncp is the VMS DECnet Network Control Program. NSTX$:[NSTX.STARTUP] -NSTX_NCP.COM (listing in appendix) has defined the dispatcher (which runs on KEES), the action_monitor and two CAMAC servers in the permanent memory of ncp on KEES. The same program defined one CAMAC server and two servers for remote MDSplus communication on LUNA. All these servers are running the same image, mdsserver.exe. NSTX_NCP.COM only needs to be run when adding or removing a server. ncp retains the necessary definitions across reboots.

Each task definition in ncp includes the name of a command procedure to run when the task is invoked. This command procedure (see listing of NSTX$:[NSTX.STARTUP] -GKB2_SERVER.COM in appendix) sets the server’s priority, privileges, the name of its log file (which includes the date) and defines the NSTX environment before running MDSSERVER.EXE.

SYS$MANAGER:KEESSYSTRM.COM defines logical names for these servers. CAMAC_SERVER, in particular, needs to be defined (differently) on each data acquisition system, because the device action nodes default to a server name of CAMAC_SERVER. On KEES CAMAC_SERVER is KEES::GKB2_SERVER (B highway) and on LUNA it is LUNA::GKA2_SERVER (Defined in LUNASYSTRM.COM).

From SYS$MANAGER:KEESSYSTRM.COM:

$! define SYSTEM logical names for MDSplus servers used by RUNNSTX

$ DEFINE/SYSTEM NSTX_DISPATCH  KEES::DISPATCH_SERVER

$ DEFINE/SYSTEM CAMAC_SERVER  KEES::GKB2_SERVER

$ DEFINE/SYSTEM NSTX_MON_SERVER  KEES::MON_SERVER

Determining if a server is installed

To verify that a server task is installed, use NCP:

KEES$ mcr ncp

NCP>show known objects

Known Object Volatile Summary as of 17-AUG-2006 16:08:14

Object   Number  File/PID                   User Id          Password

$IPCACP        0  20C0040C

$MOM           0

$NICONFIG      0

DISPATCH_SERVER

0  NSTX$STARTUP:DISPATCH_SERV

20C00444                   RONEY

DWL_DECNET     0  SYS$SYSTEM:DWL_DECNET.COM

GKB2_SERVER    0  NSTX$STARTUP:GKB2_SERVER.C

GKC2_SERVER    0  NSTX$STARTUP:GKC2_SERVER.C

MON_SERVER     0  NSTX$STARTUP:MON_SERVER.CO

SMISERVER      0  20C00416

TASK           0                             ILLEGAL

X$X0           0  20C0043A

FAL           17  FAL.EXE

HLD           18

NML           19  NML.EXE                    NML$SERVER

REMACP        23  20C00427

MIRROR        25                             MIRRO$SERVER

EVL           26

MAIL          27  MAIL_SERVER.EXE            MAIL$SERVER

PHONE         29  PHONE.EXE                  PHONE$SERVER

CTERM         42  20C00427

VPM           51  VPM.EXE                    VPM$SERVER

DTR           63

FINGER       117  FINGER

NCP>

At the time of the report above on KEES, only the dispatch_server is running. Note that ncp shows the pid of the task if it is currently running.

KEES$ shw *disp*

Pid    Prcname         Image      State  Pri   CPU  ppgcnt/wspeak Faults

20C00444 dispatch_server MDSSERVER   LEF   9/7   00:00:00.26 5360/8160    1669

KEES$

DECnet strategy of process optimization and effects on MDSplus

Unlike Unix, where process creation is very computationally “cheap”, creating a process on VMS requires a lot of computation and reserves a lot of resources. Installed DECnet tasks are assumed to be important tasks which will probably be needed fairly often. So rather than incur the process creation overhead every time installed processes are re-invoked, DECnet keeps released processes around, changing their names temporarily (to SERVER_nnnn running image NETSERVER) and holds them in readiness for reuse for a while. (If they are not reused within some period, they do actually go away). This has some interesting consequences.

First, when we stop an mdsserver.exe task because it has somehow gotten “confused” (TCL> STOP SERVER KEES::DISPATCH_SERVER), we really want a new process. To guarantee a fresh copy, a DCL stop must be issued instead. ($ STOP PROCESS/ID=<PID>). We need to “kill” the process, not just stop it from TCL. Check the PID and make sure it goes away.

Second, when runnstx encounters a major problem, it stops some or all of its servers. DECnet, of course, thriftily keeps the processes hanging around. When runnstx then requests that the servers be started, the PID for the process that was previously known as GKB2_SERVER may now be attached to the name GKC2_SERVER. The processes after all are identical except for process name and ID. This results in log files, which are attached to the PID, showing the output from GKB2 for a while and then GKC2, which can be very confusing when trying to track problems. This is not a bug; it is a feature and does not cause any other trouble except the scrambled log files. The same thing happens on LUNA between FIRETIP_SERVER and HIGHK_SERVER. (It could also happen between FIRETIP_SERVER and GKA2_SERVER, I think).

Immediately after test shots:

KEES$ shw *server*

Pid    Prcname         Image      State  Pri       CPU   ppgcnt/wspeak Faults

20C00407 CLUSTER_SERVER  CSP         HIB  12/12  00:00:00.17 1136/1200      58

20C0040B FASTPATH_SERVER FASTPATH_SERHIB  10/10  00:00:00.01 1056/1440      75

20C0040E CACHE_SERVER    FILESERV    HIB  16/16  00:00:00.01  608/608       28

20C00410 AUDIT_SERVER    AUDIT_SERVERHIB   8/8   00:00:00.13 2224/2496     125

20C00414 SECURITY_SERVER SECURITY_SERHIB  10/8   00:00:06.08 5792/7520     400

20C00415 ACME_SERVER     ACME_SERVER HIB   8/8   00:00:00.05 6336/8160     361

20C00416 SMISERVER       SMISERVER   HIB   9/7   00:00:00.12 3232/3712     165

20C00417 TP_SERVER       TPSERV      HIB   8/8   00:00:17.21 1200/1504      72

20C0042A MULTINET_SERVER SERVER      LEF   5/4   00:00:01.40 1808/5504     380

20C0043A DECW$SERVER_0   DECW$SERVER_HIB   8/6   00:00:00.2410816/12304    501

20C0249D dispatch_server MDSSERVER   LEF   9/7   00:00:09.8358128/69264   8183

20C024F1 gkb2_server     MDSSERVER   LEF   9/7   00:00:02.7343072/47248   6237

20C024F2 gkc2_server     MDSSERVER   LEF   9/7   00:00:02.4336096/41264   5337

20C024F6 mon_server      MDSSERVER   LEF   9/7   00:00:00.28 5168/7024    1355

KEES$

LUNA$ shw *server*

Pid    Prcname         Image      State  Pri       CPU   ppgcnt/wspeak Faults

20A00407 CLUSTER_SERVER  CSP         HIB  14/12  00:00:00.60 1328/1760      78

20A0040D CACHE_SERVER    FILESERV    HIB  16/16  00:00:00.00  608/608       28

20A0040F AUDIT_SERVER    AUDIT_SERVERHIB   8/8   00:00:00.00 2208/2480     124

20A00411 SECURITY_SERVER SECURITY_SERHIB  10/8   00:00:00.15 5792/7520     398

20A00412 ACME_SERVER     ACME_SERVER HIB   8/8   00:00:00.07 6160/7984     354

20A00413 SMISERVER       SMISERVER   HIB   9/7   00:00:00.14 3232/3760     165

20A00414 TP_SERVER       TPSERV      HIB   8/8   00:00:01.21 1200/1504      72

20A0041A MULTINET_SERVER SERVER      LEF   5/4   00:00:00.04 2064/5824     407

20A00426 NTP_SERVER      NTPD        LEF   6/4   00:00:00.86 4272/4928     321

20A0049D gka2_server     MDSSERVER   LEF   9/7   00:00:02.9842464/43904   8123

20A0049E firetip_server  MDSSERVER   LEF   9/7   00:00:00.61 6928/8560    1540

20A0049F highk_server    MDSSERVER   LEF   9/7   00:00:00.53 6928/8560    1540

LUNA$

After stopping the “auxiliary” servers:

KEES$ mov mds$ppplroot:[dispatcher]

KEES$ tcl

TCL> @nstx_aux_servers stop

TCL> exit

KEES$ shw *server*

Pid    Prcname         Image      State  Pri       CPU   ppgcnt/wspeak Faults

20C00407 CLUSTER_SERVER  CSP         HIB  12/12  00:00:00.18 1136/1200      58

.

.

20C0249D dispatch_server MDSSERVER   LEF   7/7   00:00:19.7873296/84928  12756

20C024F1 SERVER_0271     NETSERVER   LEF   4/4   00:00:05.59 2800/59552   8503

20C024F2 SERVER_0270     NETSERVER   LEF   4/4   00:00:04.86 3024/58432   8392

20C024F6 mon_server      MDSSERVER   LEF   9/7   00:00:00.29 5168/7024    1355

KEES$

LUNA$ shw *server*

Pid    Prcname         Image      State  Pri       CPU   ppgcnt/wspeak Faults

20A00407 CLUSTER_SERVER  CSP         HIB  14/12  00:00:00.68 1328/1760      78

.

.

20A0049D SERVER_0215     NETSERVER   LEF   4/4   00:00:03.00 2768/43904   8231

20A0049E SERVER_0214     NETSERVER   LEF   4/4   00:00:00.62 2848/8560    1597

20A0049F SERVER_0213     NETSERVER   LEF   4/4   00:00:00.53 2848/8560    1597

LUNA$

### 3.2 MDSplus Action Nodes

##### 3.21 Components of an action node

Figure 1 Traverser form for \CAMERAS::FAST_CAMERA.RAWDATA:INIT_ACTION

An action node defines a “dispatch” structure and a task to be run, along with other optional arguments. The dispatch structure includes the server which is to be given the task to execute, the phase and priority within the phase in which it is to be run, and an event to declare upon successful completion.

The “type” in the dispatch structure is 1,2 or 3 for asynchronous, sequential, or conditional (I think: TREE$K_SCHED_ASYNC   1; TREE$K_SCHED_SEQ  2; TREE$K_SCHED_COND  3, according to the TDI documentation; but the drop-down list gives “Undefined”, “Sequential”, and “Expression”; it’s not clear that TYPE can be properly changed from Traverser). All PPPL action nodes are of Type 2. Theoretically dispatching can be dependency based rather than sequential with priorities, in which case Type would be 1 or 3, presumably.

The TDI functions (full text in Appendix ###) are:

BUILD_ACTION (DISPATCH,TASK,[ERRORLOGS],[COMPLETION],[PERFORMANCE])

BUILD_DISPATCH (TYPE,IDENT,PHASE,WHEN,COMPLETION)

To see the components of any action node in the tree without Traverser, decompile the node in TCL:

TCL> set tree cameras

TCL> set def .fast_camera.rawdata

TCL> decompile init_action

Build_Action(Build_Dispatch(2, "KEES::GKC2_SERVER", "INIT",10, "fast_camera_init"),LIBRTL->LIB$SPAWN( "@MDS$ROOT:[SYSMGR]KODAK_INIT.COM" // $SHOTNAME), "rmaqueda")

In this example the components are:

Build_Action(

DISPATCH      Build_Dispatch(

TYPE          2,

IDENT(1)       "KEES::GKC2_SERVER",

PHASE(2)     "INIT",

WHEN (3)       10,

COMPLETION(4) "fast_camera_init"),

TASK          LIBRTL->LIB$SPAWN(

"@MDS$ROOT:[SYSMGR]KODAK_INIT.COM"//$SHOTNAME),

COMPLETION(5)  "rmaqueda")

(1) IDENT identifies server which is to carry out action (target of dispatch)

(2) PHASE must be among those defined in mds$root:[tdi]phase_table.fun if it is to actually get dispatched; NSTX uses only INIT and STORE; non-defined phase names are routinely used to avoid dispatching, which is desirable under certain conditions (if a node is off, even a test routine cannot execute the action; if it merely is in an undefined phase, the dispatcher ignores it but testing or calibration may continue, using “DO/METHOD”)

(3) WHEN is actually dispatching priority; default is usually 50, so “10” means ‘run this extremely early in its phase’ (this action wrote a shot-number notification file that a PC-based diagnostic was polling to know the shot was coming)

(4) Dispatch COMPLETION here is the name of the MDSplus event to declare if the action completes successfully; the event also contains the shot number for which the event was declared (in the rather strange case above, success means the spawn occurred, not that the command procedure succeeded)

(5) Action COMPLETION Description in BUILD_ACTION help says there should be a field before this one, but apparently that is not correct. This is the account to notify on failure (uses broadcast, not e-mail.) Not generally used on NSTX, in spite of this example.

A Typical CAMAC STORE Action

Figure 2 Traverser form for \PSPEC_RAW::FV_H908:STORE_ACTION

“Ident” tells the Dispatcher to hand this action off to the C highway CAMAC server which is on KEES. “Sequence” (priority) of 54 means that this module will be acquired somewhat late in the C highway acquisition sequence. Acquisition is accomplished by running the “STORE” method of the device described inside the \FV_H908_02 node (H908T in the PPPL$DEVICES.EXE sharable library, see TCL below). The actual method called will be H908T$STORE, a wrapper for H908T$$STORE, the C module written to support our local H908 slow digitizer. There is no relationship between the phase name STORE and the method name STORE except convenience. If the method is successful, an MDSplus event will be issued with name FV_H908_02_ACQ (not case sensitive) and with the current shot number in the data field.

On NSTX we never set the Timeout field.

KEES$ tcl

TCL> set tree pspec_raw

TCL> set def .filtered_vis.rawdata

TCL> decompile fv_h908_02

Build_Conglom("PPPL$DEVICES", "H908T", *, *)

TCL>

TCL> set def fv_h908_02

TCL> decompile store_action

Build_Action(Build_Dispatch(2, "kees::gkc2_server", "STORE", 54, "FV_h908_02_acq"), Build_Method(*, "STORE", \FV_H908_02), "")

TCL>

.

Dispatching to remote MDSplus servers: FIReTIP and High-K Scattering

Figure 3 High-K Scattering STORE_ACTION with CPCI node name in device form

Currently there are two remote data-acquisitions systems, both Linux-based, running MDSplus servers and directly integrated into the NSTX MDSplus dispatch sequence. They contrast with the dozen or more other remote systems, mostly PC-based, which only store their data in the tree, and are responsible for synchronizing themselves with the shot cycle, usually by polling for the current shot number.

For these two, FIReTIP and High-K Scattering, MDSplus tells a server running on VMS to execute a store method written in TDI which asks a remote host (identified as “CPCI node name” in the device form) to execute another TDI method locally and send the answer back. The server on VMS declares the event on success. We define a separate server for each of these systems (on Luna, but it could be anywhere) because of problems with FIReTIP hanging and preventing anything after it in the dispatch queue from running. More about this later.

No shareable library is defined in this case (there is an asterisk in the library field of the device definition):

TCL> set tree microwav_raw

TCL> set def .highk.rawdata

TCL> decompile HK_DTACQ16_1

Build_Conglom(*, "DTACQ16", *, *)

MDSplus will look in MDS$PATH for a TDI routine with name mapped to the device (“DTACQ16”) and method (STORE). In this case it will find DTACQ16__STORE.FUN.

Directory MDS$MITROOT:[TDI.DEVICES]

DTACQ16__ADD.FUN;4

DTACQ16__INIT.FUN;3

DTACQ16__PART_NAME.FUN;2

DTACQ16__STORE.FUN;34

The uses of the ADD and PART_NAME functions will be discussed later. Within DTACQ16__STORE.FUN is an explicit connect to the remote host:

_status = MdsConnect(_node);

if ((_status < 0) && (_node != 'local')) {

Write(*,"Could not connect to "//_node);

Abort();

}

MDSplus takes care of passing “CPCI node name” as the _node argument.

Action Node successful completion events (used for Scope update events and to synchronize between-shot analysis)

CAMAC Diagnostic convention: <digraph>_<devicenodename>_acq

e.g.

EPICS convention

<engineeringtreebranchcode>_<modulewithcrateandslot>_acq

e.g. PC_908C16N08_ACQ means that the H908 in slot 8 of EPICS crate 16

was successfully acquired

PC for Power conversion, GS for Gas, TC for thermocouple

Other event naming conventions

PC-based diagnostics typically have no associated device nodes containing event names that MDSplus will declare. If they declare events on success (or failure), they do it from within the code that runs on the PC. Usually the event ends with either _acq or _done, but it is necessary to ask someone associated with the programming of the acquisition to discover the exact term used and whether only one final success event is declared or if events are declared for each successfully acquired subsystem.

More about Priorities

The convention in device support programs has been to set the default sequence (priority) value to 50 when a new device node is added to a tree. Lower numbers are executed earlier. Theoretically any of the owners of a tree can change the priority of an action; in practice, action nodes are obscure enough that only the programmers ever touch them. (OPERATIONS actions, which are written from a script run by the physicist, are exceptions.)

To support the objectives of NSTX, some modules must be acquired as early as possible. On the B highway this includes the various Magnetics 908s in the OPERATIONS tree (with priority set by the scripts just mentioned). On the C highway the two 908s with the basic engineering field currents (\ENGINEERING::PC_H908_01 and _02) get absolute top priority; they are needed for EFIT along with some of the B highway Magnetics. Next in priority on C come the Thomson Scattering (TS) 908s. As a rule of thumb, if the priority is 50 or more and is going to stay 50 or more, it is safe to change.

Synchronizing EPICS and MDSplus: runnstx

NSTX_CREATE_INIT_TIME (system logical name table; need SYSPRV or SYSNAM privilege to set; default is –60 seconds)

MDS$PPPLROOT:[DISPATCHER]NSTX_CREATE_INIT.TCL

declares events NSTX_SHOTTREE_CREATED,

NSTX_DISPATCHBUILD_DONE, NSTX_INITPHASE_DONE, DWSCOPE_CLOSE_FILES

MDS$PPPLROOT:[DISPATCHER]NSTX_STORE.TCL

declares NSTX_ACQ_STARTED, NSTX_FENX_SHOTFLAG (for EFIT processing), NSTX_ACQ_DONE

(RECOVER.TCL was formerly used to manually run STORE phase if RUNNSTX aborted processing due to INIT phase timeout. Currently runnstx continues on to STORE phase if INIT phase times out, presuming that a hung DTACQ16-server is the cause)

Detecting and removing hung servers

When the INIT phase does not complete by T-7 seconds, the event NSTX_INIT_TIMEOUT is declared, although processing is not cancelled. MDS$ROOT:[DISPATCHER]NSTX_CREATE_INIT.TCL will subsequently declare NSTX_INITPHASE_DONE regardless of success or failure.

There are several possible causes for the INIT phase not being able to complete, but one common one relates to hung communication with remote MDSplus servers on either firetip-daq.pppl.gov or rftd.pppl.gov (High-k scattering). Usually the problem has been with FIReTIP.

To permit the rest of the data acquisition to proceed, the  DCL procedure MDS$PPPLROOT:[DISPATCHER]NSTX_STOP_SPECIAL_SERVERS.COM installed in batch queue ***BATCHQUEUE*** is always waiting for the NSTX_INIT_TIMEOUT event, and will terminate the MDSplus servers FIRETIP_SERVER and HIGHK_SERVER on LUNA. (It is not sufficient The servers will automatically be restarted by the dispatcher. Eventually the DCL procedure will also send e-mail notification, though it currently does not.

Action Monitor

The following two sections are currently verbatim from an old MIT MDSplus web document at:

http://www.mdsplus.org/old/gettingstarted/graphicinterfaces.html

d. Action Monitor

The Action Monitor is a graphical display listing all actions that are part of the MDSplus shot cycle.  The display consists of three windows, one above the other.  The top window lists all the actions that are to be performed during the shot in the order that the MDSplus dispatch server is to start them.  It also lists their present status at any given time.  The middle window lists the actions as they are dispatched and again every time that their status changes.  Also, they are highlighted in this list until they are complete.  This makes it easy to find the active actions.  The status possibilities include "DISPATCH", "DOING" and "DONE".  This middle window is very active because the reports can scroll by very quickly.  The lower window lists all the actions that ended with error status.  This shows quickly and easily what actions did not complete successfully.  The method to start the Action Monitor is given in Table 4 below.

The Action Monitor will not start monitoring operations in mid cycle.  Regardless of the activity taking place, no actions information will be displayed until the next time that the cycle enters the Initialization phase.  Also, the top window will display the actions list only if it is open when the dispatch server creates the list of actions for the cycle during the initialization phase.  If the top window is closed, however, the two other windows will display information normally.

The default settings are shown below in Figure 5.  Only the bottom window is displayed when the default settings are employed.  The "Action Outline Off" controls the display of the top window.  The ""Action Log Off" controls display of the middle window.  Use the "sashes" to control the size of the three windows.

(MIT Figure 5)  Default settings in the Options pull down menu of the Actions Monitor

e. Actions List

The Actions graphical display lists all the actions in the tree in the phase and sequence in which they are scheduled to be executed by MDSplus (Figure 6).  Actions preceded by an asterisk are critical to the cycle.  The implementation of testing for completion of critical actions depends on the site using MDSplus.  For the C-Mod experiment, if an initialization phase critical action ends with error status, the cycle will not continue.  If this happens, it is usually necessary to back out of the init phase to return to recool and restart the cycle.  In other stages, no testing is done for the successful completion of critical tasks.

If one of the actions is clicked on with the mouse, a window opens (Figure 7) that is similar to a node's "Display Data" pop-up window which is accessed through the Traverser.  Any of the settings displayed can be modified and written back into the tree.  However, it is not possible to turn the node on or off from this window; nor is it possible to alter any tag names for the node.  Actions are made to be critical by double clicking on them in the Actions display while the Display Data window for that action is open.

(MIT Figure 6) - Small sample of the actions executed in the C-Mod shot cycle.

End of excerpt from MIT MDSplus web document

Log files and log file comparisons

Our convention is to put log files for all programs the software group supports into some subdirectory of NSTX$:[LOGS]. These currently are:

KEES$ mov nstx$:[logs]

NSTX$:[LOGS]

KEES$ mov?

Subdirectories of NSTX$:[LOGS]

ACQREMOTE  CAMAC  CHECKQUEUES  DB  EVENTS  MPTS  RF  RUNNSTX

SQLSERVER  TC_MON  VGDS

KEES$

The logs of most interest for running MDSplus are in NSTX$:[LOGS.RUNNSTX]. Each of the processes running mdsserver.exe writes a log file with the process name and the date it was started. There are often several versions of these in a day. At midnight these processes are all stopped, to be restarted the next day if NSTX is running. As a side-effect of changes made last run, the auxiliary servers do not always stop. If they are running before the first shot has been taken, it is good practice to restart runnstx (symbol: restart_mdsacq). runnstx.exe also creates a dated log file. In addition, it appends slightly more information to runnstx.log, for which a new version gets created only when runnstx.exe gets stopped from DCL and restarted (manually or by a reboot). runnstx.exe was manually restarted and MDSplus was tested Monday, August 21, so we have (asking for most recent versions only by appending “;” to filename):

KEES$ dirw *_060821.log;

Directory NSTX$:[LOGS.RUNNSTX]

DISPATCH_SERVER_060821.LOG;1               186/186      21-AUG-2006 07:56:49.36

FIRETIP_SERVER_060821.LOG;2                  2/3        21-AUG-2006 13:50:06.14

GKA2_SERVER_060821.LOG;2                    34/36       21-AUG-2006 13:50:05.45

GKB2_SERVER_060821.LOG;2                    41/42       21-AUG-2006 13:51:08.71

GKC2_SERVER_060821.LOG;2                    47/48       21-AUG-2006 13:51:09.46

HIGHK_SERVER_060821.LOG;2                    2/3        21-AUG-2006 13:50:06.81

MON_SERVER_060821.LOG;1                      0/0        21-AUG-2006 13:51:25.38

RUNNSTX_060821.LOG;2                         4/6        21-AUG-2006 07:56:48.50

Total of 8 files, 316/324 blocks.

KEES$

KEES$ dirw runnstx.log;

Directory NSTX$:[LOGS.RUNNSTX]

RUNNSTX.LOG;516                            601/606      21-AUG-2006 07:56:47.87

COMPARE_INIT_TIMES.COM, COMPARE_STORE_TIMES.COM

These command procedures search through the data acquisition logs for information about order of execution and elapsed time; they reside in the same directory as the log files.

If you forget the arguments, the procedure reminds you:

KEES$ @compare_init_times

Required params are GK_FILENAME SHOT1 [ SHOT2 ]

for example:   gkc2_server_020507.log 108128 108129

In the single shot argument case the second column indicates the number of (truncated integer) seconds to complete the previous operation. In the two shot case, the third column gives the difference in times for the same task for the two shots. In both cases the column beneath the shot number indicates the time into the shot cycle that the task executed. The A highway is used in these examples because it produces the shortest meaningful listing. The FIReTIP and HIGHK server logs can’t be examined this way; there is only one action each for each phase.

KEES$ @compare_init_times gka2_server_060517.log 120670

Time     120670 elapsed           MDSplus device

(hh:mm:ss)  (+sec)  (sec)            --------------

08:00:57       0   (  0)   PARTICLES.NPA.RAWDATA:EN_H911_04

08:00:58       1   (  1)   PARTICLES.NPA.RAWDATA:EN_H911_03

08:00:58       1   (  0)   PARTICLES.NPA.RAWDATA:EN_H911_02

08:00:58       1   (  0)   PARTICLES.NPA.RAWDATA:EN_H911_01

08:00:58       1   (  0)   MICROWAVE.MICROWAV_RAW.EBW.RAWDATA:EB_H404_01

08:00:58       1   (  0)   PARTICLES.NPA.RAWDATA:EN_H412_01

08:00:58       1   (  0)   MICROWAVE.MICROWAV_RAW.FIRETIP.RAWDATA:FT_H404_01

08:00:58       1   (  0)   PARTICLES.SFLIP.RAWDATA:SF_H904_01

08:00:59       2   (  1)   PARTICLES.SSNPA.RAWDATA:SN_H412_01

08:00:59       2   (  0)   PARTICLES.SSNPA.RAWDATA:SN_H404_01

08:00:59       2   (  0)   PARTICLES.SFLIP.RAWDATA:SF_H412_01

08:00:59       2   (  0)   PARTICLES.SFLIP.RAWDATA:SF_H404_01

08:00:59       2   (  0)   CAMERAS.CANPHOTON.RAWDATA:CP_H412_01

08:00:59       2   (  0)   CAMERAS.FASTSOFTXRAY.RAWDATA:FX_H408_01

08:00:59       2   (  0)   EDGE.DEPOSITION.RAWDATA:DM_H409_01

08:00:59       2   (  0)   OPERATIONS.RAWDATA:LM_H404_01

08:00:59       2   (  0)   OPERATIONS.RAWDATA:LM_H409_01

08:00:59       2   (  0)   OPERATIONS.RAWDATA:LM_H908_01

08:00:59       2   (  0)   OPERATIONS.RAWDATA:LM_H908_02

08:00:59       2   (  0)   EDGE.FASTPROBES.RAWDATA:FP_H404_01

08:00:59       2   (  0)   EDGE.FASTPROBES.RAWDATA:FP_TR612_01

08:00:59       2   (  0)   PARTICLES.IFLIP.RAWDATA:FI_H908_01

08:00:59       2   (  0)   PARTICLES.NPA.RAWDATA:EN_H320_01

08:00:59       2   (  0)   PARTICLES.NPA.RAWDATA:EN_H320_02

08:00:59       2   (  0)   EDGE.FASTPROBES.RAWDATA:FP_H409_01

08:00:59       2   (  0)   PARTICLES.IFLIP.RAWDATA:FI_H404_01

08:00:59       2   (  0)   PASSIVESPEC.PSPEC_RAW.HARD_XRAY.RAWDATA:XH_H908_01

08:00:59       2   (  0)   EDGE.FASTPROBES.RAWDATA:FP_TR612_02

08:00:59       2   (  0)   EDGE.FASTPROBES.RAWDATA:FP_TR612_03

08:00:59       2   (  0)   PARTICLES.CENA.RAWDATA:CN_TR612_01

08:00:59       2   (  0)   PASSIVESPEC.PSPEC_RAW.GRITS.RAWDATA:GR_H404_01

08:00:59       2   (  0)   PASSIVESPEC.PSPEC_RAW.GRITS.RAWDATA:GR_H412_01

08:01:03       6   (  4)   PARTICLES.NPA.RAWDATA:EN_H322_04

08:01:03       6   (  0)   PARTICLES.NPA.RAWDATA:EN_H322_03

08:01:03       6   (  0)   PARTICLES.NPA.RAWDATA:EN_H322_01

08:01:03       6   (  0)   PARTICLES.NPA.RAWDATA:EN_H322_02

08:04:28     211   (205)   PARTICLES.NPA.RAWDATA:EN_H404_01

08:04:28     211   (  0)   PASSIVESPEC.PSPEC_RAW.HARD_XRAY.RAWDATA:XH_H404_01

Shot 120670 start at 08:00:57.92  17-MAY-2006

I =     38

KEES$

The NPA and X-ray PHA (EN, XH) H404 timing modules display strange-looking times because their INIT methods run in the STORE phase, not the INIT phase. At least one of the H404 channels in each must have been set to T-60 or earlier to make this necessary.

KEES$ @compare_store_times gka2_server_060517.log 120670 120671

120670 120671 (diff)          MDSplus device

(+sec) (+sec)                 --------------

0      0   (   0)  PARTICLES.NPA.RAWDATA:EN_H911_04

1      0   (  -1)  PARTICLES.NPA.RAWDATA:EN_H911_02

1      1   (   0)  PARTICLES.NPA.RAWDATA:EN_H911_03

1      1   (   0)  CAMERAS.FASTSOFTXRAY.RAWDATA:FX_H408_01

2      1   (  -1)  PARTICLES.NPA.RAWDATA:EN_H911_01

3      3   (   0)  OPERATIONS.RAWDATA:LM_H908_01

4      4   (   0)  OPERATIONS.RAWDATA:LM_H908_02

5      5   (   0)  PARTICLES.NPA.RAWDATA:EN_H322_04

5      5   (   0)  PARTICLES.NPA.RAWDATA:EN_H320_01

5      5   (   0)  PARTICLES.NPA.RAWDATA:EN_H322_01

5      5   (   0)  PARTICLES.NPA.RAWDATA:EN_H320_02

6      5   (  -1)  PARTICLES.NPA.RAWDATA:EN_H322_02

6      5   (  -1)  PARTICLES.NPA.RAWDATA:EN_H322_03

6      5   (  -1)  PARTICLES.IFLIP.RAWDATA:FI_H908_01

6      6   (   0)  EDGE.FASTPROBES.RAWDATA:FP_TR612_02

57     57   (   0)  EDGE.FASTPROBES.RAWDATA:FP_TR612_01

103    104   (   1)  EDGE.FASTPROBES.RAWDATA:FP_TR612_03

149    150   (   1)  PARTICLES.CENA.RAWDATA:CN_TR612_01

154    154   (   0)  PASSIVESPEC.PSPEC_RAW.HARD_XRAY.RAWDATA:XH_H908_01

Shot 120670 start at 08:01:43.88  17-MAY-2006

Shot 120671 start at 08:11:43.57  17-MAY-2006

I =     19

KEES$

Searching logfiles

There is no procedure to report on the runnstx logs, but the search command can give a lot of information. To check the variation among INIT phase elapsed times (maybe to decide if NSTX_CREATE_INIT_TIME needs to be increased or decreased):

KEES$ sea runnstx_060517.log elapsed,"(-"/match=and

--> ... elapsed time = 45 sec  (-00:30)  17-May-2006 08:01:08

--> ... elapsed time = 40 sec  (-00:35)  17-May-2006 08:11:03

--> ... elapsed time = 46 sec  (-00:29)  17-May-2006 12:30:13

--> ... elapsed time = 53 sec  (-00:22)  17-May-2006 15:02:38

--> ... elapsed time = 47 sec  (-00:28)  17-May-2006 15:13:28

--> ... elapsed time = 48 sec  (-00:27)  17-May-2006 15:23:28

--> ... elapsed time = 47 sec  (-00:28)  17-May-2006 16:01:30

--> ... elapsed time = 42 sec  (-00:33)  17-May-2006 16:16:25

--> ... elapsed time = 42 sec  (-00:32)  17-May-2006 16:31:26

--> ... elapsed time = 41 sec  (-00:34)  17-May-2006 16:51:24

--> ... elapsed time = 37 sec  (-00:38)  17-May-2006 17:01:20

KEES$

Similarly for the STORE phase:

KEES$ sea runnstx_060517.log elapsed,"(+"/mat=and

--> ... elapsed time = 165 sec  (+02:54)  17-May-2006 08:04:32

--> ... elapsed time = 164 sec  (+02:53)  17-May-2006 08:14:31

--> ... elapsed time = 167 sec  (+02:55)  17-May-2006 12:33:37

--> ... elapsed time = 166 sec  (+02:55)  17-May-2006 15:05:55

--> ... elapsed time = 168 sec  (+02:56)  17-May-2006 15:16:52

--> ... elapsed time = 168 sec  (+02:57)  17-May-2006 15:26:52

--> ... elapsed time = 168 sec  (+02:57)  17-May-2006 16:19:55

--> ... elapsed time = 170 sec  (+02:59)  17-May-2006 16:34:57

--> ... elapsed time = 168 sec  (+02:56)  17-May-2006 16:54:54

--> ... elapsed time = 176 sec  (+03:05)  17-May-2006 17:05:03

KEES$

The times in parentheses above are the facility clock times at the completion of the phase; the date-times at the end of the line are the times at which the entry in the log file was made.

To check quickly for the most common problems from the acquisition servers:

KEES$ sea *_060627.log;* retry,scc,"-FLK"

NSTX$:[LOGS.RUNNSTX]GKC2_SERVER_060627.LOG;1

--> 13:36:06  retryCnt=1 for SFR_L6810_01 chan 0  seg 0

KEES$

Notice the “;*” at the end of the file name. On a bad day, there can be many versions of some of the logs. We want to look through all of them.

The search line above is checking for CAMAC highway problems and MDSplus file contention problems. Highway synchronization problems result in the message:

%CAM-E-SCCFAIL, serial crate controller failure

Several of the CAMAC methods are programmed to retry on error; a noisy highway would result in a lot of errors like:

--> 10:39:50  retryCnt=3 for SFW_H908_06 chan 20

Unresolved contention in writing to tree files produces an RMS-E-FLK error (file is locked and retries have been exhausted).

4.0 Device support

Adding an already supported device

New device nodes are typically added using Traverser and selecting from the list of devices offered under Edit/Add Device (figure below). It is also possible to add devices directly from TCL using 
TCL> ADD NODE/MODEL=devicename  nodename, 
e.g. 
TCL> ADD NODE/MODEL=L6810BPPPL \TOP.CHI.RAWDATA:HI_L6810_01 .

The list of devices is built from MDS$DEVICES.OLB (from <device>$ADD entry points in its component device libraries) and from devices supported in TDI language found in MDS$PATH (<device>__ADD.FUN).

MDS$ROOT:[SYSLIB]MDS$DEVICES.OLB is a library of shareable images of device support modules:

KEES$ librar/list mds$root:[syslib]mds$devices.olb

Directory of ALPHA SHAREABLE IMAGE SYMBOL TABLE library MDS$PPPLROOT:[SYSLIB]MDS

$DEVICES.OLB;10 on 23-AUG-2006 09:09:28

Creation date:  28-JUL-2000 14:30:44      Creator:  Librarian A09-19

Revision date:   3-NOV-2005 16:48:34      Library format:   3.0

Number of modules:      4                 Max. key length:  39

Other entries:        449                 Preallocated index blocks:     58

Recoverable deleted blocks:      1        Total index blocks used:       60

Max. Number history records:      20      Library history records:       20

HYBRID$DEVICES

MIT$DEVICES

PPPL$DEVICES

RCPDAQ$DEVICES

KEES$

(Full entry-point listing in Appendix ###)

HYBRID$DEVICES.EXE and MIT$DEVICES.EXE were supplied with MDSplus;

PPPL$DEVICES.EXE contains the software written at PPPL for PPPL devices. RCPDAQ$DEVICES contains device support for the GL_AD1020 digitizer written at PPPL for the  RCPDAQ VMS system at General Atomics (Rick Moyer, Jose Boedo; Fast Probes).

PPPL$DEVICES.EXE is built from NSTX0:[MDSPLUS_LOCAL.CAMAC]PPPL$DEVICESLNK.COM (listing in Appendix ###), and the result copied to MDS$PPPLROOT:[SYSLIB]. Directories of source code reside below NSTX0:[MDSPLUS_LOCAL.CAMAC]. We don’t have link files for the MIT libraries.

MDSPLUS$PATH .FUN routines:

KEES$ dir mds$root:[tdi.devices];

Directory MDS$PPPLROOT:[TDI.DEVICES]

DTACQ16__INITTRIGGER.FUN;3

Total of 1 file.

Directory MDS$MITROOT:[TDI.DEVICES]

A12__ADD.FUN;4      A12__INIT.FUN;3     A12__PART_NAME.FUN;4

A12__STOP.FUN;3     A12__STORE.FUN;3    A12__TRIGGER.FUN;3

BAD_DTACQ16__STORE.FUN;1                BAD_DTACQ16__STORE_1.FUN;1

BAD_DTACQ16__STORE_2.FUN;1              DT100GETNUMCHANNELS.FUN;1

DT100GETNUMSAMPLES.FUN;1                DT100INIT.FUN;1

DT100READCHANNEL.FUN;1                  DT100WRITEMASTER.FUN;1

DT100__ADD.FUN;2    DT100__INIT.FUN;3   DT100__PART_NAME.FUN;2

DT100__STORE.FUN;5  DT101__ADD.FUN;9    DT101__INIT.FUN;8

DT101__PART_NAME.FUN;5                  DT101__STORE.FUN;26

DTACQ16__ADD.FUN;4  DTACQ16__INIT.FUN;3 DTACQ16__PART_NAME.FUN;2

DTACQ16__STORE.FUN;34                   DT_ACQ16__ADD.FUN;1

DT_ACQ16__INIT.FUN;1                    DT_ACQ16__PART_NAME.FUN;1

DT_ACQ16__STORE.FUN;1                   MDSDEVICES.FUN;1

MITDEVICES.FUN;6

Total of 32 files.

KEES$ dir mdsplus$:[pppl]*904*.fun;

Directory MDSPLUS$:[PPPL]

H904__ADD.FUN;13    H904__INIT.FUN;38   H904__PART_NAME.FUN;6

Total of 3 files.

Once the device node is added, it is usually also configured in Traverser using the device setup form:

Figure 4 Setup Device command and L8212 device setup form

The device setup form is generated from an X-windows MOTIF UID file, which is the result of compiling a UIL (User Interface Language) ASCII form description with the MDSplus widgets library. During a recent VMS minor upgrade, the uil/motif program produced errors with files that had previously worked. The older uil.exe program was brought over from an earlier version MIT system and needs to be defined before doing any compiles now:

$ set command mds$root:[sysexe]uil

$ uil/motif/widget=xmdsuil h404.uil

Without such a file, a device could still be used; it would simply be necessary to enter the necessary data into each device subnode individually. (I believe some U Washington devices are configured from IDL GUI’s rather than MOTIF forms.) This, in fact, is the case for PPPL users on Unix, because the UID files and even the UIL files are not compatible; a separate set of MDSplus widget names must be used in changing a VMS UIL file to one usable on Unix. (Listing of VMS UID files in Appendix ###.)

Access to the setup for the action nodes is via the buttons at the bottom of the device setup form (Init Action and Store Action shown here; some devices have only one action).

Supporting new devices in MDSplus

BUILD_CONGLOM() example spelled out better

As mentioned in the section on Action Nodes, MDSplus normally calls wrapper methods of the form <devicename>$<phasename> which in turn call routines <devicename>$$<phasename>, all of which are defined in the library specified in the device node. (If no library is specified, TDI support is assumed.)

Originally the preferred development method was to edit a <devicename>.GEN file (written, apparently, in YACC) and then process it [SYNTAX,example]  into a <devicename>_GEN.C and <devicename>.H file. The GEN file specifies all the data nodes and can include valid data values or ranges and error messages to be generated if configured values do not agree. The <devicename>. H file would then be included in the code directly related to setting up or reading out the device. The calling sequences for the <devicename>$$<phasename> routines are established in the <devicename>_GEN.C programs, where the <devicename>$<phasename> procedures are defined.

The *_GEN.C files also contain the methods for creating the structures (“conglomerates”) needed for the device when adding a device to a tree from Traverser or TCL. Any value checking specified in the .GEN file is also done in the autogenerated _GEN.C code. Most of the mechanics of getting configuration information out of tree nodes is handled in the *_GEN.C routines.

<device>.GEN, compiled with GEN_DEVICE/SINGLE/SUFFIX=_GEN   <device>.gen

to create <device>_GEN.C

<device>.C     with all the modules called  from <device>_GEN

("$$" versions of the "$" methods) and <device>$DW_SETUP,

the device setup code (written in Motif with Xmds widgets)

EXAMPLE

At least two generations of C-based support can be seen in the source code from MIT (which we were able to see during the time we had their VMS source disk NFS-mounted on Birch; files downloaded during that time are at COLLAB:[BE1.NSTX.MDSPLUS.MITSOURCE]), with the earlier versions piecing together descriptors in a fairly complex way, and the later modules using a TDI$COMPILE() call to do all that work for us. Simplifying with TDI was then taken one more step, and at this point the recommendation is pretty much to skip the GEN, C, stuff and do the whole thing in TDI.

By convention, directories for new devices supported in C are created beneath MDSPLUS_LOCAL$:[CAMAC].

KEES$ dir mdsplus_local$:[camac];

Directory NSTX0:[MDSPLUS_LOCAL.CAMAC]

DBGERR.LOG;2        DD.TCL;3            DEFS.COM;3          DEV$MESSAGES.MSG;1

DEV$MESSAGES.OBJ;1  DTACQ16.DIR;1       GL1020.DIR;1        H320.DIR;1

H321.DIR;1          H322.DIR;1          H356.DIR;1          H404.DIR;1

H408.DIR;1          H409.DIR;1          H412.DIR;1          H904.DIR;1

H908.DIR;1          H911.DIR;1          H912R.DIR;1         I1148.DIR;1

IDL_CAM$_SUMMARY.TXT;1                  J224.DIR;1          KS3421.DIR;1

KS3525.DIR;1        L4202ONLY.DIR;1     L6810.DIR;1         L6810B.DIR;1

L6810ED.DIR;1       L8801.DIR;1         MESSAGES.MSG;7      MESSAGES.OBJ;6

MIT_MESSAGES.MSG;1  MIT_MESSAGES.OBJ;1  PPPL$DEVICES.EXE;261

PPPL$DEVICESLNK.COM;76                  RCPDAQ$DEVICES.EXE;47

RCPDAQ$DEVICESLNK.COM;9                 RCPDAQ$DEVICESLNK.COM_WDECW;1

T4012.DIR;1         T4012NOX.DIR;1      T4032.DIR;1         TR612.DIR;1

Total of 42 files

Writing new device support in TDI

If pure TDI support is written, add the new device name to MDS$ROOT:[TDI.DEVICES]MDSDEVICES.FUN in order to make it show up in the “Edit/Add Device” page of Traverser.

An excellent description of writing device support partly with automatically generated C code and partly with TDI functions can be found at

http://plasma.aa.washington.edu/mdsplus/LocalDeviceDevelopment/writing_drivers.html

(For convenience, the September 2006 versions of this page and the code examples it linked to are duplicated here in Appendix XXX. The TDI INIT.FUN and STORE.FUN in those examples are more thoroughly commented than the A12 example below.)

[  H904 is in MDSPLUS$:[PPPL], but probably it should be in MDS$PPPLROOT:[TDI.DEVICES].]  DTACQ16 is still in MDS$MITROOT:[TDI.DEVICES] even though it was modified here. The trigger routine, now originally provided by MIT, does reside in MDS$PPPLROOT:[TDI.DEVICES].

As in C, providing TDI device support requires two MDSplus methods, ADD and PART_NAME, plus as many CAMAC methods as desired, usually at least INIT and STORE. The Joerger A12 digitizer is given as an example. The ADD and PART_NAME methods are supplied via the <devicename>_GEN.C routine, generated automatically. For TDI support, they are written explicitly, making use of a set of TDI device support routines in MDS$ROOT:[TDI.DEVICE_SUPPORT] that call into the tree libraries.

KEES$ dir mds$root:[tdi.device_support];

Directory MDS$MITROOT:[TDI.DEVICE_SUPPORT]

DEVADDACTION.FUN;4 DEVADDEND.FUN;4   DEVADDNODE.FUN;4  DEVADDSTART.FUN;11

DEVCAMCHK.FUN;4    DEVHEAD.FUN;4     DEVISON.FUN;4     DEVNODEREF.FUN;4

DEVPUTSIGNAL.FUN;4 DEVPUTSIGNALNOBOUNDS.FUN;2

Total of 10 files.

public fun a12__add(in _path, out _nidout)

{

DevAddStart(_path,'A12',25,_nidout);

DevAddNode(_path//':A12NAME','TEXT',*,*,_nid);

DevAddNode(_path//':COMMENT','TEXT',*,*,_nid);

DevAddNode(_path//':EXT_CLOCK_IN','AXIS',*,'/noshot_write',_nid);

DevAddNode(_path//':STOP_TRIG','AXIS',0.,'/noshot_write',_nid);

for (_c=1;_c<7;_c++)

{

_cn = _path//':INPUT_'//TEXT(_c,1);

DevAddNode(_cn,'SIGNAL',*,'/write_once/compress_on_put/nomodel_write',_nid);

DevAddNode(_cn//':STARTIDX','NUMERIC',*,'/noshot_write',_nid);

DevAddNode(_cn//':ENDIDX','NUMERIC',*,'/noshot_write',_nid);

}

DevAddAction(_path//':INIT_ACTION','INIT','INIT',50,'CAMAC_SERVER',_path,_nid)

;

DevAddAction(_path//':STORE_ACTION','STORE','STORE',50,'CAMAC_SERVER',_path,_n

id);

DevAddEnd();

}

This function produces the structure:

The code for DevAddNode.fun shows some of the calls to TCL and into the tree libraries that are needed to make these changes.

public fun DevAddNode(in _path, in _usage, optional in _data, optional in _flags, out _nid)

{

_stat = Tcl('add node/usage='//_usage//' '//_path);

if (!_stat)

{

write(*,'Error adding node '//_path);

abort();

}

_nid = getnci(_path,'nid_number');

if (present(_data))

{

if (is_vms())

_stat = TreeShr->Tree$Put_Record(_nid,xd(_data));

else

_stat = TreeShr->TreePutRecord(val(_nid),xd(_data),val(0));

if (!_stat)

{

write(*,'Error writing data to '//_path);

abort();

}

}

if (present(_flags))

{

_stat = Tcl('set node'//_flags//' '//_path);

if (!_stat)

{

write(*,'Error setting node characteristics - '//_flags//' on '//_path);

abort();

}

}

return(_stat);

}

The part_name routine maps a relative node number (0-based) to an ASCII relative path name:

public fun A12__PART_NAME(as_is _nid, optional in _method)

{

_name = ([

'',

':A12NAME',

':COMMENT',

':EXT_CLOCK_IN',

':STOP_TRIG',

':INPUT_1',

':INPUT_1:STARTIDX',

':INPUT_1:ENDIDX',

':INPUT_2',

':INPUT_2:STARTIDX',

':INPUT_2:ENDIDX',

':INPUT_3',

':INPUT_3:STARTIDX',

':INPUT_3:ENDIDX',

':INPUT_4',

':INPUT_4:STARTIDX',

':INPUT_4:ENDIDX',

':INPUT_5',

':INPUT_5:STARTIDX',

':INPUT_5:ENDIDX',

':INPUT_6',

':INPUT_6:STARTIDX',

':INPUT_6:ENDIDX',

':INIT_ACTION',

':STORE_ACTION'])[getnci(_nid,'conglomerate_elt')-1];

return(trim(_name));

}

For comparison, the original a12.gen file was

device model = A12 library = MIT$DEVICES with

{

NAME              : undefined                                      usage = text;

COMMENT           : undefined                                      usage = text;

EXT_CLOCK_IN      : undefined         options = no_write_shot      usage = axis;

STOP_TRIG         : datum value = 0.  options = no_write_shot      usage = numeric;

INPUT_1           : undefined         options =no_write_model,write_once,compressible        usage = signal ;

INPUT_1:STARTIDX  : undefined         options = no_write_shot      usage = numeric;

INPUT_1:ENDIDX    : undefined         options = no_write_shot      usage = numeric;

INPUT_2           : undefined         options =no_write_model,write_once,compressible        usage = signal ;

INPUT_2:STARTIDX  : undefined         options = no_write_shot      usage = numeric;

INPUT_2:ENDIDX    : undefined         options = no_write_shot      usage = numeric;

INPUT_3           : undefined         options =no_write_model,write_once,compressible        usage = signal ;

INPUT_3:STARTIDX  : undefined         options = no_write_shot      usage = numeric;

INPUT_3:ENDIDX    : undefined         options = no_write_shot      usage = numeric;

INPUT_4           : undefined         options =no_write_model,write_once,compressible        usage = signal ;

INPUT_4:STARTIDX  : undefined         options = no_write_shot      usage = numeric;

INPUT_4:ENDIDX    : undefined         options = no_write_shot      usage = numeric;

INPUT_5           : undefined         options =no_write_model,write_once,compressible        usage = signal ;

INPUT_5:STARTIDX  : undefined         options = no_write_shot      usage = numeric;

INPUT_5:ENDIDX    : undefined         options = no_write_shot      usage = numeric;

INPUT_6           : undefined         options =no_write_model,write_once,compressible        usage = signal ;

INPUT_6:STARTIDX  : undefined             options = no_write_shot

INPUT_6:ENDIDX    : undefined             options = no_write_shot      usage = numeric;

INIT_ACTION       : action operation = INIT sequence = 50 phase = INIT server_class = CAMAC_SERVER;

STORE_ACTION      : action operation = STORE sequence = 50 phase = STORE server_class = CAMAC_SERVER;

}

operation INIT requires {

NAME : string error_message is DEV$_BAD_NAME;

EXT_CLOCK_IN;

}

operation TRIGGER requires {

NAME : string error_message is DEV$_BAD_NAME;

}

operation STOP requires {

NAME : string error_message is DEV$_BAD_NAME;

}

The two files generated from A12.GEN, A12_GEN.C and A12.H, are shown in the appendix, along with A12.C, the original C-language support file.

There really are two instances of the first CamPiow command in the source; why?

public fun A12__INIT(as_is _nid, optional _method)

{

_name = DevNodeRef(_nid,1);

_status = DevCamChk(_name,CamPiow(_name,0,9,_d=0,16),1,1);

_status = DevCamChk(_name,CamPiow(_name,0,9,_d=0,16),1,1);

_ext_clock = DevNodeRef(_nid,3);

_ext = getnci(_ext_clock, 'length') == 0;

_status = DevCamChk(_name,CamPiow(_name,0,17,_ext,16),1,1);

_status = DevCamChk(_name,CamPiow(_name,0,26,_d=0,16),1,1);

return(1);

}

public fun a12__store(as_is _nid, optional _method)

{

_name      = DevNodeRef(_nid,1);

_ext_clock = DevNodeRef(_nid,3);

_trigger   = DevNodeRef(_nid,4);

/***********************************

See if digitizer is done digitizing

************************************/

DevCamChk(_name,CamPiow(_name,0,8,_d=0,16),1,*);

if (!CamXandQ())

{

write(*,'%CAMERR, module '//_name//', Device not triggered');

return(0);

}

/*************************************

Get setup info

*************************************/

DevCamChk(_name,CamPiow(_name,0,0,_setup,16),1,*);

_offsets = _setup & 0x3f;

_clk = ((_setup & 0x80) == 0) ? _ext_clock : build_range(*,*,1E-5);

/************************************************************

Check module id for max samples and channel selection method

************************************************************/

DevCamChk(_name,CamPiow(_name,0,6,_module_id, 16),1,1);

_max_samples = (_module_id & 128) ? 32767 : 8192;

/***********************************************************

For each channel:

If channel is turned on

Get bounds based on startidx and endidx nodes

Compute channel selection code based on module id

Compute data offset based on offsets bit mask

Select the channel

Read the data

Define the dimension

Write the signal

endif

Endfor

************************************************************/

for (_chan=0; _chan < 6; _chan++)

{

_chan_offset = _chan * 3 + 5;

_chan_nid = DevHead(_nid) + _chan_offset;

if (DevIsOn(_chan_nid))

{

_startidx = DevNodeRef(_nid,_chan_offset+1);

_endidx   = DevNodeRef(_nid,_chan_offset+2);

_lbound = if_error(long(data(_startidx)),0);

_lbound = min(max(_lbound,0),_max_samples-1);

_ubound = if_error(long(data(_endidx)),_max_samples-1);

_ubound = min(max(_ubound,_lbound),_max_samples-1);

if (((_module_id >> 8) & 0xff) <= 4)

{

_chan_sel = 7 - _chan;

}

else

{

DevCamChk(_name,CamPiow(_name,1,24,_d=0,16),1,1);

_chan_sel = _chan;

}

_offset = ((1 << _chan) & _offsets) != 0 ? -2048 : 0;

DevCamChk(_name,CamPiow(_name,_chan_sel,16,_d=0,16),1,*);

DevCamChk(_name,CamFStopw(_name,0,2,_max_samples,_data,16),1,*);

_dim = make_dim(make_window(_lbound,_ubound,_trigger),_clk);

DevPutSignal(_chan_nid, _offset, 10./4096, _data[_lbound : _ubound], _lbound, _ubound, _dim);

}

}

return(1);

}

Files:

<device>.UIL, compiled with UIL/MOTIF/WIDGET=XMDSUIL    <device>.UIL

to create <device>.UID

<device>.GEN, compiled with GEN_DEVICE/SINGLE/SUFFIX=_GEN   <device>.gen

to create <device>_GEN.C

<device>.C     with all the modules called  from <device>_GEN

("$$" versions of the "$" methods) and <device>$DW_SETUP,

the device setup code (written in Motif with Xmds widgets)

Relink the site-specific sharable image (PPPL$DEVICES.EXE at PPPL) and

replace the old sharable image in library MDS$DEVICES.OLB for production or TEST$DEVICES.OLB for testing.

PRODUCTION LIBRARIES RESIDE IN MDS$ROOT:[SYSLIB]

Test libraries reside in NSTX$:[CAMAC]; to use the test library, define  logical name MDS$DEVICES as NSTX$:[CAMAC]TEST$DEVICES.OLB. Deassign the logical name to return to the production environment.

Create the new <device>.GEN document, identifying all the inputs and outputs that will require nodes in the tree for storage -

[for now, it is necessary to imitate an existing document, there is no general description] this defines tree nodes, methods and can initialize some values

<device>$ADD which puts tree nodes for inputs and outputs into model tree is generated (GEN_DEVICE) from description file <device>.GEN

Interface code for device methods (INIT and STORE, typically) is also generated automatically; as <device>$INIT and <device>$STORE, typically

device-specific modules, usually <device>$$INIT and <device>$$STORE, called from the corresponding generated code, must be written - this is where the

CNAFs go; in the <device>$$STORE routine it is necessary to put acquired data into the appropriate MDSplus data structures. This can be done directly using MDSplus structure definitions (see l8210.c

for an example), or via TDI expressions (see h908.c for an example).

5.0 CAMAC definition and monitoring

Defining the CAMAC configuration at boot

NSTX-related processing is started at system boot from SYS$MANAGER:<host>SYSRTM.COM where <host> is any one of EUROPA, KEES, or LUNA. The RTM (RealTiMe) command procedure is itself run from SYS$MANAGER:SYSTARTUP_VMS_BATCH.COM. This latter procedure contains all the secondary startup processing and is submitted to a batch queue at boot time, as its name describes, so that any problems in any of the contained procedures do not interfere with the actual boot process.

CAMAC definitions are present in KEESSYSRTM.COM and LUNASYSRTM.COM as NSTXCAMSTART.COM (on KEES) and LUNACAMSTART.COM.

There are presently two CAMAC highways (B and C) on KEES, and one (A) on LUNA. The CAMSTART procedure on the respective machines creates the special logical name table LNM_CAMAC for CAMAC device-name to logical-name mapping and, via the add_crates subroutine, populates the list of crates. The CTS AUTOCONFIGURE process then loads the current mapping from a disk text file.

Formerly crates were also set on-line at this point, but the CTS method, sending a C/Z, clears module settings. Since we are using many CAMAC modules to control the power status of PC’s and PC-related diagnostic equipment, this is no longer done. Instead, CRATEMONITOR.PRO turns each crate on in turn when it runs about once a minute to status the crates for the web. This also means that persons in the field making changes to CAMAC racks do not need access to a computer to put crates back on-line, a great convenience.

SYS$MANAGER:NSTXCAMSTART.COM without history:

$!-----------------------------------------------------------------------

$!

$ create/name_table/parent=lnm$system_directory/protection=(w:rwed,g:rwed) -

lnm_camac  ! Create logical name table for CAMAC names

$ define/system/nolog/exec camshr SYS$SHARE:SCSI_CAMSHR

$ define/system/nolog/exec NSTX$STARTUP NSTX0:[NSTX.NSTX.STARTUP]

$ deas/table=lnm_camac/all

$

$!

$!---------------- Add Crates Below this line ----------------------------

$

$ call add_crates GKB2  1  3

$ call add_crates GKB2  6  6

$ call add_crates GKB2  9 15

$ call add_crates GKB2 17 17

$ call add_crates GKB2 25 27

$! omitting 33 & 34

$ call add_crates GKB2 61 61

$!

$ call add_crates GKC2  4  5

$ call add_crates GKC2  7  8

$ call add_crates GKC2 16 16

$ call add_crates GKC2 19 22

$ call add_crates GKC2 24 24

$ call add_crates GKC2 28 30

$ call add_crates GKC2 33 33

$ call add_crates GKC2 37 40

$ call add_crates GKC2 42 44

$ call add_crates GKC2 47 48

$ call add_crates GKC2 62 62

$

$!------------------------------------------------------------------------

$! Install MDSplus images that require it

$ @AUTIL:[MDSPLUS]MDSPLUS.COM   ; defines CTS

$!

$ CTS

AUTOCONFIGURE

! SET */ON    ! 15-feb-02 Let CRATEMON do it "gently"

SHOW/CRATE

EXIT

$!

$ exit

$

$ def_crate_sub: subroutine

$ driver = P1+"00"

$ if .not. f$getdvi(driver+":","exists") then mcr sysman io connect 'driver'/noa

dapter/driver=sys$gkdriver

$ crate = f$fao("!2ZL",f$integer(P2))

$ define/table=lnm_camac/nolog 'P1''crate': crate'crate'

$ exit

$ endsubroutine

$

$ add_crates: subroutine

$ add_crate := call def_crate_sub

$ idx = f$integer(p2)

$ endidx = f$integer(p3)

$ add_crates_loop:

$ if idx .gt. endidx then exit

$ add_crate 'P1' 'idx'

$ idx = idx + 1

$ goto add_crates_loop

$ exit

$ endsubroutine

SYS$MANAGER:LUNACAMSTART.COM without history

$!-----------------------------------------------------------------------

$!

$ create/name_table/parent=lnm$system_directory/protection=(w:rwed,g:rwed) -

lnm_camac  ! Create logical name table for CAMAC names

$ define/system/nolog/exec camshr SYS$SHARE:SCSI_CAMSHR

$ define/system/nolog/exec NSTX$STARTUP NSTX$:[NSTX.STARTUP]

$ deas/table=lnm_camac/all

$!

$!---------------- Add Crates Here ----------------------------

$

$ call add_crates GKA2 18 18

$ call add_crates GKA2 23 23

$ call add_crates GKA2 31 32

$! omitting 33 & 34 - removed

$ call add_crates GKA2 34 36

$ call add_crates GKA2 41 41

$ call add_crates GKA2 45 46

$ call add_crates GKA2 60 60  ! to be added

$!

$!------------------------------------------------------------------------

$! Install MDSplus images that require it

$ @AUTIL:[MDSPLUS]MDSPLUS.COM   ; defines CTS

$!

$ CTS

AUTOCONFIGURE

! SET */ON    ! 15-feb-02 Let CRATEMON do it "gently"

SHOW/CRATE

EXIT

$!

$ exit

$

$ def_crate_sub: subroutine

$ driver = P1+"00"

$ if .not. f$getdvi(driver+":","exists") then mcr sysman io connect 'driver'/noa

dapter/driver=sys$gkdriver

$ crate = f$fao("!2ZL",f$integer(P2))

$ define/table=lnm_camac/nolog 'P1''crate': crate'crate'

$ exit

$ endsubroutine

$

$ add_crates: subroutine

$ add_crate := call def_crate_sub

$ idx = f$integer(p2)

$ endidx = f$integer(p3)

$ add_crates_loop:

$ if idx .gt. endidx then exit

$ add_crate 'P1' 'idx'

$ idx = idx + 1

$ goto add_crates_loop

$ exit

$ endsubroutine

$

LUNA$

See Appendix XXX for <host>SYSRTM.COM startup files.

5.1 CTS and CCL

The CTS (CAMAC Topology Supervisor) and CCL (CAMAC Command Language) utilities are much the same as the original ORNL implementation once run on VAXes, and ported to the Alpha architecture and then to Linux by MIT. CTS permits defining logical names for devices that can be used in programs and continue valid even when the device is moved to a different slot, rack or highway. They each provide “help” information.

KEES$ cts

CTS> help

.

.

Additional information available:

@          ASSIGN     AUTOCONFIGURE         COMMENT    Crates     DEASSIGN

EXIT       Highways   Modules    SET        SHOW

KEES$ ccl

CCL> help

.

.

Additional information available:

DCLST      default_libs          EXECUTE    FSTOP      HELP

initial_keydefs       LAMWAIT    LPIO       LQSCAN     LSTOP      PIO

PLOT       QREP       QSCAN      QSTOP      RDATA      SET        SHOW

startup    STOP       WDATA

.

.

5.2 Setting crates on-line: CRATEMON and LUNACRATEMON

cratemon (on KEES) and lunacratemon are processes started at boot (via SYS$MANAGER: KEESSTSRTM.COM or LUNASYSRTM.COM) in batch queues KEES_EVENT and LUNA_EVENT, respectively. If there is a problem, the batch job can be stopped ($STOP/ENTRY=87 to stop CRATEMON in the example below) and then restarted 
($ @ NSTX$:[NSTX.CAMAC]CRATEMON_SUBMIT.COM or

@ NSTX$:[NSTX.CAMAC]LUNACRATEMON_SUBMIT.COM)

KEES$ show que/all kees_event

Batch queue KEES_EVENT, available, on KEES::

Entry  Jobname         Username        Status

-----  -------         --------        ------

32  CWL_VIPS        SYSTEM          Executing

57  LINKMON         SYSTEM          Executing

59  RGASHOT_404     RONEY           Executing

87  CRATEMON        RONEY           Executing

999  CAMERAOFF       SYSTEM          Holding until 10-DEC-2007 20:00:00

84  ATT             RONEY           Holding until 11-DEC-2007 07:00:00

KEES$

LUNA$ show que/all luna_event

Batch queue LUNA_EVENT, available, on LUNA::

Entry  Jobname         Username             Status

-----  -------         --------             ------

92  LUNACRATEMON    SYSTEM               Executing

94  CAL_ZEFF        SYSTEM               Executing

97  APPENDBUFFER1ANDCOPY

SYSTEM               Executing

98  APPENDBUFFER2ANDCOPY

SYSTEM               Executing

99  SFLIP_GAINMON   SYSTEM               Executing

100  DMANJ           BELL                 Executing

546  DEPMON_PERSEC_BUFFERED

SYSTEM               Executing

LUNA$

The KEES process statuses and turns on crates on the B and C highways; the LUNA process handles highway A. An attempt is made to set online each crate in the CTS table, about once a minute. As the tests are done, a web page of the results (online or offline) is built up. The resulting Web status displays are accessible from the NSTX webtools page, http://nstx.pppl.gov/nstx/Software/WebTools/index.html

The top portion of the KEES page is shown below.

http://mel.pppl.gov/www_root/serverdoc/nstx/camac/cratestatus.html

Clicking on the name of a crate brings up the current CTS definitions for that crate. (This is not truth, just what has been recorded. To see feedback about what is really still in the crate, use the IDL program SCANCRATE.PRO, running on the appropriate host.)

5.3 Telling EPICS about highway status: LINKMON

LINKMON (KEES) and LUNLINKMON run in batch queues KEES_EVENT and LUNA_NORM, respectively. They each send a CAMAC command (writing F=16, A=0) to one H367 module on each highway (n=1 for crates 60, 61 & 62) every 10 seconds. EPICS watches an output from these modules that is input to an EPICS CAMAC module to make sure the VMS highways are up. To restart, stop batch queue entry if necessary and use NSTX$:[NSTX.CAMAC]LINKMON_SUBMIT.COM or LUNALINKMON_SUBMIT.COM.

6.0 Data Management

Disk configuration

NSTX_DAILY.COM

NSTX_OLDTOSANSLOW.COM

7.0 NSTX analysis on VMS – batch queues

8.0 System Startup: what happens at boot

NSTX-related processing is started from SYS$MANAGER:<host>SYSRTM.COM where <host> is any one of EUROPA, KEES, or LUNA. The RTM command procedure is itself run from SYS$MANAGER:SYSTARTUP_VMS_BATCH.COM . This latter procedure contains all the secondary startup processing and is submitted to a batch queue at boot time, as its name describes, so that any problems in any of the contained procedures do not interfere with the actual boot process.

See Appendix XXX for <host>SYSRTM.COM startup files and their subprocedures.

Startup checks

9.0 Troubleshooting?

10. Miscellaneous

SHW command

Appendices

#### ANNOTATED SHOT CYCLE (need to update to include lark)

ACTION NODES

The TDI Help for BUILD_ACTION and BUILD_DISPATCH

BUILD_ACTION (DISPATCH,TASK,[ERRORLOGS],[COMPLETION],[PERFORMANCE])

MDS Operation.

Make an action descriptor.

Arguments

DISPATCH dispatch descriptor.

TASK    procedure, program, routine, or method descriptor.

ERRORLOGS a character scalar for error reports.

COMPLETION notification list.

PERFORMANCE unsigned long vector of statistics from execution.

Result..  Class-R descriptor.

Use BUILD_xxx for immediate structure building.

Use MAKE_xxx in FUNs for evaluated non-PUBLIC variables.

Example.  BUILD_ACTION(BUILD_DISPATCH("ident","phase","when",

"completion"),BUILD_ROUTINE(timeout,image,routine))

has only dispatch and task.

BUILD_DISPATCH (TYPE,IDENT,PHASE,WHEN,COMPLETION)

MDS Operation.

Make a dispatch descriptor.

Arguments

TYPE    byte unsigned scalar, evaluated:

TREE$K_SCHED_ASYNC      1

TREE$K_SCHED_SEQ           2

TREE$K_SCHED_COND       3

IDENT   character scalar.

PHASE   character scalar.

WHEN    character scalar?

COMPLETION character scalar?

Result..  Class-R descriptor.

Use BUILD_xxx for immediate structure building.

Use MAKE_xxx in FUNs for evaluated non-PUBLIC variables.

Example.  None, normally done by module add routine.

TDI functions to get the components of an action programmatically:

COMPLETION_OF

COMPLETION_MESSAGE_OF

DISPATCH_OF

IDENT_OF

METHOD_OF

PERFORMANCE_OF

PHASE_OF

TASK_OF

TIME_OUT_OF

WHEN_OF

a = strarr(6)

a[0] = devicename

a[1] = mdsvalue('ident_of('+devicename+':INIT_ACTION)')   ; which mds server?

a[2] = mdsvalue('when_of('+devicename+':INIT_ACTION)')  ; what priority

a[3] = mdsvalue('completion_of('+devicename+':INIT_ACTION)') ; name of event declared if successful

.

DISPATCHING

NSTX$:[NSTX.STARTUP]NSTX_NCP.COM

$ NODENAME = f$getsyi("nodename")

$!

$ define NSTX$STARTUP NSTX0:[NSTX.NSTX.STARTUP]

$ ncp := $ncp

$ oldpriv = f$setprv("SYSPRV,OPER")

$!

$!

$MEL:

$  if NODENAME.nes."MEL" then goto NOT_MEL

$!

$ ncp

clear obj DISPATCH_SERVER all

define obj DISPATCH_SERVER number 0 file NSTX$STARTUP:DISPATCH_SERVER.COM US

ER RONEY ACCOUNT RONEY

set obj DISPATCH_SERVER number 0 file NSTX$STARTUP:DISPATCH_SERVER.COM USER

RONEY ACCOUNT RONEY

clear obj GKA2_SERVER all

define obj GKA2_SERVER number 0 file NSTX$STARTUP:GKA2_SERVER.COM

set obj GKA2_SERVER number 0 file NSTX$STARTUP:GKA2_SERVER.COM

exit

$!

$NOT_MEL:

$  if NODENAME.nes."KEES" then goto NOT_KEES

$!

$  ncp

clear obj DISPATCH_SERVER all

define obj DISPATCH_SERVER number 0 file NSTX$STARTUP:DISPATCH_SERVER.COM US

ER RONEY ACCOUNT RONEY

set obj DISPATCH_SERVER number 0 file NSTX$STARTUP:DISPATCH_SERVER.COM USER

RONEY ACCOUNT RONEY

clear obj GKB2_SERVER all

define obj GKB2_SERVER number 0 file NSTX$STARTUP:GKB2_SERVER.COM

set obj GKB2_SERVER number 0 file NSTX$STARTUP:GKB2_SERVER.COM

clear obj GKC2_SERVER all

define obj GKC2_SERVER number 0 file NSTX$STARTUP:GKC2_SERVER.COM

set obj GKC2_SERVER number 0 file NSTX$STARTUP:GKC2_SERVER.COM

clear obj MON_SERVER all

define obj MON_SERVER number 0 file NSTX$STARTUP:MON_SERVER.COM

set obj MON_SERVER number 0 file NSTX$STARTUP:MON_SERVER.COM

exit

$!

$NOT_KEES:

$  if NODENAME.nes."LUNA" then exit

$!

$!     --- no DISPATCH_SERVER on LUNA (1/6/05) ----

$  ncp

clear obj GKA2_SERVER all

define obj GKA2_SERVER number 0 file NSTX$STARTUP:GKA2_SERVER.COM

set obj GKA2_SERVER number 0 file NSTX$STARTUP:GKA2_SERVER.COM

clear obj FIRETIP_SERVER all

define obj FIRETIP_SERVER number 0 file NSTX$STARTUP:FIRETIP_SERVER.COM

set obj FIRETIP_SERVER number 0 file NSTX$STARTUP:FIRETIP_SERVER.COM

exit

clear obj HIGHK_SERVER all

define obj HIGHK_SERVER number 0 file NSTX$STARTUP:HIGHK_SERVER.COM

set obj HIGHK_SERVER number 0 file NSTX$STARTUP:HIGHK_SERVER.COM

$!

$  EXIT

NSTX$:[NSTX.STARTUP]GKB2_SERVER.COM

$! GKB2_SERVER.COM

$! Note: server name should match highway name.

$! Edit:02-Aug-05 PR Change logfile from append to create new version

$! Edit:06-Dec-99 PR Raise base priority to 7; VGDS jobs at 5

$! Edit:06-Oct-99 PR Raise base priority to 5

$

$                       !================================================

$                       ! Set sysprv to allow creation of log file, etc.

$                       !================================================

$ oldpriv=f$setprv("sysprv")

$ set process/priv=ALTPRI

$ set proc/priority=7

$

$                       !================================================

$                       ! Re-define sys$output to something sensible

$                       !================================================

$ set protection=(sy:rwed,ow:rwed,gr:re,wo:re)/default

$ NAME = f$parse(f$environment("procedure"),,,"name")

$ YY = f$extract(2,2,f$cvtime(,,"year"))

$ MM = f$cvtime(,,"month")

$ DD = f$cvtime(,,"day")

$ LOGFILE := NSTX$:[logs.runnstx]'NAME'_'YY''MM''DD'.log

$ write sys$output f$fao("!/Log file is !AS!/",LOGFILE)

$

$ if f$search(LOGFILE).eqs.""

$ then

$    open/write/share=read log$output 'LOGFILE'

$ else

$    open/write/share=read log$output 'LOGFILE'

$!$    open/append/share=read log$output 'LOGFILE'

$ endif

$ define sys$output log$output

$

$                       !================================================

$                       ! Setup nstx;  run mdsserver ...

$                       !================================================

$ setup nstx

$

$ mdsserver :== $mdsserver

$

$ mdsserver gkb2_server

#### Normal status displays

Table of important files and procedures

COM$MGR:MDSPLUS_DATABASES.COM

MDS$PPPLROOT:[000000]

MDS$PPPLROOT:[DISPATCHER]

NSTX_CREATE_INIT.TCL

NSTX_STORE.TCL

NSTX_STOP_SPECIAL_SERVERS.COM

RECOVER.TCL

NSTX$:[COM]DISKS.COM

NSTX$:[DATA_MANAGEMENT]

NSTX_DAILY.COM

NSTX_OLDTOSANSLOW.COM

NSTX$:[NSTX]

NSTX$:[NSTX.SOURCE.RUNNSTX]

RUNNSTX.EXE & RUNNSTX.C

RUNNSTX_ENGINEERING.EXE & RUNNSTX_ENGINEERING.C

NSTX$:[NSTX.STARTUP]

NSTX_NCP.COM

DISPATCH_SERVER.COM

GKA2_SERVER.COM

GKB2_SERVER.COM

GKC2_SERVER.COM

NSTX$:[NSTX.CAMAC]

CRATEMON.COM

CRATEMONITOR.PRO

LUNACRATEMON.COM

LUNACRATEMONITOR.PRO

MELCRATEMON.COM

MELCRATEMONITOR.PRO

LINKMON.COM

LINKMONITOR.PRO

LUNALINKMON.COM

LUNALINKMONITOR.PRO

<no link monitor for MEL test highway>

NSTX$:[NSTX.ADMIN]

Procedures for setting/changing ACL on NSTX directories

NSTX$:[LOGS]

subdirs

ACQREMOTE  CAMAC  CHECKQUEUES  DB  EVENTS  MPTS  RF  RUNNSTX

SQLSERVER  TC_MON  VGDS

NSTX$:[LOGS.RUNNSTX]

COMPARE_INIT_TIMES.COM

COMPARE_STORE_TIMES.COM

RUNNSTX.LOG

RUNNSTX_yymmdd.log;*

DISPATCH_SERVER_yymmdd.log;*

GK{A|B|C}_SERVER_yymmdd.log;*

FIRETIP_SERVER_yymmdd.log;*

109

HIGHK_SERVER_yymmdd.log;*

USR:[PPPL_RES]

=   USR:[PPPL_RES]

=   USR:[PPPL_RES]

KEES$ mov?

Subdirectories of USR:[PPPL_RES]

DASUTIL  EVT  IDL  LOG  MDSIDL  MDSPLUS  MDSPLUS_LOCAL  QCS

SHOTCLOCK [clocksync,shotclock,stopclock]

BACKUP  COM  DASUTIL  DOC  EVT  IDL  LOG  MDSIDL

MDSPLUS  MDSPLUS_LOCAL  QCS  SHOTCLOCK  TEDI

GIBNEY$:[HANDBOOK]*.MEM

Directory GIBNEY$:[HANDBOOK]

ACCOUNTS.MEM;1				ARCHIVER_REQCOUNT.MEM;

CC_PREDEFINED_MACROS.MEM;1		CVS_READONLY.MEM;2

CVS_SETTING_UP.MEM;1			CVS_SOFTWARE_REVISIONS.MEM;1

CW_SHARED_LIBRARY.MEM;4		DECW_RESTART.MEM;1

DSN_MOUNTED_DISMOUNT.MEM;1		FTP.MEM;2

IDL_COLORS.MEM;1			IDL_INSTALL.MEM;1

IDL_OUTPUT.MEM;1			IDL_PROGRAMMING.MEM;5

IPCS_BUILD.MEM;1			IPCS_CONFIG.MEM;2

IPCS_INSTALL.MEM;1			IPCS_LIB.MEM;1

IPCS_NSTX_RESTART.MEM;7		IPCS_TROUBLESHOOTING.MEM;5

MAC.MEM;2 				MAIL_RETURN_ADDRESS.MEM;2

MDSPLUS_CREATE_TCL.MEM;2		MDSPLUS_MDS$MITROOT_REPLACE.MEM;1

MDSPLUS_MDS$MITROOT_UPDATE.MEM;1 	MDSPLUS_PRIVATE_DATABASES.MEM;1

MDSPLUS_UNIX.MEM;27			MDSPLUS_UNIX_INSTALL.MEM;10

MULTINET_ADD_SERVICE.MEM;2		MULTINET_DEBUG.MEM;1

MULTINET_SOCKET_OPTIONS.MEM;1		MULTINET_TRACEROUTE.MEM;1

NETWORK_TROUBLESHOOTING.MEM;1	NSTX_MOVE_MDSPLUS_FILES.MEM;1

PCS_NEW_CATEGORY.MEM;5		PCS_NEW_WAVEFORM.MEM;2

PCS_NOTES.MEM;6 			PCS_PSRTC_TESTING.MEM;3

PCS_RTEFIT_SKYVEC.MEM;2		PCS_TESTSHOT.MEM;3

PCS_VERSIONS.MEM;2 			PDF.MEM;3

PPCC_ENGINEERING_TESTSHOT.MEM;1	PSRTC_PCS_DISK_SPACE.MEM;2

QCS_ECS.MEM;1				SET_WATCH.MEM;2

SKYCORE_TRACEBACK.MEM;1		TDI_NOTES.MEM;3

UCX.MEM;1				UNIX.MEM;26

UNIX_ADMIN.MEM;2			UNIX_COMPILE_LINK.MEM;2

UNIX_FILE_RESTORE.MEM;2			UNIX_OS_SPECIFIC.MEM;4

UNIX_VARIABLES.MEM;1			VMS_BATCH_JOBS_NOT_CREATED.MEM;1

VMS_BATCH_QUEUE_TRANSFER.MEM;4	VMS_DELETE_BATCH_QUEUE.MEM;5

VMS_EPICS.MEM;3 			VMS_EUROPA_ETHERNET_011206.MEM;2

VMS_MESSAGES.MEM;3			VMS_PAGE_AND_SWAP_FILES.MEM;1

VMS_PRINTING.MEM;1			VMS_SYSLOST_RECOVER.MEM;1

VMS_USEFUL.MEM;1			XWINDOWS.MEM;1

XX.MEM;5

MDSPLUS_DATABASES.COM

$! MDSPLUS_DATABASES.COM --

$!

$! *NOTE* This procedure creates new directories if required

$!

$! Create MDSplus logical name tables for each experimental machine.

$! Define MDSplus databases for each machine.

$!

$! To add a new MACHINE "mmm" :

$!    o Add call to MDSplus_disks at top of this file.

$!    o Create new subroutine mmm_DATABASES at bottom of file:

$!       -- one call to DEFINE_TREE for each treename

$!

$! For existing machine "mmm",

$!   To add another TREE definition:

$!    o Add call to DEFINE_TREE inside existing subroutine mmm_DATABASES,

$!      at bottom of this file.

$!      ==> all required directories will be created automatically.

$!

$! Support for multiple "mmm$NEW$" disks:  the "new"Idx parameter: 28-Feb-02

$!   If multiple "NEWDISK"s are specified in "call MDSplus_disks", then

$!     separate definitions will be made for each disk "n":  mmm$NEWn$.

$!   Inside mmm_DATABASES subroutine, the optional NewIdx parameter

$!    to DEFINE_TREE (called for each tree) specifies which "new" disk

$!    which is the primary target for that tree's new data.

$!

$! History:

$!  28-Aug-2006  PR   Adding NSTX_ARC110 as last ARC disk - FATA, "old"

$!                    Now defining NSTX$OLD$ & NSTX$OLD$DISK as NSTX_ARC110

$!  07-Aug-2006  PR   Adding NSTX_ARC109 as last ARC disk - FATA, "old"

$!                    Defining NSTX$OLD$ & NSTX$OLD$DISK as NSTX_ARC109

$!                    Defining NSTX$RAWOLD$ & NSTX$RAWOLD$DISK as NSTX_ARC109  too

$!  07-Jun-2006  PR   Adding NSTX_ARC108 as new ARC disk

$!  31-May-2006  PR   Adding NSTX_ARC104 as new RAW disk

$!  29-Sep-2005  PR   Removing TR and TRW* trees for NSTX; Tina says not used

$!  15-Sep-2005  PR   Temporarily drop NSTX3 so TGC's job clears .cine files

$!  01-Sep-2005  PR   Adding NSTX_ARC107 as new NSTX_NORMARC DISK

$!  30-Aug-2005  PR   Change NSTX_MODELS to NSTX0 from DISK$OSVMS

$!  20-Jul-2005  PR   Add NSTX_ARC105 to NSTX$ARC$ and make it

$!                    and make it the new NSTX_NORMARC_DISK

$!  07-Jul-2005  PR   Making NSTX_ARCRAW103 the new NSTX_RAWARC_DISK

$!  02-Jun-2005  PR   Adding new ARC disk, NSTX_ARC104 ($1$DGA4) as

$!                    NSTX_NORMARC and at front of NSTX$ARC$ list

$!  19-May-2005  PR   Adding new ARCRAW disk, NSTX_ARCRAW103 ($1$DGA3)

$!  26-Apr-2005  PR   Changing NBI category to RAW, using NSTX2

$!  20-Apr-2005  PR   Dropping GASPUFF_RAW, adding PSPEC_RAW

$!  14-Apr-2005  PR   Adding GASPUFFIMGNG & GASPUFF_RAW trees

$!  28-Mar-2005  PR   Adding TF_JOINTS tree to contain predicted voltages

$!  23-Mar-2005  PR   Fixing syntax bug wrt FDEV use (no extra :)

$!  14-Mar-2005  PR   Adding NSTX3,NSTX4 to NSTX NEW and RAW lists

$!  10-Mar-2005  PR   Adding four new logical names for RAW/NORM

$!                    data archiving: NSTX$NORMNEW$,NSTX$NORMARC$,

$!                    NSTX$RAWNEW$, NSTX$RAWARC$ -- only if machine NSTX

$!  18-Jan-2005  PR   Adding RAW trees ACTIVESP_RAW & MICROWAV_RAW

$!  24-Feb-2005  PR   Adding RAW trees EDGE_RAW & MOPS_RAW

$!  13-Jan-2005  PR   Removing NSTX2_DATA,NSTX6_DATA&NSTX7_DATA fr NSTX$ARC$

$!  04-Jan-2005  PR   Change NSTX$NEW$ to from KEES0 to NSTX1

$!  16-Dec-2004  PR   Change NSTX$NEW$ to use only KEES0 so KEES1&2

$!                       can become NSTX0&1

$!  09-Dec-2004  PR   Changes NSTX$MODELS$ to DISK$OSVMSKEES from KEES2

$!  09-Dec-2004  PR/TRG Modif. NSTX$NEW$* to use KEES0; made all diag use #1

$!  22-Nov-2004  PR   Added DUMMY_RAW tree for tree-split testing

$!  17-Nov-2004  PR   Changing NSTX$MODELS$ back to KEES2 (SAN testing)

$!  17-Nov-2004  PR   Change NSTX$MODELS$ from KEES2 to KEES_OS

$!  19-Aug-2004  PR   Removing DCON and DCON01; moved to lark

$!  09-Jun-2004  PR   Putting NSTX7_DATA at beginning of NSTX$ARC list

$!  04-Jun-2004  PR   Adding NSTX7_DATA to NSTX$ARC list. (at end)

$!  23-Apr-2004  TRG  Moved NSTX6_DATA to head of NSTX$ARC list.  Note

$!                     the peculiar ordering of the searchlist: oldest

$!                     files are on NSTX5_DATA, so it's last in list of

$!                     "used" disks.  (empty disks are at end of list,

$!                     following the "used" disks)

$!  15-Mar-2004  PR   Adding FUELING tree

$!  05-Feb-2004  PR   Putting NSTX2_DATA first in NSTX$ARC$ list

$!  21-May-2003  PR   Change NSTX$MODELS$ to use KEES2 instead of KEES0

$!  04-Mar-2002  TRG  Add optional NEWIDX parameter to DEFINE_TREE subrtn.

$!                    See description above.

$!  27-Jun-2001  TRG  Add 2nd NSTX$ARC$ disk.

$!                    Change mmm$ARC$ definition to not-concealed.  This

$!                     will cause new .TREE files to be in original dir.

$!  23-May-2001  TRG  Add CHI tree, for Brian Nelson.

$!  27-Mar-2001  TRG  Replace "NSTXTRANSP" by "TR".  Easier to type.

$!  29-Jan-2001  TRG  Add NSTXTRANSP and NSTXTRANSPnn$DATA, like EFIT.

$!                    Note: "NSTXTRANSP" defs replace old "MDSTRANSP".

$!  25-Jan-2001  TRG  Add special TRANSP-related names for Tina & D.Ernst

$!  11-Feb-2000  TRG  Replace TEST machine:  it is now an exact duplicate

$!                     of NSTX, except that NSTX$DATA becomes TEST$DATA.

$!  16-Dec-1999  TRG  Add NSTX$DERIVED definitions.

$!                    Change mmm$NEW$ definition to not-concealed.  This

$!                     will cause new .TREE files to be in original dir.

$!  19-Aug-1999  TRG  Define mmm$NEW$ days-of-week in reverse order, so

$!                     that more recent directories are at top of list.

$!  17-Jun-1999  TRG  Create separate mmm$MODELS$ rooted directory, similar

$!                     to mmm$NEW$ and mmm$ARC$.

$!  28-Apr-1999  PR   Add MDSTRANSP to NSTX logical name table

$!  26-Jan-1999  TRG  Add SYSMAN feature for served disks;  add MINIMAL opt.

$!  19-Jan-1999  TRG  Top level dir is mmm_NEW, not MDSPLUS_NEW.mmm (like-

$!                     wise for mmm_ARC, not MDSPLUS_ARC.mmm).

$!                    Add day-of-week specification to mmm$NEW$ searchlist.

$!  24-Sep-1998  TRG  Create name table LNM$MDS_mmm

$!  20-Jul-1998  TRG  Change order of ARC directory search list.

$!  24-Jun-1998  TRG  Create.

$!

$!====================================================================

$

$ write sys$output f$fao("!_!AS  on node !AS",-

f$environment("procedure"),f$getsyi("nodename"))

$

$ MINIMAL = P1.nes.""		!TRUE if P1 exists

$ INCLUDES_SERVED_DISK == 0	!set TRUE if disk is served by local node

$

$ oldpriv = f$setprv("sysnam,sysprv")

$

$!$ NSTX_RAWNEW_LIST  = "NSTX2,NSTX3,NSTX4"

$ NSTX_RAWNEW_LIST  = "NSTX2,NSTX4"

$ NSTX_NORMNEW_LIST = "NSTX1"

$ NSTX_RAWARC_DISK  = "NSTX_ARC104"    ! should change name to ARCRAW104

$ NSTX_NORMARC_DISK = "NSTX_ARC108"

$ NSTX_RAWOLD_DISK  = "NSTX_ARC109"    ! should change name to ARCRAW109

$ define/nolog/system                 NSTX$RAWOLD$DISK NSTX_ARC109

$ NSTX_OLD_DISK = "NSTX_ARC110"

$ define/nolog/system                 NSTX$OLD$DISK NSTX_ARC110

$!

$!                     mmm    models      new            arc

$!                   Machine   disk      disks          disks

$!       -------     -------  ------     -----      --------------

$ call MDSplus_disks  TRANSP  VMEC1      VMEC1      VMEC1,VMEC2

$!$ call MDSplus_disks  NSTX  NSTX0  NSTX1,NSTX2,NSTX3,NSTX4  NSTX_ARC107,NSTX_ARC105,NSTX_ARC104,NSTX_ARC106,NSTX_ARCRAW103,NSTX_ARC101,NSTX_ARCRAW102

$ call MDSplus_disks  NSTX  NSTX0  NSTX1,NSTX2,NSTX4  NSTX_ARC108,NSTX_ARC107,NSTX_ARC105,NSTX_ARC104,NSTX_ARC106,NSTX_ARCRAW103,NSTX_ARC101,NSTX_ARCRAW102,NSTX_ARC109,NSTX_ARC110

$ call MDSplus_disks  TFTR    VMEC1      VMEC1      TRANSP$RD,VMEC1

$ call MDSplus_disks  TEST    VMEC1    VMEC1,KEES2  VMEC1

$

$ set process/priv=('oldpriv')

$

$ if .not.MINIMAL .and. INCLUDES_SERVED_DISK

$ then

$    oldpriv = f$setprv("oper,setprv")

$    set verify

$    sysman := $sysman

$    sysman

set environment/cluster

set profile/priv=(sysprv,sysnam)

do @com$mgr:mdsplus_databases.com MINIMAL

exit

$    set process/priv=('oldpriv')

$    set noverify

$ endif

$

$ exit

$

$

$!======================================================================

$!======================================================================

$

$MAKE_SEARCHLIST_NEW:  subroutine

$ NEWDISK = P1

$

$ DEVCNT = 0		!number of valid devices in SEARCHLIST

$ IDX = 0

$ SEARCHLIST = ""

$SEARCHLIST_NEW_LOOP:

$    DEV = f$element(IDX,",",NEWDISK)

$    if DEV.eqs."," then goto SEARCHLIST_NEW_END

$    IDX = IDX+1

$

$			! Check for non-existent device or host not avail

$			!-------------------------------------------------

$    if .not.f$getdvi(DEV,"exists")

$    then

$        goto SEARCHLIST_NEW_LOOP

$    endif

$

$    if .not.f$getdvi(DEV,"host_avail") .and. -

.not.f$getdvi(DEV,"alt_host_avail")

$    then

$        write sys$output f$fao("==> !AS : host !AS not available", -

DEV,f$getdvi(DEV,"host_name"))

$        goto SEARCHLIST_NEW_LOOP

$    endif

$

$    DEVCNT = DEVCNT+1

$    if f$getdvi(DEV,"served_device") then INCLUDES_SERVED_DISK==1

$

$    FULLDEVNAM = f$getdvi(DEV,"FULLDEVNAM")

$    TEMPLIST = "''FULLDEVNAM'[''MMM'_NEW.]"

$ call CHECK_DIRECTORY 'FULLDEVNAM' ['MMM'_NEW]

$    IDAY = 0

$WEEKDAY_LOOP:

$        if IDAY.ge.0 then TEMPLIST = TEMPLIST + ","

$        WEEKDAY = f$extract(0,3,f$cvtime("-''IDAY'-",,"Weekday"))

$        TEMPLIST = TEMPLIST + "''FULLDEVNAM'[''MMM'_NEW.''WEEKDAY'.]"

$        call CHECK_DIRECTORY 'FULLDEVNAM' ['MMM'_NEW.'WEEKDAY']

$        IDAY = IDAY+1

$        if IDAY.lt.7 then goto WEEKDAY_LOOP

$

$    if DEVCNT .gt. 1 then SEARCHLIST = SEARCHLIST + ","

$    SEARCHLIST = SEARCHLIST + TEMPLIST

$

$    goto SEARCHLIST_NEW_LOOP

$SEARCHLIST_NEW_END:

$

$ SEARCHLIST_NEW == SEARCHLIST

$ exit

$ endsubroutine

$

$

$!======================================================================

$!======================================================================

$!

$! MDSplus_disks:

$!  P1 = machine name

$!  P2 = disk for models

$!  P3 = disk for new data

$!  P4 = disk(s) for archived data.  Note that archived data may

$!        be modified, in which case it will be re-archived.

$!        For multiple disks (searchlist), separate names with a comma.

$

$MDSplus_disks:  subroutine

$ MMM = P1		!Machine name

$ MODELSDISK = P2		!Disk(s) for models

$ NEWDISK = P3		!Disk(s) for new data

$ ARCDISK = P4		!Disk(s) for archived data

$

$!===================

$! mmm$MODELS$ is the device name (rooted directory, per machine) for

$!  the MDSPLUS model trees.

$!  Note that only one disk can be specified -- not a problem, I imagine.

$

$ FULLDEVNAM = f$getdvi(MODELSDISK,"FULLDEVNAM")

$ SEARCHLIST = "''FULLDEVNAM'[''MMM'_MODELS.]"

$ call CHECK_DIRECTORY 'FULLDEVNAM'  ['MMM'_MODELS]

$ define/nolog/system/translation=(c)  'MMM'$MODELS$  'SEARCHLIST'

$

$!===================

$! mmm$NEW$ is the device name (rooted directory, per machine) for new

$!  data

$

$

$ NUMNEW = 0			!Count number of disks in NEWDISK

$NUMNEWLOOP:

$    NUMNEW = NUMNEW+1

$    if f$element(NUMNEW,",",NEWDISK) .nes. "," then goto NUMNEWLOOP

$

$ INEW = 0

$SEARCHLIST_NEW_LOOP:

$    call MAKE_SEARCHLIST_NEW  'NEWDISK'

$    INEW = INEW+1

$    if INEW .eq. 1 then -

define/nolog/system 'MMM'$NEW$  'SEARCHLIST_NEW'

$

$    if NUMNEW .ge. 1

$    then

$        define/nolog/system 'MMM'$NEW'INEW'$  'SEARCHLIST_NEW'

$        K = f$locate(",",NEWDISK)

$        DISK1 = f$extract(0,K,NEWDISK)

$        NEWDISK = f$extract(K+1,999,NEWDISK) + ",''DISK1'"

$   endif

$    delete/symbol/global SEARCHLIST_NEW

$   if INEW .lt. NUMNEW then goto SEARCHLIST_NEW_LOOP

$

$  if MMM .nes. "NSTX" then goto MAKE_ARCSEARCH

$!

$!====================

$! Adding logic for NSTX$NEWNORM$ and NSTX$NEWRAW$ for later use by

$! NSTX$:[DATA_MANAGEMENT]NSTX_DAILY.COM in sending raw &  normal trees to

$! separate archiving disks  - PR 3/10/05

$!===================

$!

$!$ write sys$output "Case is NSTX, define special searchlists for NEW"

$

$ call MAKE_SEARCHLIST_NEW 'NSTX_RAWNEW_LIST'

$  define/nolog/system NSTX$RAWNEW$  'SEARCHLIST_NEW'

$ delete/symbol/global SEARCHLIST_NEW

$

$ call MAKE_SEARCHLIST_NEW 'NSTX_NORMNEW_LIST'

$  define/nolog/system NSTX$NORMNEW$  'SEARCHLIST_NEW'

$ delete/symbol/global SEARCHLIST_NEW

$

$! =============

$

$

$!

$MAKE_ARCSEARCH:

$!===================

$! mmm$ARC$ is the rooted directory for files which are no longer "new".

$! Data files are moved from mmm$NEW$:[treename] to mmm$ARC$:[treename]

$!  for eventual archival backup (maybe to Archiver, maybe not).

$! After a file is archived, it is moved to mmm$ARC$:[treename.tt.hh],

$!  where tt=ishot/10000 and hh=((ishot/100)%100).

$!  For example, MAGNETICS_123456 would go to mmm$ARC$:[MAGNETICS.12.34].

$! If an archived file is modified, it is moved back to mmm$ARC$:[treename]

$!  for eventual re-archiving.

$

$ IDX = 0

$ SEARCHLIST = ""

$SEARCHLIST_ARC:

$    DEV = f$element(IDX,",",ARCDISK)

$    if DEV.eqs."," then goto SEARCHLIST_ARC_END

$

$			! Check for non-existent device or host not avail

$			!-------------------------------------------------

$    if .not.f$getdvi(DEV,"exists")

$    then

$        IDX = IDX+1

$        goto SEARCHLIST_ARC

$    endif

$

$    if .not.f$getdvi(DEV,"host_avail") .and. -

.not.f$getdvi(DEV,"alt_host_avail")

$    then

$        write sys$output f$fao("==> !AS : host !AS not available", -

DEV,f$getdvi(DEV,"host_name"))

$        IDX = IDX+1

$        goto SEARCHLIST_ARC

$    endif

$

$    if f$getdvi(DEV,"served_device") then INCLUDES_SERVED_DISK==1

$

$    if f$length(SEARCHLIST).gt.0 then SEARCHLIST = SEARCHLIST + ","

$    FULLDEVNAM = f$getdvi(DEV,"FULLDEVNAM")

$    SEARCHLIST = SEARCHLIST + "''FULLDEVNAM'[''MMM'_ARC.]"

$    call CHECK_DIRECTORY 'FULLDEVNAM' ['MMM'_ARC]

$    IDX = IDX+1

$    goto SEARCHLIST_ARC

$SEARCHLIST_ARC_END:

$ define/nolog/system/translation=(c) 'MMM'$ARC$  'SEARCHLIST'

$

$  if MMM .nes. "NSTX" then goto MAKE_LNM

$!

$!====================

$! Adding logic for NSTX$NORMARC$ and NSTX$RAWARC$ for later use by

$! NSTX$:[DATA_MANAGEMENT]NSTX_DAILY.COM in sending raw &  normal trees to

$! separate archiving disks  - PR 3/10/05

$! Adding logic for NSTX$OLD$ and NSTX$RAWOLD$ for later use by

$! NSTX$:[DATA_MANAGEMENT]NSTX_OLDTOSANSLOW.COM in sending raw &  normal trees to

$! separate slow SAN FATA disks  - PR 8/7/06

$!===================

$!

$!$ write sys$output "Case is NSTX, define special searchlists for ARC"

$ FDEV = f$getdvi(NSTX_NORMARC_DISK,"FULLDEVNAM")

$ define/nolog/system/translation=(c) NSTX$NORMARC$ 'FDEV'[nstx_arc.]

$ FDEV = f$getdvi(NSTX_RAWARC_DISK,"FULLDEVNAM")

$ define/nolog/system/translation=(c) NSTX$RAWARC$ 'FDEV'[nstx_arc.]

$ FDEV = f$getdvi(NSTX_OLD_DISK,"FULLDEVNAM")

$ define/nolog/system/translation=(c) NSTX$OLD$ 'FDEV'[nstx_arc.]

$ FDEV = f$getdvi(NSTX_RAWOLD_DISK,"FULLDEVNAM")

$ define/nolog/system/translation=(c) NSTX$RAWOLD$ 'FDEV'[nstx_arc.]

$

$!===============================

$!

$

$ MAKE_LNM:

$		!------------------------------------------------------

$		!Create logical name table for Machine MMM.

$		!Define MDS databases in the new table.

$		!------------------------------------------------------

$ TABLE = "LNM$MDS_''MMM'"

$ create/name_table/nolog/prot=(w:r)/parent=lnm$system_directory 'TABLE'

$

$ call 'MMM'_DATABASES		!create treename$DATA's for machine MMM

$

$! treename$DATA is the searchlist for all MDSplus files for "treename".

$! It will be define for each treename, using mmm$NEW$ and mmm$ARC$ as

$!  the device names.  For example:

$!	$ define MAGNETICS$DATA  mmm$NEW$:[MAGNETICS],-

$!			mmm$MODELS$:[MAGNETICS],-

$!			mmm$ARC$:[MAGNETICS],-

$!			mmm$ARC$:[MAGNETICS.12.34]

$

$ exit

$ endsubroutine

$

$

$!======================================================================

$!======================================================================

$

$CHECK_DIRECTORY:  subroutine

$ DEV = P1

$ DIRNAME = P2

$ DEVDIR = DEV + DIRNAME

$ if f$parse(DEVDIR).eqs."" then -

create/directory/owner=mdsplus/prot=(w:r) 'DEVDIR' /log

$ exit

$ endsubroutine

$

$

$!======================================================================

$!======================================================================

$

$DEFINE_TREE:  subroutine

$ MMM = P1			!Machine name

$ TREE = P2			!Tree name

$ OWNER = P3			!Owner

$ NEWIDX = P4			!<optional> specify "n" in mmm$NEWn$

$

$ TABLE = "LNM$MDS_''MMM'"

$

$ NEW_DEV := 'MMM'$NEW'NEWIDX'$

$ if .not.f$getdvi(NEW_DEV,"exists")

$ then

$    write sys$output f$fao( -

"!/!_!10** *ERROR* Device !AS does not exist !10**!/", -

NEW_DEV)

$    exit 2

$ endif

$ MAX = f$trnlnm(NEW_DEV,"lnm$system",,,,"MAX_INDEX")

$ IDX = 0

$NEW_LOOP:

$    DEV = f$trnlnm(NEW_DEV,"lnm$system",IDX)

$    DEVDIR := 'DEV'['TREE']

$    if f$parse(DEVDIR).eqs."" then -

create/dir/owner='OWNER'/prot=(w:r) 'DEVDIR'/log

$    IDX = IDX+1

$    if IDX.le.MAX then goto NEW_LOOP

$

$ ARC_DEV := 'MMM'$ARC$

$ MAX = f$trnlnm(ARC_DEV,"lnm$system",,,,"MAX_INDEX")

$ IDX = 0

$ARC_LOOP:

$    DEV = f$trnlnm(ARC_DEV,"lnm$system",IDX)

$    DEVDIR := 'DEV'['TREE']

$    if f$parse(DEVDIR).eqs."" then -

create/dir/owner='OWNER'/prot=(w:r) 'DEVDIR'/log

$    DEVDIR := 'DEV'['TREE'.MODIFIED]

$    if f$parse(DEVDIR).eqs."" then -

create/dir/owner='OWNER'/prot=(w:r) 'DEVDIR'/log

$

$    DEVDIR := 'DEV'[trash]	!Ensure that [TRASH] dir exists on mmm$ARC$

$    if f$parse(DEVDIR).eqs."" then -

create/dir/owner='OWNER'/prot=(w:r) 'DEVDIR'/log

$    IDX = IDX+1

$    if IDX.le.MAX then goto ARC_LOOP

$

$ MODELS_DEV := 'MMM'$MODELS$

$ MAX = f$trnlnm(MODELS_DEV,"lnm$system",,,,"MAX_INDEX")

$ IDX = 0

$MODELS_LOOP:

$    DEV = f$trnlnm(MODELS_DEV,"lnm$system",IDX)

$    DEVDIR := 'DEV'['TREE']

$    if f$parse(DEVDIR).eqs."" then -

create/dir/owner='OWNER'/prot=(w:r) 'DEVDIR'/log

$    IDX = IDX+1

$    if IDX.le.MAX then goto MODELS_LOOP

$

$ define/nolog/table='TABLE' 'TREE'$DATA  'NEW_DEV':['TREE'],-

'MODELS_DEV':['TREE'],-

'ARC_DEV':['TREE'],-

'ARC_DEV':['TREE'.MODIFIED]

$

$ exit

$ endsubroutine

$

$

$!======================================================================

$!======================================================================

$

$NSTX_DATABASES:  subroutine

$!                  mmm  Treename<TAB>	-owner-    "new"Idx

$ call DEFINE_TREE  NSTX  NSTX		NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  ACTIVESPEC	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  ACTIVESP_RAW	NSTX_OWNER    2

$ call DEFINE_TREE  NSTX  CAMERAS	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  CHI		NSTX_OWNER    1

$!$ call DEFINE_TREE  NSTX  DCON		NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  DERIVED	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  DUMMYDATA	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  DUMMY_RAW	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  ED		NSTX_OWNER    1	!Electron Density

$ call DEFINE_TREE  NSTX  EDGE		NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  EDGE_RAW	NSTX_OWNER    2

$ call DEFINE_TREE  NSTX  EFIT		NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  EFITRT	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  FUELING	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  ENGINEERING	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  GASPUFFIMGNG	NSTX_OWNER    2

$ call DEFINE_TREE  NSTX  MICROWAVE	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  MICROWAV_RAW	NSTX_OWNER    2

$ call DEFINE_TREE  NSTX  NBI		NSTX_OWNER    2

$ call DEFINE_TREE  NSTX  NSTX_TREND	NSTX_OWNER    1	!Trending database

$ call DEFINE_TREE  NSTX  OPERATIONS	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  OPS_RAW	NSTX_OWNER    2

$ call DEFINE_TREE  NSTX  PARTICLES	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  PASSIVESPEC	NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  PSPEC_RAW	NSTX_OWNER    2

$ call DEFINE_TREE  NSTX  PEST		NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  RF		NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  TF_JOINTS		NSTX_OWNER    1

$!$ call DEFINE_TREE  NSTX  TR		NSTX_OWNER    1	!Transp

$!$ call DEFINE_TREE  NSTX  TRW		NSTX_OWNER    1	!Transp

$ call DEFINE_TREE  NSTX  WF		NSTX_OWNER    1

$ call DEFINE_TREE  NSTX  ENG_TREND	NSTX_OWNER    1

$

$			!Special MPTSCALIB database, same as ACTIVESPEC

$			!------------------------------------------------

$ define/nolog/table=LNM$MDS_NSTX  MPTSCALIB$DATA  ACTIVESPEC$DATA

$

$			!Special TRANSP-related names ...

$			!------------------------------------------------

$ define/nolog/table=LNM$MDS_NSTX  TFTR_DATA   TR1:[TRANSP.TFTR.DATA]

$ define/nolog/table=LNM$MDS_NSTX  RUNDATA     PPL$TRAN1,TFTR$R2

$ define/nolog/table=LNM$MDS_NSTX  TR_DISK     TFTR$AW3:[TR.],TFTR$AR:[TR.]

$

$!$			!Define TRnn$DATA logicals, nn=1 to 20 ...

$!$ I = 0		!-------------------------------------------------

$!$TRLOOP:

$!$    I = I+1

$!$    LOGNAME = f$fao("TR!2ZL$DATA",I)

$!$    define/nolog/table=LNM$MDS_NSTX  'LOGNAME'  TR$DATA

$!$    if I.lt.20 then goto TRLOOP

$

$!$			!Define TRW_username$DATA logicals for "work"

$!$			!-----------------------------------------------

$!$ define/nolog/table=LNM$MDS_NSTX  TRW_AROSENBE$DATA	TRW$DATA

$!$ define/nolog/table=LNM$MDS_NSTX  TRW_BUDNY$DATA	TRW$DATA

$!$ define/nolog/table=LNM$MDS_NSTX  TRW_KAYE$DATA	TRW$DATA

$!$ define/nolog/table=LNM$MDS_NSTX  TRW_LEBLANC$DATA	TRW$DATA

$!$ define/nolog/table=LNM$MDS_NSTX  TRW_LUDESCHE$DATA	TRW$DATA

$!$ define/nolog/table=LNM$MDS_NSTX  TRW_TRANSP$DATA	TRW$DATA

$

$			!Define EFITnn$DATA logical names, nn=1 to 20 ...

$ I = 0			!-----------------------------------------------

$EFITLOOP:

$    I = I+1

$    LOGNAME = f$fao("EFIT!2ZL$DATA",I)

$    define/nolog/table=LNM$MDS_NSTX  'LOGNAME'  EFIT$DATA

$    if I.lt.20 then goto EFITLOOP

$

$!$			!Define DCONnn$DATA logical names, nn=1 to 20 ...

$!$ I = 0		!-----------------------------------------------

$!$DCONLOOP:

$!$    I = I+1

$!$    LOGNAME = f$fao("DCON!2ZL$DATA",I)

$!$    define/nolog/table=LNM$MDS_NSTX  'LOGNAME'  DCON$DATA

$!$    if I.lt.20 then goto DCONLOOP

$

$ exit

$ endsubroutine

$

$

$!======================================================================

$!======================================================================

$

$TEST_DATABASES:  subroutine

$!                  mmm  Treename<TAB>	-owner-    "new"Idx

$ call DEFINE_TREE  TEST  TEST		TEST_OWNER    1

$ call DEFINE_TREE  TEST  ACTIVESPEC	TEST_OWNER    1

$ call DEFINE_TREE  TEST  CAMERAS	TEST_OWNER    1

$ call DEFINE_TREE  TEST  DERIVED	TEST_OWNER    1

$ call DEFINE_TREE  TEST  EDGE		TEST_OWNER    1

$ call DEFINE_TREE  TEST  ED		TEST_OWNER    1

$ call DEFINE_TREE  TEST  EFIT		TEST_OWNER    1

$ call DEFINE_TREE  TEST  ENGINEERING	TEST_OWNER    1

$ call DEFINE_TREE  TEST  MICROWAVE	TEST_OWNER    1

$ call DEFINE_TREE  TEST  NBI		TEST_OWNER    1

$ call DEFINE_TREE  TEST  TEST_TREND	TEST_OWNER    1	!Trending database

$ call DEFINE_TREE  TEST  OPERATIONS	TEST_OWNER    2

$ call DEFINE_TREE  TEST  PARTICLES	TEST_OWNER    1

$ call DEFINE_TREE  TEST  PASSIVESPEC	TEST_OWNER    1

$ call DEFINE_TREE  TEST  PEST		TEST_OWNER    1

$ call DEFINE_TREE  TEST  RF		TEST_OWNER    1

$ call DEFINE_TREE  TEST  TESTTRANSP	TEST_OWNER    1

$ call DEFINE_TREE  TEST  WF		TEST_OWNER    1

$ call DEFINE_TREE  TEST  DUMMYDATA	TEST_OWNER    1

$

$			!Special TRANSP-related names ...

$			!------------------------------------------------

$ define/nolog/table=LNM$MDS_NSTX  TFTR_DATA   TR1:[TRANSP.TFTR.DATA]

$ define/nolog/table=LNM$MDS_TEST  RUNDATA     PPL$TRAN1,TFTR$R2

$ define/nolog/table=LNM$MDS_TEST  TR_DISK     TFTR$AW3:[TR.],TFTR$AR:[TR.]

$

$			!Define TESTTRANSPnn$DATA logicals, nn=1 to 20 ...

$ I = 0			!--------------------------------------------

$TESTTRANSPLOOP:

$    I = I+1

$    LOGNAME = f$fao("TESTTRANSP!2ZL$DATA",I)

$    define/nolog/table=LNM$MDS_TEST  'LOGNAME'  TESTTRANSP$DATA

$    if I.lt.20 then goto TESTTRANSPLOOP

$

$			!Define EFITnn$DATA logical names, nn=1 to 20 ...

$ I = 0			!--------------------------------------------

$EFITLOOP:

$    I = I+1

$    LOGNAME = f$fao("EFIT!2ZL$DATA",I)

$    define/nolog/table=LNM$MDS_TEST  'LOGNAME'  EFIT$DATA

$    if I.lt.20 then goto EFITLOOP

$

$			!Define DCONnn$DATA logical names, nn=1 to 20 ...

$ I = 0		!-------------------------------------------

$DCONLOOP:

$    I = I+1

$    LOGNAME = f$fao("DCON!2ZL$DATA",I)

$    define/nolog/table=LNM$MDS_TEST  'LOGNAME'  DCON$DATA

$    if I.lt.20 then goto DCONLOOP

$

$ exit

$ endsubroutine

$

$

$!===============================================================

$!===============================================================

$

$TRANSP_DATABASES:  subroutine

$!                  mmm  Treename<TAB>	-owner-    "new"Idx

$ call DEFINE_TREE TRANSP  TRANSP	TRANSPDATA

$ exit

$ endsubroutine

$

$

$!===============================================================

$!===============================================================

$

$TFTR_DATABASES:  subroutine

$!                  mmm  Treename<TAB>	-owner-    "new"Idx

$ call DEFINE_TREE  TFTR  TFTR		TFTR_RESULTS_OWNER

$ call DEFINE_TREE  TFTR  MAGNETICS	TFTR_RESULTS_OWNER

$ exit

$ endsubroutine

$ endsubroutine

APPENDIX ### Device Support

EUROPA$ librar/list/names mds$devices.olb

Directory of ALPHA SHAREABLE IMAGE SYMBOL TABLE library MDS$PPPLROOT:[SYSLIB]MDS

$DEVICES.OLB;10 on 25-AUG-2006 10:58:36

Creation date:  28-JUL-2000 14:30:44      Creator:  Librarian A09-19

Revision date:   3-NOV-2005 16:48:34      Library format:   3.0

Number of modules:      4                 Max. key length:  39

Other entries:        449                 Preallocated index blocks:     58

Recoverable deleted blocks:      1        Total index blocks used:       60

Max. Number history records:      20      Library history records:       20

Module HYBRID$DEVICES

HYB_MATRIX$ADD

HYB_MATRIX$DW_SETUP

HYB_MATRIX$INIT

HYB_MATRIX$INIT_CYCLIC

HYB_MATRIX$LOAD_MATRIX

HYB_MATRIX$PART_NAME

HYB_MATRIX$STORE

HYB_MATRIX$WAIT

HYB_WAVEGEN$ADD

HYB_WAVEGEN$ARM

HYB_WAVEGEN$INIT

HYB_WAVEGEN$PART_NAME

HYB_WAVEGEN$TRIGGER

HYB_WAVEGEN$WAIT

HYB_WAVEGEN64$ADD

HYB_WAVEGEN64$ARM

HYB_WAVEGEN64$INIT

HYB_WAVEGEN64$PART_NAME

HYB_WAVEGEN64$TRIGGER

HYB_WAVEGEN64$WAIT

Module MIT$DEVICES

(reformatted to save space)

A12$ADD			A12$INIT		A12$PART_NAME

A12$STOP			A12$STORE		A12$TRIGGER

A14$ADD			A14$INIT		A14$PART_NAME

A14$START			A14$STOP		A14$STORE

A3204$ADD			A3204$INIT		A3204$PART_NAME

A3204$STORE

B2408$ADD			B2408$INIT		B2408$PART_NAME

B2408$STORE

B3224$ADD			B3224$INIT		B3224$PART_NAME

B5910A$ADD			B5910A$DW_SETUP	B5910A$INIT

B5910A$LINFIT			B5910A$PART_NAME	B5910A$SPLFIT

DSP2904$ADD			DSP2904$DW_SETUP	DSP2904$INIT

DSP2904$PART_NAME		DSP2904$STORE

EC727$ADD			EC727$INIT		EC727$PART_NAME

EC727$STORE

FERA$ADD			FERA$INIT		FERA$PART_NAME

FERA$STORE

H908$ADD			H908$INIT		H908$PART_NAME

H908$STOP			H908$STORE		H908$TRIGGER

H911$ADD			H911$INIT		H911$PART_NAME

H911$STORE

H912$ADD			H912$INIT		H912$PART_NAME

H912$STOP			H912$STORE		H912$TRIGGER

HM650$ADD			HM650$INIT		HM650$PART_NAME

HM650$TRIGGER

HV1440$ADD			HV1440$INIT		HV1440$OFF

HV1440$ON			HV1440$PART_NAME	HV1440$STORE

HV1443$ADD			HV1443$GET_SETTINGS HV1443$PART_NAME

HV4032$ADD			HV4032$INIT		HV4032$OFF

HV4032$ON			HV4032$PART_NAME	HV4032$STORE

HV4032A1$ADD			HV4032A1$GET_SETTINGS

HV4032A1$PART_NAME

IDL$ADD			IDL$EXECUTE		IDL$PART_NAME

INCAA16$ADD			INCAA16$ARM		INCAA16$INIT

INCAA16$PART_NAME		INCAA16$STORE		INCAA16$TRIGGER

INCAA4$ADD			INCAA4$ARM		INCAA4$INIT

INCAA4$PART_NAME		INCAA4$STORE		INCAA4$TRIGGER

INCAA6$ADD			INCAA6$ARM		INCAA6$INIT

INCAA6$PART_NAME		INCAA6$STORE		INCAA6$TRIGGER

J1819$ADD			J1819$INIT		J1819$PART_NAME

J1819$STORE			J1819$TRIGGER

J221$ADD			J221$INIT		J221$PART_NAME

J221$TRIGGER

J412$ADD			J412$INIT		J412$PART_NAME

JOERGER_ADC$ADD		JOERGER_ADC$PART_NAME

JOERGER_ADC$STORE

JOERGER_ADCP$ADD		JOERGER_ADCP$INIT	JOERGER_ADCP$PART_NAME

JOERGER_ADCP$STORE

JOERGER_CG$ADD		JOERGER_CG$INIT	JOERGER_CG$PART_NAME

JOERGER_CG$STOP

JOERGER_DAC16$ADD		JOERGER_DAC16$INIT	JOERGER_DAC16$PART_NAME

JOERGER_TR16$ADD		JOERGER_TR16$INIT	JOERGER_TR16$PART_NAME

JOERGER_TR16$STORE		JOERGER_TR16$TRIGGER

JOERGER_TR612$ADD		JOERGER_TR612$INIT	JOERGER_TR612$PART_NAME

JOERGER_TR612$STOP		JOERGER_TR612$STORE	JOERGER_TR612$TRIGGER

JOERGER_TR812$ADD		JOERGER_TR812$INIT	JOERGER_TR812$PARTIAL_STORE

JOERGER_TR812$PART_NAME	JOERGER_TR812$STORE	JOERGER_TR812$TRIGGER

L2232$ADD			L2232$INIT		L2232$PART_NAME

L2232$STORE

L2256$ADD			L2256$INIT		L2256$PART_NAME

L2256$STORE			L2256$TRIGGER

L2415$ADD			L2415$INIT		L2415$PART_NAME

L2415$STORE

L3512$ADD			L3512$INIT		L3512$PART_NAME

L3512$STORE

L4202$ADD			L4202$INIT		L4202$PART_NAME

L4202$STORE

L6810$ADD			L6810$INIT		L6810$PART_NAME

L6810$STORE			L6810$TRIGGER

L6810A$ADD			L6810A$INIT		L6810A$PART_NAME

L6810A$STORE			L6810A$TRIGGER

L6810B$ADD			L6810B$INIT		L6810B$PART_NAME

L6810B$STORE			L6810B$TRIGGER

L6810C$ADD			L6810C$INIT		L6810C$PART_NAME

L6810C$STORE			L6810C$TRIGGER

L8100$ADD			L8100$INIT		L8100$PART_NAME

L8100$STORE

L8201$ADD			L8201$INIT		L8201$PART_NAME

L8201$STORE

L8206$ADD			L8206$INIT		L8206$PART_NAME

L8206$STORE

L8210$ADD			L8210$DW_SETUP	L8210$INIT

L8210$PART_NAME		L8210$STORE

L8212_04$ADD			L8212_04$DW_SETUP	L8212_04$INIT

L8212_04$PART_NAME		L8212_04$STORE

L8212_08$ADD			L8212_08$DW_SETUP	L8212_08$INIT

L8212_08$PART_NAME		L8212_08$STORE

L8212_16$ADD			L8212_16$DW_SETUP	L8212_16$INIT

L8212_16$PART_NAME		L8212_16$STORE

L8212_32$ADD			L8212_32$DW_SETUP	L8212_32$INIT

L8212_32$PART_NAME		L8212_32$STORE

L8501$ADD			L8501$DW_SETUP	L8501$INIT

L8501$PART_NAME		L8501$STORE

L8590$ADD			L8590$INIT		L8590$PART_NAME

L8590$STORE

L8590_MEM$ADD			L8590_MEM$DW_SETUP	L8590_MEM$INIT

L8590_MEM$PART_NAME		L8590_MEM$STORE

L8590_SCLR$ADD

L8590_SCLR$PART_NAME

L8818$ADD			L8818$INIT		  L8818$PART_NAME

L8818$STORE			L8818$TRIGGER

L8828$ADD			L8828$INIT		  L8828$PART_NAME

L8828$STORE			L8828$TRIGGER

MDSDCL$ADD			MDSDCL$DW_SETUP	  MDSDCL$EXECUTE

MDSDCL$PART_NAME

MIT_CLOCK$ADD			MIT_CLOCK$GET_SETUP	  MIT_CLOCK$PART_NAME

MIT_DCLOCK$ADD		MIT_DCLOCK$GET_SETUP  MIT_DCLOCK$PART_NAME

MIT_DECODER$ADD		MIT_DECODER$INIT	  MIT_DECODER$PART_NAME

MIT_ENCODER$ADD		MIT_ENCODER$INIT	  MIT_ENCODER$PART_NAME

MIT_ENCODER$SET_EVENT	MIT_ENCODER$TRIGGER

MIT_GATE$ADD			MIT_GATE$GET_SETUP	  MIT_GATE$PART_NAME

MIT_GCLOCK$ADD		MIT_GCLOCK$GET_SETUP  MIT_GCLOCK$PART_NAME

MIT_PULSE$ADD			MIT_PULSE$GET_SETUP	  MIT_PULSE$PART_NAME

MIT__CLOCK$ADD		MIT__CLOCK$GET_SETUP  MIT__CLOCK$PART_NAME

MIT__DCLOCK$ADD		MIT__DCLOCK$GET_SETUP MIT__DCLOCK$PART_NAME

MIT__GATE$ADD			MIT__GATE$GET_SETUP	  MIT__GATE$PART_NAME

MPB__DECODER$ADD		MPB__DECODER$DW_SETUP MPB__DECODER$INIT

MPB__DECODER$PART_NAME

PARAGON_HIST$ADD		PARAGON_HIST$INSERT	  PARAGON_HIST$PART_NAME

PARAGON_HIST$STORE

PARAGON_RPT$ADD		PARAGON_RPT$PART_NAME PARAGON_RPT$STORE

PREAMP$ADD			PREAMP$DW_SETUP	  PREAMP$INIT

PREAMP$PART_NAME

RETICON120$ADD		RETICON120$DW_SETUP	  RETICON120$INIT

RETICON120$PART_NAME	RETICON120$STORE	  RETICON120$TRIGGER

T2812$ADD			T2812$PART_NAME

T2814$ADD			T2814$PART_NAME

T2824$ADD			T2824$PART_NAME

T2825$ADD			T2825$PART_NAME

T2860$ADD			T2860$PART_NAME

T4012$ADD			T4012$DW_SETUP	  T4012$INIT

T4012$PART_NAME		T4012$STORE		  T4012$TRIGGER

UMCCD$ADD			UMCCD$PART_NAME

U_OF_M_SPECT$ADD		U_OF_M_SPECT$INIT	  U_OF_M_SPECT$PART_NAME

U_OF_M_SPECT$STORE

Module PPPL$DEVICES

DUMMY908$ADD			DUMMY908$INIT		  DUMMY908$PART_NAME

DUMMY908$SELFTEST		DUMMY908$STOP		  DUMMY908$STORE

DUMMY908$TRIGGER

H320$ADD			H320$INIT		  H320$PART_NAME

H320$STORE

H321$ADD			H321$INIT		  H321$PART_NAME

H321$STORE

H322$ADD			H322$INIT		  H322$PART_NAME

H322$STORE

H356$ADD			H356$INIT		  H356$PART_NAME

H356$STORE

H404$ADD			H404$DW_SETUP		  H404$INIT

H404$PART_NAME

H404COMM$ADD			H404COMM$DW_SETUP	  H404COMM$INIT

H404COMM$PART_NAME

H408$ADD			H408$INIT		  H408$PART_NAME

H408$STORE

H409$ADD			H409$INIT		  H409$PART_NAME

H409$STOP			H409$TRIGGER

H412$ADD			H412$INIT		  H412$PART_NAME

H908PPPL$ADD			H908PPPL$INIT		  H908PPPL$PART_NAME

H908PPPL$SELFTEST		H908PPPL$STOP		  H908PPPL$STORE

H908PPPL$TRIGGER

H908T$AD			H908T$INIT		  H908T$PART_NAME

H908T$SELFTEST		H908T$STOP		  H908T$STORE

H908T$TRIGGER

H911PPPL$ADD			H911PPPL$INIT		  H911PPPL$PART_NAME

H911PPPL$STORE

H912R$ADD			H912R$INIT		H912R$PART_NAME

H912R$STOP			H912R$STORE		H912R$TRIGGER

J_TR612_PPPL$ADD		J_TR612_PPPL$INIT	J_TR612_PPPL$PART_NAME

J_TR612_PPPL$STORE

K3421$ADD			K3421$INIT		K3421$PART_NAME

K3421$STORE

K3525$ADD			K3525$PART_NAME	K3525$STORE

L4202ONLY$ADD			L4202ONLY$INIT	L4202ONLY$PART_NAME

L4202ONLY$STORE

L6810BPPPL$ADD		L6810BPPPL$INIT	L6810BPPPL$PART_NAME

L6810BPPPL$STORE		L6810BPPPL$TRIGGER

L6810ED$ADD			L6810ED$INIT		L6810ED$PART_NAME

L6810ED$STORE			L6810ED$TRIGGER

L6810PPPL$ADD			L6810PPPL$INIT	L6810PPPL$PART_NAME

L6810PPPL$STORE		L6810PPPL$TRIGGER

Module RCPDAQ$DEVICES

GL_AD1020$ADD

GL_AD1020$INIT

GL_AD1020$PART_NAME

GL_AD1020$STORE

GL_AD1020$TRIGGER

NSTX0:[MDSPLUS_LOCAL.CAMAC]PPPL$DEVICES.EXE built from PPPL$DEVICESLNK.COM

KEES$ mov nstx0:[mdsplus_local.camac]

NSTX0:[MDSPLUS_LOCAL.CAMAC]

KEES$ dir *.com;

Directory NSTX0:[MDSPLUS_LOCAL.CAMAC]

DEFS.COM;3          PPPL$DEVICESLNK.COM;76

RCPDAQ$DEVICESLNK.COM;9

Total of 3 files.

KEES$ type  PPPL$DEVICESLNK.COM

$! Edit: 05-Jan-05 PR changing kees0 references to nstx0

$! Edit: 02-Aug-00 PR adding H321 8 chan DAC, storing settings only

$! Edit: 14-Apr-00 TG re-adding L6810BPPPL: "retry-on-error" capability

$! Edit: 14-Apr-00 PR adding temporary H404COMM, will eventually be new H404

$! Edit: 06-Mar-2000 PR adding temporary L6810ED

$! Edit: 15-Dec-99 PR removing L6810B - can't use fstop

$! Edit: 08-Dec-99 PR adding H908T - for Timing correction

$! Edit: 22-Jul-99 PR moved H404 source code to KEES0,

$!                    removed "testmpb_decoder"

$! Edit: 21-Jul-99 PR added K3421 digital input w buffer

$! Edit: 21-Jun-99 PR   changed directories from NSTX$ to BE1:[NSTX.]

$!                      since NSTX$ is now KEES0:[NSTX.]

$!

$ link/share/exe=pppl$devices 'P1' sys$input/opt

nstx0:[mdsplus_local.camac.h404]h404_gen

nstx0:[mdsplus_local.camac.h404]h404

nstx0:[mdsplus_local.camac.h404]h404comm_gen

nstx0:[mdsplus_local.camac.h404]h404comm

nstx0:[mdsplus_local.camac.h409]h409_gen

nstx0:[mdsplus_local.camac.h409]h409

nstx0:[mdsplus_local.camac.h908]h908pppl_gen

nstx0:[mdsplus_local.camac.h908]h908pppl

nstx0:[mdsplus_local.camac.h908.h908t]h908t_gen

nstx0:[mdsplus_local.camac.h908.h908t]h908t

nstx0:[mdsplus_local.camac.h908]dummy908_gen

nstx0:[mdsplus_local.camac.h908]dummy908

nstx0:[mdsplus_local.camac.h911]h911pppl

nstx0:[mdsplus_local.camac.h911]h911pppl_gen

nstx0:[mdsplus_local.camac.h320]h320.obj

nstx0:[mdsplus_local.camac.h320]h320_gen.obj

nstx0:[mdsplus_local.camac.h321]h321.obj

nstx0:[mdsplus_local.camac.h321]h321_gen.obj

nstx0:[mdsplus_local.camac.h322]h322.obj

nstx0:[mdsplus_local.camac.h322]h322_gen.obj

nstx0:[mdsplus_local.camac.ks3525]k3525.obj

nstx0:[mdsplus_local.camac.ks3525]k3525_gen.obj

nstx0:[mdsplus_local.camac.ks3421]k3421

nstx0:[mdsplus_local.camac.ks3421]k3421_gen

nstx0:[mdsplus_local.camac.l6810]l6810pppl_gen

nstx0:[mdsplus_local.camac.l6810]l6810pppl

nstx0:[mdsplus_local.camac.l6810b]l6810bpppl_gen

nstx0:[mdsplus_local.camac.l6810b]l6810bpppl

nstx0:[mdsplus_local.camac.l6810ed]l6810ed_gen

nstx0:[mdsplus_local.camac.l6810ed]l6810ed

nstx0:[mdsplus_local.camac.h912r]h912r

nstx0:[mdsplus_local.camac.h912r]h912r_gen

nstx0:[mdsplus_local.camac.h356]h356

nstx0:[mdsplus_local.camac.h356]h356_gen

nstx0:[mdsplus_local.camac.h412]h412

nstx0:[mdsplus_local.camac.h412]h412_gen

nstx0:[mdsplus_local.camac.l4202only]l4202only_gen

nstx0:[mdsplus_local.camac.l4202only]l4202only

nstx0:[mdsplus_local.camac.h408]h408_gen

nstx0:[mdsplus_local.camac.h408]h408

nstx0:[mdsplus_local.camac.tr612]j_tr612_pppl_gen

nstx0:[mdsplus_local.camac.tr612]j_tr612_pppl

nstx0:[mdsplus_local.camac]messages.obj

nstx0:[mdsplus_local.camac]mit_messages.obj

das$:[util]dasutil/include=(dascam$error,getmsg,getsyi)

pppl_res:[dasutil]dasutil/lib

sys$share:treeshr/share

sys$share:tdishr/share

sys$share:camshr/share

sys$share:devshr/share

sys$share:mdsshr/share

sys$share:xmdsshr/share

sys$share:gen_deviceshr/share

sys$share:decw$mrmlibshr12/share

sys$share:decw$dxmlibshr12/share

sys$share:decw$xmlibshr12/share

sys$share:decw$xtlibshrr5/share

sys$share:decw$xlibshr/share

symbol_vector = (-

H404$ADD=data,-

H404$PART_NAME=data,-

H404$DW_SETUP=data,-

H404$INIT=data,-

H404COMM$ADD=data,-

H404COMM$PART_NAME=data,-

H404COMM$DW_SETUP=data,-

H404COMM$INIT=data,-

H409$ADD=data,-

H409$PART_NAME=data,-

H409$INIT=data,-

H409$TRIGGER=data,-

H409$STOP=data,-

DUMMY908$ADD=data,-

DUMMY908$PART_NAME=data,-

DUMMY908$INIT=data,-

DUMMY908$STORE=data,-

DUMMY908$STOP=data,-

DUMMY908$SELFTEST=data,-

DUMMY908$TRIGGER=data,-

H908PPPL$ADD=data,-

H908PPPL$PART_NAME=data,-

H908PPPL$INIT=data,-

H908PPPL$STORE=data,-

H908PPPL$STOP=data,-

H908PPPL$SELFTEST=data,-

H908PPPL$TRIGGER=data,-

H908T$ADD=data,-

H908T$PART_NAME=data,-

H908T$INIT=data,-

H908T$STORE=data,-

H908T$STOP=data,-

H908T$SELFTEST=data,-

H908T$TRIGGER=data,-

H321$ADD=data,-

H321$PART_NAME=data,-

H321$INIT=data,-

H321$STORE=data,-

H322$ADD=data,-

H322$PART_NAME=data,-

H322$INIT=data,-

H322$STORE=data,-

K3525$ADD=data,-

K3525$PART_NAME=data,-

K3525$STORE=data,-

K3421$ADD=data,-

K3421$PART_NAME=data,-

K3421$INIT=data,-

K3421$STORE=data,-

L6810PPPL$ADD=data,-

L6810PPPL$PART_NAME=data,-

L6810PPPL$INIT=data,-

L6810PPPL$STORE=data,-

L6810PPPL$TRIGGER=data,-

L6810BPPPL$ADD=data,-

L6810BPPPL$PART_NAME=data,-

L6810BPPPL$INIT=data,-

L6810BPPPL$STORE=data,-

L6810BPPPL$TRIGGER=data,-

L6810ED$ADD=data,-

L6810ED$PART_NAME=data,-

L6810ED$INIT=data,-

L6810ED$STORE=data,-

L6810ED$TRIGGER=data,-

H912R$ADD=data,-

H912R$PART_NAME=data,-

H912R$INIT=data,-

H912R$STOP=data,-

H912R$STORE=data,-

H912R$TRIGGER=data,-

H356$ADD=data,-

H356$PART_NAME=data,-

H356$INIT=data,-

H356$STORE=data, -

H412$ADD=data,-

H412$PART_NAME=data,-

H412$INIT=data, -

L4202ONLY$ADD=data,-

L4202ONLY$PART_NAME=data,-

L4202ONLY$INIT=data, -

L4202ONLY$STORE=data, -

H408$ADD=data,-

H408$PART_NAME=data,-

H408$INIT=data, -

H408$STORE=data  -

,H911PPPL$ADD=data -

,H911PPPL$PART_NAME=data -

,H911PPPL$INIT=data -

,H911PPPL$STORE=data -

,J_TR612_PPPL$ADD=data -

,J_TR612_PPPL$PART_NAME=data -

,J_TR612_PPPL$INIT=data -

,J_TR612_PPPL$STORE=data -

,H320$ADD=data -

,H320$PART_NAME=data -

,H320$INIT=data -

,H320$STORE=data -

)

MOTIF UID files for device forms for Traverser

KEES$ dir mds$root:[syslib]*.uid;

Directory MDS$PPPLROOT:[SYSLIB]

DTACQ16.UID;2       DUMMY908.UID;2      GL_AD1020.UID;11    H320.UID;1

H321.UID;1          H322.UID;9          H356.UID;2          H404.UID;98

H404COMM.UID;19     H408.UID;7          H409.UID;26         H412.UID;1

H904.UID;72         H908.UID;1          H908PPPL.UID;2      H908T.UID;1

H911PPPL.UID;2      H912.UID;1          H912R.UID;3         J412.UID;3

J_TR612_PPPL.UID;1  K3421.UID;1         K3525.UID;5         L4202ONLY.UID;7

L6810A.UID;1        L6810B.UID;1        L6810BPPPL.UID;2    L6810ED.UID;5

L6810PPPL.UID;2     TESTMPB_DECODER.UID;1                   XCOUNTDOWN.UID;18

Total of 31 files.

Directory MDS$MITROOT:[SYSLIB]

A12.UID;5           A14.UID;6           A3204.UID;5         ACTIONS.UID;6

ACTMON.UID;9        AUTO_RETRIEVE.UID;6 B2408.UID;5         B3224.UID;5

B5910A.UID;14       CW_WVEDIT.UID;4     DSP2904.UID;5       DT100.UID;3

DT101.UID;18        DWPAD.UID;9         DWSCOPE.UID;30      EC727.UID;2

FERA.UID;5          H908.UID;2          H911.UID;5          H912.UID;2

HM650.UID;5         HV1440.UID;5        HV1443.UID;5        HV4032.UID;5

HV4032A1.UID;5      HYB_MATRIX.UID;2    IDL.UID;6           INCAA16.UID;7

INCAA4.UID;5        INCAA6.UID;9        J1819.UID;6         J221.UID;8

J412.UID;7          JOERGER_ADCP.UID;5  JOERGER_CG.UID;2    JOERGER_DAC16.UID;5

JOERGER_TR16.UID;9  JOERGER_TR612.UID;3 JOERGER_TR812.UID;5 L2232.UID;5

L2256.UID;2         L2415.UID;5         L3512.UID;5         L4202.UID;5

L6810.UID;12        L6810A.UID;2        L6810B.UID;5        L6810C.UID;1

L8100.UID;2         L8201.UID;5         L8206.UID;3         L8210.UID;5

L8210_HEADERS.UID;5 L8212.UID;6         L8212_HEADERS.UID;8 L8501.UID;6

L8590.UID;5         L8590_MEM.UID;5     L8590_SCLR.UID;5    L8818.UID;2

L8828.UID;3         MDSDCL.UID;5        MIT_CLOCK.UID;5     MIT_DCLOCK.UID;6

MIT_DECODER.UID;5   MIT_ENCODER.UID;5   MIT_GATE.UID;5      MIT_GCLOCK.UID;5

MIT_PULSE.UID;5     MIT__CLOCK.UID;3    MIT__DCLOCK.UID;2   MIT__GATE.UID;5

MPB__DECODER.UID;12 PARAGON_HIST.UID;5  PARAGON_RPT.UID;5   PREAMP.UID;5

RETICON120.UID;5    STATE.UID;3         T4012.UID;5         TRAVERSER.UID;10

UMCCD.UID;10        U_OF_M_SPECT.UID;5  WAVEEDIT.UID;3      XMDSDIGCHANS.UID;6

XMDSINPUT.UID;5     XMDSXDBOX.UID;11    XMDS_USAGE_ICONS.UID;6

Total of 87 files.

Grand total of 2 directories, 118 files.

C Language Device Support: Output from processing A12.GEN file

a12.h

#define A12$K_CONG_NODES 25

#define A12$N_HEAD 0

#define A12$N_NAME 1

#define A12$N_COMMENT 2

#define A12$N_EXT_CLOCK_IN 3

#define A12$N_STOP_TRIG 4

#define A12$N_INPUT_1 5

#define A12$N_INPUT_1_STARTIDX 6

#define A12$N_INPUT_1_ENDIDX 7

#define A12$N_INPUT_2 8

#define A12$N_INPUT_2_STARTIDX 9

#define A12$N_INPUT_2_ENDIDX 10

#define A12$N_INPUT_3 11

#define A12$N_INPUT_3_STARTIDX 12

#define A12$N_INPUT_3_ENDIDX 13

#define A12$N_INPUT_4 14

#define A12$N_INPUT_4_STARTIDX 15

#define A12$N_INPUT_4_ENDIDX 16

#define A12$N_INPUT_5 17

#define A12$N_INPUT_5_STARTIDX 18

#define A12$N_INPUT_5_ENDIDX 19

#define A12$N_INPUT_6 20

#define A12$N_INPUT_6_STARTIDX 21

#define A12$N_INPUT_6_ENDIDX 22

#define A12$N_INIT_ACTION 23

#define A12$N_STORE_ACTION 24

typedef struct {

struct dsc$descriptor_xd *__xds;

int __num_xds;

int head_nid;

struct dsc$descriptor *name;

struct dsc$descriptor *ext_clock_in;

} InInitStruct;

typedef struct {

struct dsc$descriptor_xd *__xds;

int __num_xds;

int head_nid;

struct dsc$descriptor *name;

} InTriggerStruct;

typedef struct {

struct dsc$descriptor_xd *__xds;

int __num_xds;

int head_nid;

struct dsc$descriptor *name;

} InStopStruct;

a12_gen.c

#include <mds_gendevice.h>

#include "A12.h"

int A12$ADD(struct dsc$descriptor *name_d_ptr, struct dsc$descriptor *dummy_d_pt

r, int *nid_ptr)

{

static $DESCRIPTOR(library_d, "MIT$DEVICES");

static $DESCRIPTOR(model_d, "A12");

static $DESCRIPTOR_CONGLOM(conglom_d, &library_d, &model_d, 0, 0);

int curr_nid, old_nid, head_nid, status;

short flags = NCI$M_WRITE_ONCE;

NCI_ITM flag_itm[] = {{2, NCI$_SET_FLAGS, 0, 0},{0, 0, 0, 0}};

flag_itm[0].nci_itm$a_pointer = (unsigned char *)&flags;

status = TREE$START_CONGLOMERATE(&A12$K_CONG_NODES);

if (!(status & 1)) return status;

status = TREE$ADD_NODE(name_d_ptr, &head_nid, &TREE$K_USAGE_DEVICE);

if (!(status & 1)) return status;

*nid_ptr = head_nid;

status = TREE$SETNCI(&head_nid, flag_itm);

status = TREE$PUT_RECORD(&head_nid, (struct dsc$descriptor *)&conglom_d);

if (!(status & 1)) return status;

status = TREE$GET_DEFAULT_NID(&old_nid);

if (!(status & 1)) return status;

status = TREE$SET_DEFAULT_NID(&head_nid);

if (!(status & 1)) return status;

$ADD_NODE(:NAME, TREE$K_USAGE_TEXT)

$ADD_NODE(:COMMENT, TREE$K_USAGE_TEXT)

$ADD_NODE(:EXT_CLOCK_IN, TREE$K_USAGE_AXIS)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE_FLOAT(:STOP_TRIG,  0. , TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_1, TREE$K_USAGE_SIGNAL)

flags |= NCI$M_WRITE_ONCE;

flags |= NCI$M_COMPRESS_ON_PUT;

flags |= NCI$M_NO_WRITE_MODEL;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_1:STARTIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_1:ENDIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_2, TREE$K_USAGE_SIGNAL)

flags |= NCI$M_WRITE_ONCE;

flags |= NCI$M_COMPRESS_ON_PUT;

flags |= NCI$M_NO_WRITE_MODEL;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_2:STARTIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_2:ENDIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_3, TREE$K_USAGE_SIGNAL)

flags |= NCI$M_WRITE_ONCE;

flags |= NCI$M_COMPRESS_ON_PUT;

flags |= NCI$M_NO_WRITE_MODEL;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_3:STARTIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_3:ENDIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_4, TREE$K_USAGE_SIGNAL)

flags |= NCI$M_WRITE_ONCE;

flags |= NCI$M_COMPRESS_ON_PUT;

flags |= NCI$M_NO_WRITE_MODEL;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_4:STARTIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_4:ENDIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_5, TREE$K_USAGE_SIGNAL)

flags |= NCI$M_WRITE_ONCE;

flags |= NCI$M_COMPRESS_ON_PUT;

flags |= NCI$M_NO_WRITE_MODEL;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_5:STARTIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_5:ENDIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_6, TREE$K_USAGE_SIGNAL)

flags |= NCI$M_WRITE_ONCE;

flags |= NCI$M_COMPRESS_ON_PUT;

flags |= NCI$M_NO_WRITE_MODEL;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_6:STARTIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE(:INPUT_6:ENDIDX, TREE$K_USAGE_NUMERIC)

flags |= NCI$M_NO_WRITE_SHOT;

status = TREE$SETNCI(&curr_nid, flag_itm);

$ADD_NODE_ACTION(:INIT_ACTION, INIT, INIT, 50, 0, 0, CAMAC_SERVER, 0)

$ADD_NODE_ACTION(:STORE_ACTION, STORE, STORE, 50, 0, 0, CAMAC_SERVER, 0)

status = TREE$END_CONGLOMERATE();

if (!(status & 1)) return status;

return(TREE$SET_DEFAULT_NID(&old_nid));

}

int A12$PART_NAME(struct dsc$descriptor *nid_d_ptr, struct dsc$descriptor *method_d_ptr, struct dsc$descriptor *out_d)

{

int element = 0, status;

NCI_ITM nci_list[] = {{4, NCI$_CONGLOMERATE_ELT, 0, 0},{0,0,0,0}};

nci_list[0].nci_itm$a_pointer = (unsigned char *)&element;

status = TREE$GETNCI((int *)nid_d_ptr->dsc$a_pointer, nci_list);

if (!(status & 1)) return status;

switch(element)  {

case(A12$N_HEAD + 1) : str$free1_dx(out_d); break;

case(A12$N_NAME + 1) : $COPY_PART_NAME(:NAME) break;

case(A12$N_COMMENT + 1) : $COPY_PART_NAME(:COMMENT) break;

case(A12$N_EXT_CLOCK_IN + 1) : $COPY_PART_NAME(:EXT_CLOCK_IN) break;

case(A12$N_STOP_TRIG + 1) : $COPY_PART_NAME(:STOP_TRIG) break;

case(A12$N_INPUT_1 + 1) : $COPY_PART_NAME(:INPUT_1) break;

case(A12$N_INPUT_1_STARTIDX + 1) : $COPY_PART_NAME(:INPUT_1:STARTIDX) break;

case(A12$N_INPUT_1_ENDIDX + 1) : $COPY_PART_NAME(:INPUT_1:ENDIDX) break;

case(A12$N_INPUT_2 + 1) : $COPY_PART_NAME(:INPUT_2) break;

case(A12$N_INPUT_2_STARTIDX + 1) : $COPY_PART_NAME(:INPUT_2:STARTIDX) break;

case(A12$N_INPUT_2_ENDIDX + 1) : $COPY_PART_NAME(:INPUT_2:ENDIDX) break;

case(A12$N_INPUT_3 + 1) : $COPY_PART_NAME(:INPUT_3) break;

case(A12$N_INPUT_3_STARTIDX + 1) : $COPY_PART_NAME(:INPUT_3:STARTIDX) break;

case(A12$N_INPUT_3_ENDIDX + 1) : $COPY_PART_NAME(:INPUT_3:ENDIDX) break;

case(A12$N_INPUT_4 + 1) : $COPY_PART_NAME(:INPUT_4) break;

case(A12$N_INPUT_4_STARTIDX + 1) : $COPY_PART_NAME(:INPUT_4:STARTIDX) break;

case(A12$N_INPUT_4_ENDIDX + 1) : $COPY_PART_NAME(:INPUT_4:ENDIDX) break;

case(A12$N_INPUT_5 + 1) : $COPY_PART_NAME(:INPUT_5) break;

case(A12$N_INPUT_5_STARTIDX + 1) : $COPY_PART_NAME(:INPUT_5:STARTIDX) break;

case(A12$N_INPUT_5_ENDIDX + 1) : $COPY_PART_NAME(:INPUT_5:ENDIDX) break;

case(A12$N_INPUT_6 + 1) : $COPY_PART_NAME(:INPUT_6) break;

case(A12$N_INPUT_6_STARTIDX + 1) : $COPY_PART_NAME(:INPUT_6:STARTIDX) break;

case(A12$N_INPUT_6_ENDIDX + 1) : $COPY_PART_NAME(:INPUT_6:ENDIDX) break;

case(A12$N_INIT_ACTION + 1) : $COPY_PART_NAME(:INIT_ACTION) break;

case(A12$N_STORE_ACTION + 1) : $COPY_PART_NAME(:STORE_ACTION) break;

default : status = TREE$_ILLEGAL_ITEM;

}

return status;

}

extern int A12$$INIT();

#define free_xd_array { int i; for(i=0; i<2;i++) if(work_xd[i].dsc$l_length) MDS

$FREE1_DX(&work_xd[i]);}

#define error(nid,code,code1) {free_xd_array return GEN_DEVICE$SIGNAL(&nid,code,

code1);}

int A12$INIT(struct dsc$descriptor *nid_d_ptr, struct dsc$descriptor *method_d_p

tr)

{

#pragma extern_model save

#pragma extern_model globalvalue

extern DEV$_BAD_NAME;

#pragma extern_model restore

declare_variables(InInitStruct)

struct dsc$descriptor_xd work_xd[2];

int xd_count = 0;

memset((char *)work_xd, '\0', sizeof(struct dsc$descriptor_xd) * 2);

initialize_variables(InInitStruct)

read_string_error(A12$N_NAME,name, DEV$_BAD_NAME);

read_descriptor(A12$N_EXT_CLOCK_IN, ext_clock_in);

status = A12$$INIT(nid_d_ptr, &in_struct);

free_xd_array

return status;

}

#undef free_xd_array

extern int A12$$TRIGGER();

#define free_xd_array { int i; for(i=0; i<1;i++) if(work_xd[i].dsc$l_length) MDS

$FREE1_DX(&work_xd[i]);}

int A12$TRIGGER(struct dsc$descriptor *nid_d_ptr, struct dsc$descriptor *method_d_ptr)

{

#pragma extern_model save

#pragma extern_model globalvalue

extern DEV$_BAD_NAME;

#pragma extern_model restore

declare_variables(InTriggerStruct)

struct dsc$descriptor_xd work_xd[1];

int xd_count = 0;

memset((char *)work_xd, '\0', sizeof(struct dsc$descriptor_xd) * 1);

initialize_variables(InTriggerStruct)

read_string_error(A12$N_NAME,name, DEV$_BAD_NAME);

status = A12$$TRIGGER(nid_d_ptr, &in_struct);

free_xd_array

return status;

}

#undef free_xd_array

extern int A12$$STOP();

#define free_xd_array { int i; for(i=0; i<1;i++) if(work_xd[i].dsc$l_length) MDS

$FREE1_DX(&work_xd[i]);}

int A12$STOP(struct dsc$descriptor *nid_d_ptr, struct dsc$descriptor *method_d_ptr)

{

#pragma extern_model save

#pragma extern_model globalvalue

extern DEV$_BAD_NAME;

#pragma extern_model restore

declare_variables(InStopStruct)

struct dsc$descriptor_xd work_xd[1];

int xd_count = 0;

memset((char *)work_xd, '\0', sizeof(struct dsc$descriptor_xd) * 1);

initialize_variables(InStopStruct)

read_string_error(A12$N_NAME,name, DEV$_BAD_NAME);

status = A12$$STOP(nid_d_ptr, &in_struct);

free_xd_array

return status;

}

#undef free_xd_array

For some reason, the $STORE method was not included in the A12_GEN.C file; A12$STORE (but NOT A12$$STORE) is included in A12.C, which is an example of first-generation glue-together-the-descriptors programming.

A12.C

/*  CMS REPLACEMENT HISTORY, Element A12.C */

/*  *4     8-NOV-1994 15:29:04 JAS "pad structure to 16 bits" */

/*  *3     2-NOV-1994 14:36:09 TWF "decc" */

/*  *2    24-OCT-1994 12:11:41 TWF "clean up, no vaxc" */

/*  *1     7-OCT-1993 09:09:18 TWF "Aurora 12" */

/*  CMS REPLACEMENT HISTORY, Element A12.C */

#include <descrip.h>

#include <tdescrip.h>

#include <str$routines.h>

#include <treeshr.h>

#include <mdsshr.h>

#include <devshr.h>

#include "A12.H"

#pragma extern_model save

#pragma extern_model globalvalue

extern OPC$_ADD;

extern OPC$_MULTIPLY;

extern OPC$_$VALUE;

#pragma extern_model restore

extern int CAM$XANDQ();

#define pio(fv,av) {int a = av; int f = fv;\

if (!((status = DEV$CAMCHK(CAM$PIOW(setup->name,&a,&f,&0,&16),&1,&1)) & 1)) return status;}

int a12$$init(struct dsc$descriptor *niddsc, InInitStruct *setup)

{

int status;

pio(9,0)

pio(9,0)

pio(17,setup->ext_clock_in != 0)

pio(26,0)

return status;

}

int a12$$stop(struct dsc$descriptor *niddsc, InStopStruct *setup)

{

int status;

pio(25,1)

return status;

}

int a12$$trigger(struct dsc$descriptor *niddsc, InTriggerStruct *setup)

{

int status;

pio(25,0)

return status;

}

static int ReadSetup(struct dsc$descriptor *key_ptr,

float                 *freq_ptr,

int                   *polarity);

static int ReadChannel(struct dsc$descriptor *key_d_ptr,

int                     fast,

int                     *max_samps_ptr,

int                     chan,

short                   *data_ptr);

static int sinewave;

#define A12$N_INPUTS         5

#define A12$K_NODES_PER_INP  3

#define A12$N_INP_HEAD       0

#define A12$N_INP_STARTIDX   1

#define A12$N_INP_ENDIDX     2

int A12$STORE(struct dsc$descriptor *niddsc_ptr)

{

#define return_on_error(f,retstatus) if (!((status = f) & 1)) return retstatus;

#define CHAN_NID(chan, field) c_nids[A12$N_INPUTS+chan*A12$K_NODES_PER_INP+field]

#define min(a,b) ((a) <= (b)) ? (a) : (b)

#define max(a,b) ((a) >= (b)) ? (a) : (b)

static int c_nids[A12$K_CONG_NODES];

static unsigned long OPC$ADD = OPC$_ADD;

static unsigned long OPC$MULTIPLY = OPC$_MULTIPLY;

static unsigned long OPC$$VALUE = OPC$_$VALUE;

static struct dsc$descriptor  name = {0,DSC$K_DTYPE_T,DSC$K_CLASS_D,0};

static $EMPTYXD(setup);

static $DESCRIPTOR_A_BOUNDS(raw,sizeof(short),DSC$K_DTYPE_W,0,1,0);

static $DESCRIPTOR(counts_str,"counts");

static $DESCRIPTOR_WITH_UNITS(counts,&raw, &counts_str);

static $DESCRIPTOR_LONG(start_d,&raw.dsc$bounds[0].dsc$l_l);

static $DESCRIPTOR_LONG(end_d,&raw.dsc$bounds[0].dsc$l_u);

static $DESCRIPTOR_NID(trigger_d,&c_nids[A12$N_STOP_TRIG]);

static float frequency;

static $DESCRIPTOR_FLOAT(frequency_d,&frequency);

static $DESCRIPTOR_RANGE(int_clock_d,0,0,&frequency_d);

static $DESCRIPTOR_NID(ext_clock_d,&c_nids[A12$N_EXT_CLOCK_IN]);

static float coefficient = 10.0/4096;

static $DESCRIPTOR_FLOAT(coef_d,&coefficient);

static short offset = 0;

static struct dsc$descriptor_s  offset_d    = {2,DSC$K_DTYPE_W,DSC$K_CLASS_S,(char *)&offset};

static int key;

static $DESCRIPTOR_LONG(key_d,&key);

static $DESCRIPTOR_FUNCTION_1($value,(unsigned char *)&OPC$$VALUE,0);

static $DESCRIPTOR_FUNCTION_2(add_exp,(unsigned char *)&OPC$ADD,&offset_d,&$value);

static $DESCRIPTOR_FUNCTION_2(mult_exp,(unsigned char *)&OPC$MULTIPLY,&coef_d, &add_exp);

static $DESCRIPTOR(volts_str,"volts");

static $DESCRIPTOR_WITH_UNITS(volts,&mult_exp,&volts_str);

static $DESCRIPTOR_WINDOW(window,&start_d,&end_d,&trigger_d);

static $DESCRIPTOR_DIMENSION(dimension,&window,0);

static $DESCRIPTOR(time_str,"seconds");

static $DESCRIPTOR_WITH_UNITS(time,&dimension,&time_str);

static $DESCRIPTOR_SIGNAL_1(signal,&volts,&counts,&time);

short channel_data[32767];

int status;

int chan;

int samples_to_read;

int i;

int polarity;

int fast;

short int module_id;

int max_samples;

return_on_error(DEV$NIDS(niddsc_ptr,sizeof(c_nids),c_nids),status);

return_on_error(DEV$TEXT(&c_nids[A12$N_NAME], &name),DEV$_BAD_NAME);

$value.dsc$b_ndesc = 0;

return_on_error(CAM$ASSIGN(&name,&key),status);

str$free1_dx(&name);

return_on_error(DEV$CAMCHK(CAM$PIOW(&key_d, &0, &8, &0, &16), &1, 0),status);

if ((CAM$XANDQ()&1) == 0) return DEV$_NOT_TRIGGERED;

return_on_error(ReadSetup((struct dsc$descriptor *)&key_d, &frequency, &polarity), status);

dimension.dsc$a_axis = (frequency == 0) ? (struct dsc$descriptor *)&ext_clock_d : (struct dsc$descriptor *)&int_clock_d;

return_on_error(DEV$CAMCHK(CAM$PIOW(&key_d, &0, &6, &module_id, &16), &1, &1), status);

max_samples = (module_id & 128) ? 32767 : 8192;

fast = TREE$IS_ON(&c_nids[A12$N_COMMENT]) & 1;

for (chan=0;((chan < 6) && (status & 1));chan++)

{

if (TREE$IS_ON(&CHAN_NID(chan,A12$N_INP_HEAD)) & 1)

{

status = DEV$LONG(&CHAN_NID(chan,A12$N_INP_STARTIDX),(int *)&raw.dsc$bounds[0].dsc$l_l);

if (status&1) raw.dsc$bounds[0].dsc$l_l = min(max_samples-1,max(0,raw.dsc$bounds[0].dsc$l_l));

else raw.dsc$bounds[0].dsc$l_l = 0;

status = DEV$LONG(&CHAN_NID(chan,A12$N_INP_ENDIDX), (int *)&raw.dsc$bounds[0].dsc$l_u);

if (status&1) raw.dsc$bounds[0].dsc$l_u = min(max_samples-1,max(0,raw.dsc$bounds[0].dsc$l_u));

else raw.dsc$bounds[0].dsc$l_u = max_samples-1;

raw.dsc$l_m[0] = raw.dsc$bounds[0].dsc$l_u - raw.dsc$bounds[0].dsc$l_l + 1;

if (raw.dsc$l_m[0] > 0)

{

samples_to_read = raw.dsc$bounds[0].dsc$l_u + 1;

status = ReadChannel((struct dsc$descriptor *)&key_d,fast,&max_samples, chan,channel_data);

if (status & 1)

{

offset = ((1 << chan) & polarity) != 0 ? -2048 : 0;

raw.dsc$a_pointer = (char *)(channel_data + (raw.dsc$bounds[0].dsc$l_l));

raw.dsc$a_a0 = (char *)channel_data;

raw.dsc$l_arsize = raw.dsc$l_m[0] * 2;

status = TREE$PUT_RECORD(&CHAN_NID(chan,A12$N_INP_HEAD),(struct dsc$descriptor *)&signal);

}

}

}

}

MDS$FREE1_DX(&setup);

return status;

}

static int ReadSetup(struct dsc$descriptor *key_ptr,

float                 *freq_ptr,

int                   *offset)

{

struct a12_setup { unsigned a12_setup$v_offset : 6;      /* Bit on indicates bipolar, 0:10V, else unipolar +5:-5V */

unsigned a12_setup$v_dummy  : 1;

unsigned a12_setup$v_period : 1;

unsigned : 8;

} setup;

static float freq[2] = {0, 1.E-5 };

int status;

status = DEV$CAMCHK(CAM$PIOW(key_ptr,&0,&0,&setup,&16),&1,0);

if (status & 1)

{

*offset = setup.a12_setup$v_offset;

*freq_ptr = freq[setup.a12_setup$v_period];

}

return status;

}

static int ReadChannel(struct dsc$descriptor *key_d_ptr,

int                     fast,

int                     *max_samps_ptr,

int                     chan,

short                   *data_ptr)

{

int serial;

int chan_sel;

int status;

return_on_error(DEV$CAMCHK(CAM$PIOW(key_d_ptr,&0,&6,&serial,&16),&1,&1),status

);

if ( ((serial >> 8) & 255) <= 4)                                      /* If serial number is less equal to 4 then*/

chan_sel = 7 - chan;                                        /* Channel select backwards from 7 */

else {                                                                /* Else

*/

return_on_error(DEV$CAMCHK(CAM$PIOW(key_d_ptr,&1,&24,&0,&16),&1,&1),status);

chan_sel = chan;                                               /* Channel select starts at 0 */

}

return_on_error(DEV$CAMCHK(CAM$PIOW(key_d_ptr,&chan_sel,&16,&0,&16),&1,0),status);

if (fast)

{

return_on_error(DEV$CAMCHK(CAM$FSTOPW(key_d_ptr,&0,&2,max_samps_ptr,data_ptr,&16),&1,0),status);

}

else

{

return_on_error(DEV$CAMCHK(CAM$STOPW(key_d_ptr,&0,&2,max_samps_ptr,data_ptr,&16),&1,0),status);

}

return 1;

}

University of Washington Web Device Support Documentation

http://plasma.aa.washington.edu/mdsplus/LocalDeviceDevelopment/writing_drivers.html

University of Washington Plasma Sciences

Writing Device Drivers in TDI

This page gives an overview on writing Device Drivers for CAMAC devices in TDI for use in MDSplus.

You need the manual for the device so that you can get the F and A codes for the various functions. It will also help to have any old MDS- drivers that exist for the device, if you are lucky enough to have them.

The GEN file

The first file to make is the GEN file. This file defines the initial order and setup of the different parts (nodes) of the device. The example GEN file should be fairly easy to understand. The NAME node (the CAMAC name string) is always first and thus gets number 1 for calls to it later. This is followed by COMMENT, which gets 2, etc. All the way down to INPUT_8:RANGE which gets 49.

On each line in the GEN file you can set things like usage, options, and data value. Note the special lines for INIT_ACTION and STORE_ACTION which give info on how to initialize and store the device.

The GEN file is converted into a C program using the command:

gen_device/single/suffix=_gen d2028.gen

It is then compiled using:

cc d2028_gen

Finally, it is linked into the library UW$DEVICES.EXE using something like this COM file.

The UW$DEVICES.EXE file is then copied over to the MDS$ROOT:[SYSLIB] directory.

I discovered a useful error check here when I had a node name too long (i.e. more than 12 characters) in the GEN file. There would be an error reported when trying to add the device to the tree. However the device would still appear in the tree and it would have all the nodes up to the one that had the extra long name. Therefore it was easy to spot where the error in the GEN file was by looking to see where it stopped adding nodes in the tree.

The UIL file

This file is used to create the widgets to interface with the device when you want to set it up. It is a fairly complex file that will take some study to fully comprehend.

The first part declares the values for the different parts of the device as was set up in the GEN file. Thus "D2028$N_NAME : 1" and "D2028$N_COMMENT : 2", etc. We also declare some values for the pull down lists here like "range" and "samples".

Next we declare each object that we will need to use for this device. This sets up things like the sizes of the boxes and where to put things in the boxes etc.

Note especially the "XmNresizePolicy = XmRESIZE_GROW;" line. This line lets you resize the box/window which is of immense help when you are first testing things out but also can be invaluable if someone needs to display on a terminal with different fonts than you originally planned. We often run into a window that someone wrote without this line and since our fonts are larger, we cannot read or edit the fields very well.

Also note that in the XmBulletinBoardDialog widget, we need to declare the other objects that will be placed in it.

Read through this file carefully and then play around with changing things to see how the will work for you. After awhile it will start making more sense and you should at least be able to get what you need done.

After writing the UIL file, it gets compiled into the UID file using the command:

uil/motif/widget=xmdsuil d2028.uil

and then copied over to the MDS$ROOT:[SYSLIB] directory. It then is available for the traverser to bring up when you do a "setup device" on your device.

The INIT file and the STORE file

The initialization file or INIT file is the driver that is used to initialize the device in preparation for triggering. The STORE file is the driver that is used to store the data in the device after it has been triggered. They are written in TDI which has minimal documentation but should have a lot of familiar things in it if you are acquainted with FORTRAN, C, or C++. What documentation there is can be found at the TDI (Tree Data Interface) Information page at PPPL.

Some things to notice:

* variable names begin with an underscore ("_")

* comments are encased in /* and */

* all lines end with a semicolon (probably the first thing to check if the program is not working)

These files are where you will use the CAMAC F and A codes to get your device to do what you want. What you need your device to do for initialization and store will depend upon it and what it is being used for. This is where it will be very handy to have any old drivers that exist for the device so that you can copy and improve on it in your new driver.

I have tried to comment these files extensively so that others as well as myself can look it over and figure out what is going on and how. So my best advice is to print them out (in landscape) and study them with pencil in hand while referencing PPPL pages on TDI.

When writing your own TDI file, you must place your new version in the MDSplus path on your system and restart the CAMAC server if it is running in order for the new file to be accessed by MDSplus. To restart the CAMAC server, do the following:

* stop the server from TCL with the command:

TCL> stop server camac_server

* restart the server with the DCL command:

DCL> mcr mdsserver tcs_cam_server

(where tcs_cam_server is the name of your server)

A common error you will run into in TCL when trying to run your driver will state simply, "No method for this object". To get more information for debugging, do as in this example for a tree called "tcsdat" and a digitizer called "d121":

* DCL> mcr tdic

* TDI> tcl set tree tcsdat /shot=0

* TDI> d2028__init("\\top:d121")

NOTE: You must use "\\top:d121" here. Setting _nid and using it only works within the code, not in the TDI command line.

* TDI> exit

This will help to spot the error and figure out where you went wrong so you can fix your code.

The GEN file

device model = D2028 library = UW$DEVICES with

{

NAME                  : undefined	       usage = text;

COMMENT               : undefined	       usage = text;

SAMP_INTRVAL          : datum value = 1.0E-7    options = no_write_shot  usage = numeric;

EXT_CLOCK             : undefined	       options = no_write_shot  usage = axis;

TRIGGER               : datum value = 0.0  options = no_write_shot  usage = numeric;

PRE_TRIGGER           : datum value = 1000 options = no_write_shot  usage = numeric;

SAMPLES               : datum value = 32768  options = no_write_shot  usage = numeric;

INIT_ACTION           : action operation = INIT   sequence = 50  phase = INIT   server_class = CAMAC_SERVER;

STORE_ACTION          : action operation = STORE  sequence = 50  phase = STORE  server_class = CAMAC_SERVER;

INPUT_1               : undefined  options = no_write_model,write_once,compressible  usage = signal;

INPUT_1:STARTIDX     : undefined  options = no_write_shot  usage = numeric;

INPUT_1:ENDIDX       : undefined  options = no_write_shot  usage = numeric;

INPUT_1:OFFSET       : datum value = 128  options = no_write_shot  usage = numeric;

INPUT_1:RANGE        : datum value = 5.12  options = no_write_shot  usage = numeric;

INPUT_2               : undefined  options = no_write_model,write_once,compressible  usage = signal;

INPUT_2:STARTIDX     : undefined  options = no_write_shot  usage = numeric;

INPUT_2:ENDIDX       : undefined  options = no_write_shot  usage = numeric;

INPUT_2:OFFSET       : datum value = 128  options = no_write_shot  usage = numeric;

INPUT_2:RANGE        : datum value = 5.12  options = no_write_shot  usage = numeric;

INPUT_3               : undefined  options = no_write_model,write_once,compressible  usage = signal;

INPUT_3:STARTIDX     : undefined  options = no_write_shot  usage = numeric;

INPUT_3:ENDIDX       : undefined  options = no_write_shot  usage = numeric;

INPUT_3:OFFSET       : datum value = 128  options = no_write_shot  usage = numeric;

INPUT_3:RANGE        : datum value = 5.12  options = no_write_shot  usage = numeric;

INPUT_4               : undefined  options = no_write_model,write_once,compressible  usage = signal;

INPUT_4:STARTIDX     : undefined  options = no_write_shot  usage = numeric;

INPUT_4:ENDIDX       : undefined  options = no_write_shot  usage = numeric;

INPUT_4:OFFSET       : datum value = 128  options = no_write_shot  usage = numeric;

INPUT_4:RANGE        : datum value = 5.12  options = no_write_shot  usage = numeric;

INPUT_5               : undefined  options = no_write_model,write_once,compressible  usage = signal;

INPUT_5:STARTIDX     : undefined  options = no_write_shot  usage = numeric;

INPUT_5:ENDIDX       : undefined  options = no_write_shot  usage = numeric;

INPUT_5:OFFSET       : datum value = 128  options = no_write_shot  usage = numeric;

INPUT_5:RANGE        : datum value = 5.12  options = no_write_shot  usage = numeric;

INPUT_6               : undefined  options = no_write_model,write_once,compressible  usage = signal;

INPUT_6:STARTIDX     : undefined  options = no_write_shot  usage = numeric;

INPUT_6:ENDIDX       : undefined  options = no_write_shot  usage = numeric;

INPUT_6:OFFSET       : datum value = 128  options = no_write_shot  usage = numeric;

INPUT_6:RANGE        : datum value = 5.12  options = no_write_shot  usage = numeric;

INPUT_7               : undefined  options = no_write_model,write_once,compressible  usage = signal;

INPUT_7:STARTIDX     : undefined  options = no_write_shot  usage = numeric;

INPUT_7:ENDIDX       : undefined  options = no_write_shot  usage = numeric;

INPUT_7:OFFSET       : datum value = 128  options = no_write_shot  usage = numeric;

INPUT_7:RANGE        : datum value = 5.12  options = no_write_shot  usage = numeric;

INPUT_8               : undefined  options = no_write_model,write_once,compressible  usage = signal;

INPUT_8:STARTIDX     : undefined  options = no_write_shot  usage = numeric;

INPUT_8:ENDIDX       : undefined  options = no_write_shot  usage = numeric;

INPUT_8:OFFSET       : datum value = 128  options = no_write_shot  usage = numeric;

INPUT_8:RANGE        : datum value = 5.12  options = no_write_shot  usage = numeric;

}

The UIL file

/*

* Created by Matthew Fishburn.

*

* June 2001.

*

*/

module MAIN_UIL

version = 'V1.0'

names = case_sensitive

/* set up the values */

value

DEVICE_NID :  -1;			/*example*/

DEVICE$N_NAME :  1;			/*example*/

DEVICE$N_COMMENT :  2;		/*example*/

DEVICE$N_INIT_ACTION :  0;		/*example*/

DEVICE$N_STORE_ACTION :  0;		/*example*/

DEVICE$K_NODES_PER_INP :  3;	/*example*/

DEVICE$N_INP_HEAD :  0;		/*example*/

DEVICE$N_INP_ENDIDX :  2;		/*example*/

DEVICE$N_INP_STARTIDX :  1;		/*example*/

DEVICE$N_INPUTS :  12;		/*example*/

D2028$K_CONG_NODES :  36;		/*?*/

D2028$N_HEAD :  0;

D2028$N_NAME :  1;

D2028$N_COMMENT :  2;

D2028$N_SAMP_INTRVAL :  3;	/*sampling intErval*/

D2028$N_EXT_CLOCK :  4;

D2028$N_TRIGGER :  5;

D2028$N_PRE_TRIGGER :  6;	/*number of pre trigger samples*/

D2028$N_SAMPLES :  7;	/*number of samples*/

D2028$N_INIT_ACTION :  8;

D2028$N_STORE_ACTION :  9;

D2028$N_INPUTS :  10;	/*where the inputs start*/

D2028$K_NODES_PER_INP :  5;	/*number of nodes for each input*/

D2028$N_INP_HEAD :  0;	/*head position w.r.t. start of input*/

D2028$N_INP_STARTIDX :  1;	/*start index position w.r.t. start of input*/

D2028$N_INP_ENDIDX :  2;	/*end index position w.r.t. start of input*/

D2028$N_INP_OFFSET :  3;	/*channel offset position w.r.t. start of input*/

D2028$N_INP_RANGE :  4;	/*channel range position w.r.t. start of input*/

/*possible range values*/

ranges :  string_table(

compound_string("0.512"),

compound_string("1.024"),

compound_string("2.560"),

compound_string("5.120"));

/*possible sample values*/

sample_values :  string_table(

compound_string("32768"),

compound_string("16384"),

compound_string("8192"),

compound_string("4096"),

compound_string("2048"),

compound_string("1024"),

compound_string("512"),

compound_string("256"));

/*define the procedures to be used*/

procedure AddListTree();

procedure TurnOnOff(integer);

procedure DisplayData();

procedure DisplayNci();

procedure ModifyData();

procedure SetupDevice();

procedure MenuUnmap();

procedure MTurnOnOff(integer);

procedure MSetupDevice();

procedure MDisplayData();

procedure MDisplayNci();

procedure MModifyData();

procedure CloseTree();

procedure OpenTree();

list BaseStyle : arguments {

};

list BaseStyleReasons : callbacks {

};

object D2028 : XmBulletinBoardDialog widget {

arguments {

XmNautoUnmanage = false;

XmNdefaultPosition = true;

XmNresizePolicy = XmRESIZE_GROW;

XmNnoResize = false;

XmNdialogTitle = compound_string("D2028  DSP 8 Channel Transie" &

"nt Recorder");

XmNx = 308;

XmNy = 167;

XmNwidth = 1000;

XmNheight = 600;

};

controls {

managed XmLabelGadget CAMACNameLabel;

managed XmdsExprField CAMACNameField;

managed XmLabelGadget CommentLabel;

managed XmdsExprField CommentField;

managed XmdsNidOptionMenu SamlpingIntervalMenu;

managed XmLabelGadget ExternalClockLabel;

managed XmdsExprField ExternalClockField;

managed XmLabelGadget TriggerLabel;

managed XmdsExprField TriggerField;

managed XmLabel PretriggerSampleLabel;

managed XmdsExprField PretriggerSampleField;

managed XmLabel SampleLabel;

managed XmdsNidOptionMenu SampleMenu;

managed XmdsXdBoxOnOffButton InitActionButton;

managed XmdsXdBoxOnOffButton StoreActionButton;

managed XmdsOkButton dsOkButton;

managed XmdsApplyButton dsApplyButton;

managed XmdsResetButton dsResetButton;

managed XmdsCancelButton dsCancelButton;

managed XmBulletinBoard bulletinBoard;

};

callbacks {

};

};

object CAMACNameLabel : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("CAMAC Name:");

XmNx = 10;

XmNy = 10;

};

controls {

};

callbacks {

};

};

object CAMACNameField : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNdefaultQuote = true;

XmNcolumns = 32;

XmdsNnidOffset = D2028$N_NAME;

XmNmarginHeight = 1;

XmdsNautoQuote = true;

XmNx = 150;

XmNy = 10;

};

controls {

};

callbacks {

};

};

object CommentLabel : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Comment:");

XmNx = 10;

XmNy = 40;

};

controls {

};

callbacks {

};

};

object CommentField : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNdefaultQuote = true;

XmNcolumns = 32;

XmdsNnidOffset = D2028$N_COMMENT;

XmNmarginHeight = 1;

XmdsNautoQuote = true;

XmNx = 110;

XmNy = 40;

};

controls {

};

callbacks {

};

};

object SamlpingIntervalMenu : XmdsNidOptionMenu widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNvalueStrings = string_table(

compound_string("1.0E-7"),

compound_string("2.0E-7"),

compound_string("5.0E-7"),

compound_string("1.0E-6"),

compound_string("2.0E-6"),

compound_string("5.0E-6"),

compound_string("1.0E-5"),

compound_string("2.0E-5"),

compound_string("5.0E-5"),

compound_string("1.0E-4"),

compound_string("2.0E-4"),

compound_string("5.0E-4"),

compound_string("1.0E-3"),

compound_string("2.0E-3"),

compound_string("5.0E-3"),

compound_string("0.0"));

XmNlabelString = compound_string("Sampling Interval:");

XmdsNputOnApply = true;

XmdsNnidOffset = D2028$N_SAMP_INTRVAL;

XmdsNlabelStrings = string_table(

compound_string("100 ns"),

compound_string("200 ns"),

compound_string("500 ns"),

compound_string("  1 us"),

compound_string("  2 us"),

compound_string("  5 us"),

compound_string(" 10 us"),

compound_string(" 20 us"),

compound_string(" 50 us"),

compound_string("100 us"),

compound_string("200 us"),

compound_string("500 us"),

compound_string("  1 ms"),

compound_string("  2 ms"),

compound_string("  5 ms"),

compound_string("External Clock"));

XmNx = 10;

XmNy = 70;

};

controls {

};

callbacks {

};

};

object ExternalClockLabel : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("External Clock:");

XmNx = 430;

XmNy = 80;

XmNheight = 20;

};

controls {

};

callbacks {

};

};

object ExternalClockField : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNcolumns = 20;

XmdsNnidOffset = D2028$N_EXT_CLOCK;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 560;

XmNy = 75;

};

controls {

};

callbacks {

};

};

object TriggerLabel : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Trigger:");

XmNx = 10;

XmNy = 110;

};

controls {

};

callbacks {

};

};

object TriggerField : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNcolumns = 20;

XmdsNnidOffset = D2028$N_TRIGGER;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 80;

XmNy = 110;

};

controls {

};

callbacks {

};

};

object PretriggerSampleLabel : XmLabel widget {

arguments {

XmNlabelString = compound_string("Pretrigger Samples:");

XmNx = 400;

XmNy = 110;

};

controls {

};

callbacks {

};

};

object PretriggerSampleField : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNnidOffset = D2028$N_PRE_TRIGGER;

XmNcolumns = 7;

XmdsNputOnApply = true;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 570;

XmNy = 110;

};

controls {

};

callbacks {

};

};

object SampleLabel : XmLabel widget {

arguments {

XmNlabelString = compound_string("Samples:");

XmNx = 750;

XmNy = 110;

};

controls {

};

callbacks {

};

};

object SampleMenu : XmdsNidOptionMenu widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNvalueStrings = sample_values;

XmdsNnidOffset = D2028$N_SAMPLES;

XmdsNlabelStrings = sample_values;

XmNx = 820;

XmNy = 105;

XmNwidth = 160;

XmNheight = 35;

};

controls {

};

callbacks {

};

};

object bulletinBoard : XmBulletinBoard widget {

arguments {

XmNborderWidth = 1;

XmNresizePolicy = XmRESIZE_NONE;

XmNx = 10;

XmNy = 140;

XmNwidth = 980;

XmNheight = 450;

};

controls {

managed XmdsDigChans dsDigChans;

managed XmLabelGadget ChanLabel1;

managed XmLabelGadget ChanLabel2;

managed XmLabelGadget ChanLabel3;

managed XmLabelGadget ChanLabel4;

managed XmLabelGadget ChanLabel5;

managed XmLabelGadget ChanLabel6;

managed XmLabelGadget ChanLabel7;

managed XmLabelGadget ChanLabel8;

managed XmLabelGadget RangeLabel;

managed XmdsNidOptionMenu Range1Menu;

managed XmdsNidOptionMenu Range2Menu;

managed XmdsNidOptionMenu Range3Menu;

managed XmdsNidOptionMenu Range4Menu;

managed XmdsNidOptionMenu Range5Menu;

managed XmdsNidOptionMenu Range6Menu;

managed XmdsNidOptionMenu Range7Menu;

managed XmdsNidOptionMenu Range8Menu;

managed XmLabelGadget OffsetLabel;

managed XmdsExprField Offset1Field;

managed XmdsExprField Offset2Field;

managed XmdsExprField Offset3Field;

managed XmdsExprField Offset4Field;

managed XmdsExprField Offset5Field;

managed XmdsExprField Offset6Field;

managed XmdsExprField Offset7Field;

managed XmdsExprField Offset8Field;

};

callbacks {

};

};

object dsDigChans : XmdsDigChans widget {

arguments {

XmdsNnodesPerChannel = D2028$K_NODES_PER_INP;

XmdsNnid = DEVICE_NID;

XmdsNchannels = 8;

XmdsNendIdxNidOffset = D2028$N_INP_ENDIDX;

XmdsNstartIdxNidOffset = D2028$N_INP_STARTIDX;

XmdsNdataNidOffset = D2028$N_INP_HEAD;

XmdsNnidOffset = D2028$N_INPUTS;

XmNx = 10;

XmNy = 10;

XmNwidth = 610;

XmNheight = 330;

};

controls {

};

callbacks {

};

};

object ChanLabel1 : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Ch. 1");

XmNx = 650;

XmNy = 35;

};

controls {

};

callbacks {

};

};

object ChanLabel2 : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Ch. 2");

XmNx = 650;

XmNy = 75;

};

controls {

};

callbacks {

};

};

object ChanLabel3 : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Ch. 3");

XmNx = 650;

XmNy = 115;

};

controls {

};

callbacks {

};

};

object ChanLabel4 : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Ch. 4");

XmNx = 650;

XmNy = 155;

};

controls {

};

callbacks {

};

};

object ChanLabel5 : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Ch. 5");

XmNx = 650;

XmNy = 195;

};

controls {

};

callbacks {

};

};

object ChanLabel6 : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Ch. 6");

XmNx = 650;

XmNy = 235;

};

controls {

};

callbacks {

};

};

object ChanLabel7 : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Ch. 7");

XmNx = 650;

XmNy = 275;

};

controls {

};

callbacks {

};

};

object ChanLabel8 : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Ch. 8");

XmNx = 650;

XmNy = 315;

};

controls {

};

callbacks {

};

};

object RangeLabel : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Range (Volts)");

XmNx = 710;

XmNy = 10;

};

controls {

};

callbacks {

};

};

object Range1Menu : XmdsNidOptionMenu widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNvalueStrings = ranges;

XmdsNnidOffset = D2028$N_INPUTS + 0 * D2028$K_NODES_PER_INP + D2028$N_INP_RANGE;

XmdsNlabelStrings = ranges;

XmNx = 700;

XmNy = 30;

XmNwidth = 110;

XmNheight = 35;

};

controls {

};

callbacks {

};

};

object Range2Menu : XmdsNidOptionMenu widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNvalueStrings = ranges;

XmdsNnidOffset = D2028$N_INPUTS + 1 * D2028$K_NODES_PER_INP + D2028$N_INP_RANGE;

XmdsNlabelStrings = ranges;

XmNx = 700;

XmNy = 70;

XmNwidth = 110;

XmNheight = 35;

};

controls {

};

callbacks {

};

};

object Range3Menu : XmdsNidOptionMenu widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNvalueStrings = ranges;

XmdsNnidOffset = D2028$N_INPUTS + 2 * D2028$K_NODES_PER_INP + D2028$N_INP_RANGE;

XmdsNlabelStrings = ranges;

XmNx = 700;

XmNy = 110;

XmNwidth = 110;

XmNheight = 35;

};

controls {

};

callbacks {

};

};

object Range4Menu : XmdsNidOptionMenu widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNvalueStrings = ranges;

XmdsNnidOffset = D2028$N_INPUTS + 3 * D2028$K_NODES_PER_INP + D2028$N_INP_RANGE;

XmdsNlabelStrings = ranges;

XmNx = 700;

XmNy = 150;

XmNwidth = 110;

XmNheight = 35;

};

controls {

};

callbacks {

};

};

object Range5Menu : XmdsNidOptionMenu widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNvalueStrings = ranges;

XmdsNnidOffset = D2028$N_INPUTS + 4 * D2028$K_NODES_PER_INP + D2028$N_INP_RANGE;

XmdsNlabelStrings = ranges;

XmNx = 700;

XmNy = 190;

XmNwidth = 110;

XmNheight = 35;

};

controls {

};

callbacks {

};

};

object Range6Menu : XmdsNidOptionMenu widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNvalueStrings = ranges;

XmdsNnidOffset = D2028$N_INPUTS + 5 * D2028$K_NODES_PER_INP + D2028$N_INP_RANGE;

XmdsNlabelStrings = ranges;

XmNx = 700;

XmNy = 230;

XmNwidth = 110;

XmNheight = 35;

};

controls {

};

callbacks {

};

};

object Range7Menu : XmdsNidOptionMenu widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNvalueStrings = ranges;

XmdsNnidOffset = D2028$N_INPUTS + 6 * D2028$K_NODES_PER_INP + D2028$N_INP_RANGE;

XmdsNlabelStrings = ranges;

XmNx = 700;

XmNy = 270;

XmNwidth = 110;

XmNheight = 35;

};

controls {

};

callbacks {

};

};

object Range8Menu : XmdsNidOptionMenu widget {

arguments {

XmdsNnid = DEVICE_NID;

XmdsNvalueStrings = ranges;

XmdsNnidOffset = D2028$N_INPUTS + 7 * D2028$K_NODES_PER_INP + D2028$N_INP_RANGE;

XmdsNlabelStrings = ranges;

XmNx = 700;

XmNy = 310;

XmNwidth = 110;

XmNheight = 35;

};

controls {

};

callbacks {

};

};

object OffsetLabel : XmLabelGadget widget {

arguments {

XmNlabelString = compound_string("Offset (0:255)");

XmNx = 860;

XmNy = 10;

};

controls {

};

callbacks {

};

};

object Offset1Field : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNcolumns = 4;

XmdsNputOnApply = true;

XmdsNnidOffset = D2028$N_INPUTS + 0 * D2028$K_NODES_PER_INP + D2028$N_INP_OFFSET;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 880;

XmNy = 35;

};

controls {

};

callbacks {

};

};

object Offset2Field : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNcolumns = 4;

XmdsNputOnApply = true;

XmdsNnidOffset = D2028$N_INPUTS + 1 * D2028$K_NODES_PER_INP + D2028$N_INP_OFFSET;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 880;

XmNy = 75;

};

controls {

};

callbacks {

};

};

object Offset3Field : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNcolumns = 4;

XmdsNputOnApply = true;

XmdsNnidOffset = D2028$N_INPUTS + 2 * D2028$K_NODES_PER_INP + D2028$N_INP_OFFSET;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 880;

XmNy = 115;

};

controls {

};

callbacks {

};

};

object Offset4Field : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNcolumns = 4;

XmdsNputOnApply = true;

XmdsNnidOffset = D2028$N_INPUTS + 3 * D2028$K_NODES_PER_INP + D2028$N_INP_OFFSET;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 880;

XmNy = 155;

};

controls {

};

callbacks {

};

};

object Offset5Field : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNcolumns = 4;

XmdsNputOnApply = true;

XmdsNnidOffset = D2028$N_INPUTS + 4 * D2028$K_NODES_PER_INP + D2028$N_INP_OFFSET;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 880;

XmNy = 195;

};

controls {

};

callbacks {

};

};

object Offset6Field : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNcolumns = 4;

XmdsNputOnApply = true;

XmdsNnidOffset = D2028$N_INPUTS + 5 * D2028$K_NODES_PER_INP + D2028$N_INP_OFFSET;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 880;

XmNy = 235;

};

controls {

};

callbacks {

};

};

object Offset7Field : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNcolumns = 4;

XmdsNputOnApply = true;

XmdsNnidOffset = D2028$N_INPUTS + 6 * D2028$K_NODES_PER_INP + D2028$N_INP_OFFSET;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 880;

XmNy = 275;

};

controls {

};

callbacks {

};

};

object Offset8Field : XmdsExprField widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNcolumns = 4;

XmdsNputOnApply = true;

XmdsNnidOffset = D2028$N_INPUTS + 7 * D2028$K_NODES_PER_INP + D2028$N_INP_OFFSET;

XmNmarginHeight = 1;

XmNmarginWidth = 1;

XmNx = 880;

XmNy = 315;

};

controls {

};

callbacks {

};

};

object InitActionButton : XmdsXdBoxOnOffButton widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNlabelString = compound_string("Initialization Action");

XmdsNnidOffset = D2028$N_INIT_ACTION;

XmNx = 15;

XmNy = 500;

XmNwidth = 155;

XmNheight = 30;

};

controls {

};

callbacks {

};

};

object StoreActionButton : XmdsXdBoxOnOffButton widget {

arguments {

XmdsNnid = DEVICE_NID;

XmNlabelString = compound_string("Store Action");

XmdsNnidOffset = D2028$N_STORE_ACTION;

XmNx = 230;

XmNy = 500;

XmNwidth = 120;

XmNheight = 30;

};

controls {

};

callbacks {

};

};

object dsOkButton : XmdsOkButton widget {

arguments {

XmNx = 15;

XmNy = 550;

};

controls {

};

callbacks {

};

};

object dsApplyButton : XmdsApplyButton widget {

arguments {

XmNx = 115;

XmNy = 550;

};

controls {

};

callbacks {

};

};

object dsResetButton : XmdsResetButton widget {

arguments {

XmNx = 210;

XmNy = 550;

};

controls {

};

callbacks {

};

};

object dsCancelButton : XmdsCancelButton widget {

arguments {

XmNx = 315;

XmNy = 550;

};

controls {

};

callbacks {

};

};

end module;

The INIT file

public fun D2028__INIT(as_is _nid, optional _method)

{

_name = DevNodeRef(_nid,1);  /* get name */

_ext_clock = DevNodeRef(_nid,4);  /* get external clock if it is enabled*/

_is_ext_clock_enabled = getnci(_ext_clock,"LENGTH") > 0;

_samples = DevNodeRef(_nid,7);  /* get samples */

DevCamChk(_name,CamPiow(_name,0,25,_d=0,16),1,1);  /* issue stop trigger */

/* find post trigger samples (_post_trig_samp) and make sure it is at least 1 */

_post_trig_samp = _samples - DevNodeRef(_nid,6);

if (_post_trig_samp == 0) _post_trig_samp = 1;

/* find post trigger samples code (_post_trig_samp_code) for input to the digitizer */

/* by taking 2s complement of post trigger samples (_post_trig_samp)                */

_post_trig_samp_code = 65536 - _post_trig_samp;

/* set post trigger samples */

_post_trig_samp_code_low = iand(_post_trig_samp_code, 0X00FF);

_post_trig_samp_code_high = ishft (iand(_post_trig_samp_code, 0XFF00), -8);

DevCamChk(_name,CamPiow(_name,4,16,_post_trig_samp_code_low,16),1,1);

DevCamChk(_name,CamPiow(_name,5,16,_post_trig_samp_code_high,16),1,1);

/* set up the sampling clock */

if (_is_ext_clock_enabled) _samp_interval_code = 32;

else

{

_samp_interval = DevNodeRef(_nid,3); /* read value of sampling interval set by user */

_samp_interval_value = [1.0E-7,2.0E-7,5.0E-7,0.0,1.0E-6,2.0E-6,5.0E-6,0.0,1.0E-5,2.0E-5,5.0E-5,0.0,1.0E-4,2.0E-4,5.0E-4,0.0,1.0E-3,2.0E-3,5.0E-3];

for (_index=0; _index <= 18; _index++)

{

if (_samp_interval == _samp_interval_value[_index]) _samp_interval_code = _index; /* test for match */

};

};

/* check for bad clock */

_bad_clock = 0;

if_error( _samp_interval_code, _bad_clock = 1);

if( _bad_clock )

{

write(*,"Bad clock value! "//_nid);

return(0);

};

DevCamChk(_name,CamPiow(_name,0,16,_samp_interval_code,16),1,1); /* set sampling interval */

/* set up the record length */

_record_code = _samples / 256;

if (_record_code == 0) _record_code = 1;

if (_record_code >= 128) _record_code = 128;

_record_code = 65535 - _record_code + 1;

DevCamChk(_name,CamPiow(_name,1,16,_record_code,16),1,1);

/* set up the gain (range/attenuation) for channels 1 thru 8 */

_attenuation1_4 = 0;

_attenuation5_8 = 0;

for (_input_chan=1; _input_chan <= 8; _input_chan++)

{

_input_chan_nid = _input_chan * 5 + 5;

_chan_nid = DevHead(_nid) + _input_chan_nid;

if (DevIsOn(_chan_nid))

{

_input_chan_range = _input_chan_nid + 4;

_current_chan_range_value = DevNodeRef(_nid,_input_chan_range);

_range_value = [0.512,1.024,2.56,5.12];

for (_index=0; _index <= 3; _index++)

{

if (_current_chan_range_value == _range_value[_index]) _current_chan_atten_code = _index; /* test for match */

};

if ( _input_chan <= 4 ) _attenuation1_4 = _attenuation1_4 + ishft (_current_chan_atten_code, (_input_chan - 1) * 2);

else _attenuation5_8 = _attenuation5_8 + ishft (_current_chan_atten_code, (_input_chan - 5) * 2);

};

};

DevCamChk(_name,CamPiow(_name,6,16,_attenuation1_4,16),1,1);

DevCamChk(_name,CamPiow(_name,7,16,_attenuation5_8,16),1,1);

/* set up the offsets for channels 1 thru 8 */

for (_input_chan=1; _input_chan <= 8; _input_chan++)

{

_input_chan_nid = _input_chan * 5 + 5;

_chan_nid = DevHead(_nid) + _input_chan_nid;

if (DevIsOn(_chan_nid))

{

_input_chan_offset = _input_chan_nid + 3;

_current_chan_offset = DevNodeRef(_nid,_input_chan_offset);

if ((_current_chan_offset > 255) || (_current_chan_offset < 0))

{

write(*,"Bad offset value! "//_nid);

return(0);

};

/* channel code goes from 7 to 0 for channels 1 to 8 respectively */

_offset_chan_code = 8 - _input_chan;

DevCamChk(_name,CamPiow(_name,_offset_chan_code,17,_current_chan_offset,16),1,1);

};

};

DevCamChk(_name,CamPiow(_name,0,9,_d=0,16),1,1);   /* start recording */

DevCamChk(_name,CamPiow(_name,0,26,_d=0,16),1,1);   /* enable LAM */

return(1);  /* return nicely*/

}

The STORE file

public fun d2028__store(as_is _nid, optional _method)

{

_name          = DevNodeRef(_nid,1);  /* get name */

_samp_interval = DevNodeRef(_nid,3);  /* get sampling interval */

_ext_clock     = DevNodeRef(_nid,4);  /* get external clock */

_trigger       = DevNodeRef(_nid,5);  /* get trigger */

_pre_trigger   = DevNodeRef(_nid,6);  /* get number of pre trigger samples */

_samples       = DevNodeRef(_nid,7);  /* get number of samples */

/* See if digitizer is done digitizing (check LAM)*/

DevCamChk(_name,CamPiow(_name,0,8,_d=0,16),1,*);

if (!CamXandQ())

{

write(*,'%CAMERR, module '//_name//', Device not triggered');

return(0);

}

/* Clear the LAM*/

DevCamChk(_name,CamPiow(_name,0,10,_d=0,16),1,*);

/* get the setup of the module */

if (getnci(_ext_clock,"LENGTH") != 0) _clock = _ext_clock; /* clock is external */

else _clock = make_range(*,*,make_with_units(_samp_interval,"s"));

/* for each channel... */

for (_input_chan=1; _input_chan <= 8; _input_chan++)

{

_input_chan_nid = _input_chan * 5 + 5;

_chan_nid = DevHead(_nid) + _input_chan_nid;

if (DevIsOn(_chan_nid)) /* if channel is on */

{

_startidx = DevNodeRef(_nid,_input_chan_nid+1);

_endidx   = DevNodeRef(_nid,_input_chan_nid+2);

_lbound = if_error(long(data(_startidx)), -_pre_trigger);

_lbound = min(max(_lbound,-_pre_trigger), _samples-_pre_trigger-1);

_ubound = if_error(long(data(_endidx)), _samples-_pre_trigger-1);

_ubound = min(max(_ubound,_lbound), _samples-_pre_trigger-1);

_dim = make_dim(make_window(_lbound,_ubound,_trigger),_clock);

_input_chan_off = _input_chan_nid + 3;

_current_chan_off = DevNodeRef(_nid,_input_chan_off); /* get channel offset */

_current_chan_off = -1 * _current_chan_off; /* invert channel offset */

_input_chan_range = _input_chan_nid + 4;

_current_chan_range = DevNodeRef(_nid,_input_chan_range); /* get channel range */

_coefficient = _current_chan_range / 256;

DevCamChk(_name,CamPiow(_name,2,0,_last_low,16),1,1); /* low byte of last address */

DevCamChk(_name,CamPiow(_name,3,0,_last_high,16),1,1); /* high byte of last address */

DevCamChk(_name,CamPiow(_name,2,16,_last_low,16),1,1); /* low byte of start address */

DevCamChk(_name,CamPiow(_name,3,16,_last_high,16),1,1); /* high byte of start address */

/* read out the channel */

if (_samples > 0)

{

_samples_read = 0;

_data = *;

while (size(_data) < _samples)

{

_samples_to_read = min(_samples - size(_data), 16384); /* read in chunks of 16K */

DevCamChk(_name,CamStopw(_name,_input_chan-1,2,_samples_to_read,_data_part,16),1,*);

_data = [_data,_data_part & 255];

}

DevPutSignal(_chan_nid, _current_chan_off, _coefficient, _data, _lbound, _ubound, _dim);

}

};

};

return(1);  /* return nicely */

}

NSTX-specific VMS system startup files

EUROPA$ type sys$manager:europasysrtm.com

$!***********************************************************************

$! EUROPASYSRTM.COM --

$!

$! Startup NSTX-related processes on Europa.

$!

$! History:

$!  12-Sep-2006  PR   Add MDSplus event server:start_mdsipe.com

$!  24-Jun-2003  PR   Start daily webpage update job

$!  13-Jun-2001  TRG  Create, copied/edited from KEESSYSRTM.COM

$!  21-Dec-2001  PR   Removed startup of ACQREMOTE jobs; these are on KEES

$!                       and are getting duplicated when europa reboots

$!

$!***********************************************************************

$!

$ SET NOON

$!

$! Start MDSplus event server on EUROPA - non-VMS nodes need to

$!       define "mds_event_server" as "europa.pppl.gov:8501::" to use it

$!       for fielding events when not directly connected to an MDS server

$!       (scope displays are most common users)

$!

$ @SYS$MANAGER:START_MDSIPE.COM

$!

$!

$!   --- queue is on KEES, this is done there ---

$! $! submit "real-time" remote acquisition batch jobs

$! $ @NSTX$:[ACQREMOTE]MASTER_ACQREMOTE_SUBMIT.COM

$!

$! submit "real-time" VGDS batch jobs

$ @NSTX$:[VGDS.BATCHJOBS]MASTER_VGDS_SUBMIT.COM

$!

$! submit "real-time" SQL Database  batch jobs

$ @NSTX$:[DB]MASTER_DB_SUBMIT.COM

$

$! submit jobs to NSTX_EVENT queue

$ @NSTX$:[EVENTQUEUES]MASTER_NSTX_EVENT_SUBMIT.COM

$

$! submit daily webpage update

$ @RONEY$:[IDL.WEBTOOLS]FIRSTTIME_SUBMITWEBUPDATE.COM

$!

$ REPLY/TERM=OPA0: "EUROPASYSRTM - Procedure complete"

EUROPA$

KEES$ type sys$manager:keessysrtm.com

$!***********************************************************************

$! KEESSYSRTM.COM       Install SCSI CAMAC Driver, MDSplus defs and images

$!

$! History:

$!  13-Jan-2004 PR  Define REMCAMSHR for TDI devices

$!  13-Mar-2002 TRG Submit "testshot" jobs to create test MDSplus trees.

$!  15-Feb-2002  PR Very belated recognition that CTS> SET */ON

$!                  sends C-Z to all crates, clearing various

$!                  control voltage settings; now letting CRATEMON

$!                  set the crates on, so changing NSTXCAMSTART.COM

$!  06-Feb-2002  PR MASTER_ACQREMOTE_SUBMIT had been removed (by ?)

$!                  restored it

$!  06-Sep-2000  PR adding MASTER_ACQREMOTE_SUBMIT for KEES CAMAC jobs

$!  29-Aug-2000  PR adding MASTER_CAMAC_SUBMIT for KEES CAMAC jobs

$!  18-Aug-2000  PR adding MASTER_DB_SUBMIT for SQL database jobs

$!  17-Jul-2000  PR adding NSTX_MON_SERVER defn for Action Monitor

$!  29-Jun-2000  PR added MASTER_VGDS_SUBMIT

$!  13-Jun-2000  PR added START_RUNNSTX.COM to run RUNNSTX detached

$!  06-Apr-2000  PR added submit of CAMAC link monitoring program

$!  04-Apr-2000  PR added submit of CAMAC crate monitoring program

$!  14-Feb-2000  PR added SET_ACL_CAMAC for second highway (GKC2)

$!  20-Oct-1999 TRG submit NFS_RESTART procedure

$!  12-Aug-1999  PR  add NSTX_ACQREMOTE.COM to submit batch jobs

$!                   define "CAMAC_SERVER"

$!  14-Jul-1999  PR  CAMAC back on GKB!

$!  11-Jun-1999  PR  Adding logical name NSTX_DISPATCH

$!                   This probably belongs in a different system proced

$!   8-Jun-1999  PR  Creating LNM$GDS_NSTX for VGDS on KEES only

$!   2-Apr-1999  PR  CAMAC is now on GKC, new old SCSI

$!  14-DEC-1998  PR  Create.

$!***********************************************************************

$

$ SET NOON

$

$                       !Restart NFS on Birch, to serve KEES disks to unix

$                       !-----------------------------------------------

$ submit/noprint/queue=birch_system  ops:[sysmgr]nfs_restart.com

$

$                       !Start CAMAC for NSTX data acquisition

$                       !-----------------------------------------------

$ @SYS$SYSROOT:[SYSMGR]NSTXCAMSTART.COM

$ @sys$manager:SET_ACL_CAMAC.COM gkb200:    ! set camac_owner on gkb200:

$ @sys$manager:SET_ACL_CAMAC.COM gkc200:    ! set camac_owner on gkc200:

$

$ create/name_table/nolog/prot=(w:rw)/parent=lnm$system_directory -

LNM$GDS_NSTX

$

$! still need to load this table at reboot; not sure from where yet

$

$! define SYSTEM logical names for MDSplus servers used by RUNNSTX

$ DEFINE/SYSTEM NSTX_DISPATCH  KEES::DISPATCH_SERVER

$ DEFINE/SYSTEM CAMAC_SERVER  KEES::GKB2_SERVER

$ DEFINE/SYSTEM NSTX_MON_SERVER  KEES::MON_SERVER

$ DEFINE/SYSTEM REMCAMSHR  CAMSHR

$

$! submit jobs to queue NSTX_ACQREMOTE on KEES

$ @SYS$SYSROOT:[SYSMGR]NSTXACQREMOTE.COM

$!

$! start RUNNSTX as a detached process

$ @NSTX$:[NSTX.SOURCE.RUNNSTX]START_RUNNSTX.COM

$!

$!

$! submit CAMAC monitor

$ @NSTX$:[NSTX.CAMAC]CRATEMON_SUBMIT.COM

$ @NSTX$:[NSTX.CAMAC]LINKMON_SUBMIT.COM

$!

$! submit "real-time" CAMAC batch jobs

$ @NSTX$:[CAMAC]MASTER_CAMAC_SUBMIT.COM

$!

$! submit "real-time" ACQREMOTE batch jobs

$ @NSTX$:[ACQREMOTE]MASTER_ACQREMOTE_SUBMIT.COM

$

$! submit "testshot" jobs to create MDSplus trees for testing

$ @NSTX$:[ppcc.com]submit_testshot_jobs.com

$!

$ REPLY/TERM=OPA0: "KEESSYSRTM - CAMAC  Procedure complete"

KEES$

LUNA$ type sys$manager:lunasysrtm.com

$!***********************************************************************

$! LUNASYSRTM.COM       Install SCSI CAMAC Driver, MDSplus defs and images

$!

$! History:

$!  01-Jun-2005  PR add submission of MASTER_ACQREMOTE_SUBMIT; checks

$!                  for missing acquisition jobs and submits them

$!  13-Jan-2004  PR define REMCAMSHR for TDI devices

$!  07-Oct-2003  PR submit LUNAMON batch job

$!  10-Dec-2002  PR Edit keessysrtm.com for luna

$!  15-Feb-2002  PR Very belated recognition that CTS> SET */ON

$!                  sends C-Z to all crates, clearing various

$!                  control voltage settings; now letting CRATEMON

$!                  set the crates on, so changing NSTXCAMSTART.COM

$!  14-DEC-1998  PR  Create. (Orig)

$!***********************************************************************

$

$ SET NOON

$

$

$                       !Start CAMAC for NSTX data acquisition

$                       !-----------------------------------------------

$ @SYS$SYSROOT:[SYSMGR]LUNACAMSTART.COM

$ @sys$manager:SET_ACL_CAMAC.COM gka200:    ! set camac_owner on gka200:

$

$ create/name_table/nolog/prot=(w:rw)/parent=lnm$system_directory -

LNM$GDS_NSTX

$

$! still need to load this table at reboot; not sure from where yet

$

$! define SYSTEM logical names for MDSplus servers used by RUNNSTX

$ DEFINE/SYSTEM NSTX_DISPATCH  KEES::DISPATCH_SERVER

$ DEFINE/SYSTEM CAMAC_SERVER  KEES::GKB2_SERVER

$ DEFINE/SYSTEM NSTX_MON_SERVER  KEES::MON_SERVER

$ DEFINE/SYSTEM REMCAMSHR  CAMSHR

$!

$! submit CAMAC monitor

$ @NSTX$:[NSTX.CAMAC]LUNACRATEMON_SUBMIT.COM

$ @NSTX$:[NSTX.CAMAC]LUNALINKMON_SUBMIT.COM

$!

$! select missing jobs and submit them

$ @NSTX$:[ACQREMOTE]MASTER_ACQREMOTE_SUBMIT.COM

$!

$! select missing jobs and submit them

$ @NSTX$:[CAMAC]MASTER_CAMAC_SUBMIT.COM

$!

$ REPLY/TERM=OPA0: "LUNASYSRTM - CAMAC  Procedure complete"

LUNA$

Monitoring/restarting CAMAC crates on KEES: NSTX$:[NSTX.CAMAC]CRATEMON.COM

KEES$ type cratemon.com

$!  Crate Monitor: controlfile is  NSTX$:[NSTX.ADMIN.CTS]CRATES_ONLINE.TXT

$! Create: 02-Apr-00    PR

$!

$! IDL program loops internally; on failure, mail message is sent,

$! and program is resubmitted; output of program is written to Web page

$! http://mel.pppl.gov/www_root/serverdoc/nstx/camac/cratestatus.html

$!-------------------------------------------------------------------------

$!

$ set noon

$ setup nstx

$ if f$mode().eqs."BATCH" then set process/name=CRATEMON

$

$ ERRLOOP:

$  IDL

.RUN NSTX$:[NSTX.CAMAC]CRATEMONITOR.PRO

CRATEMONITOR

EXIT

$!

$ write sys$output "Unexpected exit from CRATEMONITOR.PRO"

$ wait 0:01:00

$ goto ERRLOOP

KEES$

Monitoring/restarting CAMAC crates on LUNA: NSTX$:[NSTX.CAMAC]LUNACRATEMON.COM

KEES$ type lunacratemon.com

$!  LUNA Crate Monitor: controlfile is  NSTX$:[NSTX.ADMIN.CTS]LUNA_CRATES_ONLIN

.TXT

$! Edit: 11-Dec-02   PR  Version for luna based on version for kees

$! Create: 02-Apr-00    PR

$!

$! IDL program loops internally; on failure, mail message is sent,

$! and program is resubmitted; output of program is written to Web page

$! http://mel.pppl.gov/www_root/serverdoc/nstx/camac/lunacratestatus.html

$!-------------------------------------------------------------------------

$!

$ set noon

$ setup nstx

$ setup IDL "TEK"    ! avoid messages about no X display

$ if f$mode().eqs."BATCH" then set process/name=LUNACRATEMON

$

$ ERRLOOP:

$  IDL

.RUN NSTX$:[NSTX.CAMAC]LUNACRATEMONITOR.PRO

LUNACRATEMONITOR

EXIT

$!

$ write sys$output "Unexpected exit from LUNACRATEMONITOR.PRO"

$ wait 0:01:00

$ goto ERRLOOP

Monitoring/restarting CAMAC crates on MEL: NSTX$:[NSTX.CAMAC]MELCRATEMON.COM

KEES$ type melcratemon.com

$!  Crate Monitor: controlfile is  NSTX$:[NSTX.ADMIN.CTS]CRATES_ONLINE.TXT

$! Create: 02-Apr-00    PR

$! Edit: 09-Jun-00      PR  version for MEL

$!

$! IDL program loops internally; on failure, mail message is sent,

$! and program is resubmitted; output of program is written to Web page

$! http://mel.pppl.gov/www_root/serverdoc/nstx/melcamac/cratestatus.html

$!-------------------------------------------------------------------------

$!

$ set noon

$ setup nstx

$ setup IDL4           ! no IDL5 on MEL

$ if f$mode().eqs."BATCH" then set process/name=MELCRATEMON

$

$ ERRLOOP:

$  IDL

.RUN NSTX$:[NSTX.CAMAC]MELCRATEMONITOR.PRO

MELCRATEMONITOR

EXIT

$!

$ write sys$output "Unexpected exit from MELCRATEMONITOR.PRO"

$ wait 0:01:00

$ goto ERRLOOP

Provide EPICS with monitor of KEES highways (B and C) status: NSTX$:[NSTX.CAMAC]LINKMON.COM

KEES$ type linkmon.com

$!  Link Monitor: alarm reported by EPICS if this prm can't address modules

$! Create: 04-Apr-00    PR

$!

$! IDL program in infinite loop ; on failure, program is resubmitted

$!-------------------------------------------------------------------------

$!

$ set noon

$ setup nstx

$ if f$mode().eqs."BATCH" then set process/name=LINKMON

$

$ ERRLOOP:

$  IDL

.RUN NSTX$:[NSTX.CAMAC]LINKMONITOR.PRO

LINKMONITOR

EXIT

$!

$ write sys$output "Unexpected exit from LINKMONITOR.PRO"

$ wait 0:01:00

$ goto ERRLOOP

KEES$

Provide EPICS with monitor of LUNA highway (A) status: NSTX$:[NSTX.CAMAC]LUNALINKMON.COM

KEES$ type lunalinkmon.com

$!  Link Monitor: alarm reported by EPICS if this prm can't address modules

$! Create: 04-Apr-00    PR

$!

$! IDL program in infinite loop ; on failure, program is resubmitted

$!-------------------------------------------------------------------------

$!

$ set noon

$ setup nstx

$ if f$mode().eqs."BATCH" then set process/name=LunaLINKMON

$

$ ERRLOOP:

$  IDL

.RUN NSTX$:[NSTX.CAMAC]LUNALINKMONITOR.PRO

LUNALINKMONITOR

EXIT

$!

$ SHOW TIME

$ write sys$output "Unexpected exit from LUNALINKMONITOR.PRO"

$ wait 0:01:00

$ goto ERRLOOP

KEES$

BATCH ANALYSIS

In process of being eliminated, NSTX_VGDS, currently idle

Oct 31, 2006 batch queues with NSTX jobs in bold. Inactive queues at reduced type size.

KEES$ show que/all/batch

Batch queue ABS$BIRCH, stopped, on BIRCH::

Batch queue ARCHIVE, stopped, on BEANIE::

Batch queue ATLAS_EVENT, stopped, on ATLAS::

Batch queue ATLAS_NORM, stopped, on ATLAS::

Batch queue ATLAS_SYSTEM, stopped, on ATLAS::

Batch queue BEANIE_BACKUP, idle, on BEANIE::

Batch queue BEANIE_NORM, available, on BEANIE::

Entry  Jobname         Username             Status

-----  -------         --------             ------

12  REE$SYS_STARTUP SYSTEM               Executing

556  ACCOUNT         SYSOPR               Holding until 31-OCT-2006 23:30:00

692  ARCH            ARC_DISK             Holding until  1-NOV-2006 08:00:00

Batch queue BEANIE_SYSTEM, idle, on BEANIE::

Entry  Jobname         Username             Status

-----  -------         --------             ------

739  BATCH_WATCH     SYSOPR               Holding until 31-OCT-2006 13:05:00

705  NSTX_EVERYDAY_BEANIE

GIBNEY               Holding until 31-OCT-2006 13:05:01

517  QCS_PURGE       GIBNEY               Holding until 31-OCT-2006 20:30:00

Batch queue BEANIE_TRANSP_NORM, idle, on BEANIE::

Batch queue BEANIE_VMEC, idle, on BEANIE::

Batch queue BIRCH_BACKUP, idle, on BIRCH::

Batch queue BIRCH_EVENT, idle, on BIRCH::

Batch queue BIRCH_NORM, idle, on BIRCH::

Entry  Jobname         Username             Status

-----  -------         --------             ------

613  SHOW_ERRORS     GIBNEY               Holding until  1-NOV-2006 00:05:00

Batch queue BIRCH_SYSTEM, idle, on BIRCH::

Entry  Jobname         Username             Status

-----  -------         --------             ------

555  ACCOUNT         SYSOPR             Holding until 31-OCT-2006 23:30:00

557  SYNC_TIMES      SYSTEM             Holding until 31-OCT-2006 23:45:00

561  EVERYDAY        SYSOPR             Holding until  1-NOV-2006 00:00:00

569  MDS_EVERYDAY    SYSOPR             Holding until  1-NOV-2006 00:00:00

570  NSTX_EVERYDAY   SYSOPR             Holding until  1-NOV-2006 00:00:00

Batch queue BIRCH_TRANSP_NORM, idle, on BIRCH::

Batch queue B_DEFRAG, idle, on BIRCH::

Entry  Jobname         Username             Status

-----  -------         --------             ------

629  RABBIT7_RUNNER      SYSOPR             Holding until  1-NOV-2006 01:15:00

Generic batch queue DSN$BATCH

Batch queue DSN$BATCH_BEANIE, stopped, on BEANIE::

Batch queue DSN$BATCH_BIRCH, stopped, on BIRCH::

Batch queue DSN$BATCH_ERIS, stopped, on ERIS::

Batch queue DSN$BATCH_IO, stopped, on IO::

Batch queue DSN$BATCH_LEDA, idle, on LEDA::

Batch queue DSN$BATCH_MANGO, stopped, on MANGO::

Batch queue DSN$BATCH_MEL, stopped, on MEL::

Batch queue DSN$BATCH_RAX, stopped, on RAX::

Batch queue DSN$BATCH_SNAX, stopped, on SNAX::

Batch queue DSN$BATCH_VS06, stopped, on VS06::

Batch queue DSN$BATCH_ZENITH, stopped, on ZENITH::

Batch queue D_RESTORE, idle, on BEANIE::

Entry  Jobname         Username             Status

-----  -------         --------             ------

738  RESTOREPBX      ARC_PBX            Holding until 31-OCT-2006 13:30:00

726  RESTOREPLT      ARC_PLT            Holding until  1-NOV-2006 10:30:00

Batch queue D_RETRIEVE, idle, on BEANIE::

Batch queue EUROPA_EVENT, available, on EUROPA::

Entry  Jobname                   Username             Status

-----  -------                   --------             ------

46  CALC_COILDATA_SCRATCHFILE  SYSTEM             Executing

Batch queue EUROPA_NORM, idle, on EUROPA::

Entry  Jobname              Username             Status

-----  -------              --------             ------

657  BATCHUPDATEWEBFILES     RONEY           Holding until  1-NOV-2006 05:00:00

Batch queue EUROPA_SYSTEM, idle, on EUROPA::

Entry  Jobname         Username             Status

-----  -------         --------             ------

528  NSTX_DAILY      SYSTEM             Holding until 31-OCT-2006 22:00:00

982  MONTHLY_DESK_REPORT

CARROLL            Holding until  1-NOV-2006 09:00:00

986  MONTHLY_DESK_EMAIL_NOTIFY

HELPDESK           Holding until  1-NOV-2006 11:00:00

Batch queue KEES_EVENT, available, on KEES::

Entry  Jobname              Username             Status

-----  -------              --------             ------

29  LINKMON              SYSTEM               Executing

30  RGASHOT_404          RONEY                Executing

39  CWL_VIPS             SYSTEM               Executing

50  FIRETIP_ANALYSIS     KCLEE                Executing

361  CRATEMON             RONEY                Executing

506  CAMERAOFF            SYSTEM         Holding until 31-OCT-2006 20:00:00

678  ATT                  RONEY                Holding until  1-NOV-2006 07:00:00

Batch queue KEES_NORM, idle, on KEES::

Entry  Jobname         Username             Status

-----  -------         --------             ------

571  ACCOUNT         SYSOPR             Holding until 31-OCT-2006 23:30:00

Batch queue KEES_SYSTEM, available, on KEES::

Entry  Jobname         Username             Status

-----  -------         --------             ------

48  ENGINEERING_TESTSHOT

GIBNEY               Executing

49  PCS_TESTSHOT    GIBNEY               Executing

Batch queue LEDA_EVENT, idle, on LEDA::

Batch queue LEDA_NORM, idle, on LEDA::

Batch queue LEDA_SYSTEM, idle, on LEDA::

Batch queue LUNA_EVENT, available, on LUNA::

Entry  Jobname         Username             Status

-----  -------         --------             ------

31  DMANJ           BELL                 Executing

40  CAL_ZEFF        BDAVIS               Executing

57  LUNACRATEMON    SYSTEM               Executing

60  ACQ_DEPMON      SYSTEM               Executing

61  SFLIP_GAINMON   SYSTEM               Executing

Batch queue LUNA_NORM, available, on LUNA::

Entry  Jobname         Username             Status

-----  -------         --------             ------

58  LUNALINKMON     SYSTEM               Executing

634  USERVERSIONS    RONEY              Holding until  1-NOV-2006 03:00:00

Batch queue LUNA_SYSTEM, idle, on LUNA::

Batch queue MEL_EVENT, idle, on MEL::

Batch queue MEL_NORM, idle, on MEL::

Entry  Jobname         Username             Status

-----  -------         --------             ------

572  ACCOUNT         SYSOPR             Holding until 31-OCT-2006 23:30:00

Batch queue MERGE_QUEUE, stopped, on BEANIE::

Batch queue NSTX_ACQREMOTE, available, on KEES::

Entry  Jobname              Username             Status

-----  -------              --------             ------

26  ACQ_PARMS            RONEY                Executing

27  ACQ_PPCC             DMASTROVITO          Executing

32  VIPS2_412            SYSTEM               Executing

33  SPRED_412            SYSTEM               Executing

34  SET_MIG_FILAMENTS    SYSTEM               Executing

35  LOWERDIVCAM_MASK404  SYSTEM               Executing

36  RESET_FV_NIM         SYSTEM               Executing

37  RESET_HIRES_FV_NIMS  SYSTEM               Executing

38  ACQ_EPICS_CREATE_NEWTREE  SYSTEM          Executing

42  ACQ_HSENSOR          SYSTEM               Executing

Batch queue NSTX_BULK_RESTORE, idle, on BIRCH::

Batch queue NSTX_DB, stopped, on RHEA::

Batch queue NSTX_EVENT, available, on EUROPA::

Entry  Jobname             Username             Status

-----  -------             --------             ------

44  IR_ADDTOOLDTREE     GZIMMER              Executing

45  IR_ADDTONEWERTREE   GZIMMER              Executing

Batch queue NSTX_VGDS, available, on LEDA::

Entry  Jobname              Username             Status

-----  -------              --------             ------

759  DIV_BOLOM_VGDS       RONEY                Executing

760  BOLOM_VGDS           RONEY                Executing

761  WAVEFORMS            RONEY                Executing

762  WAVEFORM_CSXR        RONEY                Executing

763  WAVEFORM_NEL         RONEY                Executing

764  WAVEFORM_COILCURRENTS RONEY               Executing

765  WAVEFORM_TOTPWR      RONEY                Executing

766  WAVEFORM_NB          RONEY                Executing

767  WRITE_VFLOAT_CLASS4_PERSHOT RONEY         Executing

768  WRITE_VFLOAT_CLASS3_PERSHOT RONEY         Executing

769  WRITE_ISAT_CLASS4_PERSHOT   RONEY         Executing

770  WRITE_ISAT_CLASS3_PERSHOT   RONEY         Executing

Batch queue NSTX_VGDS_IO, stopped, on IO::

Batch queue RHEA_EVENT, stopped, on RHEA::

Batch queue RHEA_NORM, stopped, on RHEA::

Batch queue RHEA_SYSTEM, stopped, on RHEA::

Batch queue SLS$, stopped, on BIRCH::

Batch queue SLS$BIRCH, idle, on BIRCH::

Batch queue SLS$EUROPA, idle, on EUROPA::

Generic batch queue SYSTEM$BATCH

Entry  Jobname         Username             Status

-----  -------         --------             ------

607  CHECK_INDEXF    SYSTEM             Holding until  1-NOV-2006 01:00:00

645  CSD_CLEAN       SYSOPR             Holding until  1-NOV-2006 04:00:00

Generic batch queue TFTR$INGRES

Generic batch queue TFTR_ARCHIVE

Entry  Jobname         Username             Status

-----  -------         --------             ------

123  TFTRARC_SUBALL  ARC_TFTR_1           Pending

121  TFTR_RETRY      ARC_TFTR_1           Pending

Generic batch queue TFTR_ARCHIVE0

Generic batch queue TFTR_ARCHIVE2

Entry  Jobname         Username             Status

-----  -------         --------             ------

125  TFTRARC_SUBALL  ARC_TFTR_2           Pending

Generic batch queue TFTR_ARCHIVE3

Entry  Jobname         Username             Status

-----  -------         --------             ------

126  TFTRARC_SUBALL  ARC_TFTR_3           Pending

Generic batch queue TFTR_RESTORE

Generic batch queue TFTR_RESTORE_0

Generic batch queue TFTR_RESTORE_2

Generic batch queue TFTR_RESTORE_3

Generic batch queue TFTR_RETRIEVE

Generic batch queue TFTR_RETRIEVE_2

Batch queue TFTR_T_ARCHIVE, stopped, on BEANIE::

Batch queue TFTR_T_ARCHIVE0, idle, on BEANIE::

Batch queue TFTR_T_ARCHIVE2, stopped, on BEANIE::

Batch queue TFTR_T_ARCHIVE3, stopped, on BEANIE::

Batch queue TFTR_T_RESTORE, idle, on BEANIE::

Batch queue TFTR_T_RESTORE_0, idle, on BEANIE::

Batch queue TFTR_T_RESTORE_2, idle, on BEANIE::

Batch queue TFTR_T_RESTORE_3, idle, on BEANIE::

Batch queue TFTR_T_RETRIEVE, idle, on BEANIE::

Batch queue TFTR_T_RETRIEVE_2, idle, on BEANIE::

Batch queue U_ARCHIVE, stopped, on BEANIE::

Entry  Jobname         Username             Status

-----  -------         --------             ------

129  RESTORE_TRANSP  ARC_TRANSP           Pending

130  RESTORE_USC     ARC_USC              Pending

KEES$